## Slide 1
Analysis of Load Reductions Associated with 4-CP Transmission Charges and Price Responsive Load/Retail DR
Carl L Raish
Principal Load Profiling and Modeling
RMS – May 8, 2018

## Slide 2: Overview
  4CP Analysis
    Competitive and NOIE Areas
  Price Response and Retail DR
    Block and Index Pricing (BI)
    Other Load Control (OLC)
    Other Voluntary DR (OTH)
    Peak Rebate (PR)
    Real Time Pricing (RTP)
    Time-of-Use Pricing (TOU)
      Analysis not available
    DG Price Response
  NOIE Price Response
  Interaction of 4CP and price response

## Slide 3: Competitive 4 CP Days - 2017
CP Reduce = 859 MW
CP Reduce = 382 MW
CP Reduce = 759 MW
CP Reduce = 684 MW

## Slide 4: NOIE 4 CP Days - 2017
CP Reduce = 153 MW
CP Reduce = 175 MW
CP Reduce = 782 MW
CP Reduce = 267 MW

## Slide 5: Competitive + NOIE 4 CP Days - 2017
CP Reduce = 1,011 MW
CP Reduce = 557 MW
CP Reduce = 1,541 MW
CP Reduce = 952 MW

## Slide 6: Competitive Hour Ending 17:00 Response

## Slide 7: NOIE Hour Ending 17:00 Response

## Slide 8: 2012 – 2017 Pricing Events
For this analysis a High Price Event has been defined as a day with a Load zone price > $200 for 4 consecutive 15-minute intervals
For the 2012 – 2017 years,194 days with high price events were identified in one or more load zones
  AEN – 66 days
  CPS – 58 days
  Houston – 73 days
  LCRA – 67 days
  North – 46 days
  Raybn – 49 days
  South – 89 days
  West – 116 days
119 days had high price events in only 1 load zone
40 days had high price events in all 8 load zones
Of the 92 4CP/NearCP days for 2012 - 2017, only 5 had high price events
  3 were actual 4CP days and 2 were NearCP days
  Each of those 5 days had high price events in all 8 load zones
  13 of the 40 days with high price events in all 8 load zones occurred during a summer month (June – September)

## Slide 9: Number of Reporting REPs & Unique ESIIDs By Year
Individual REPs
2013 – 21
2014 – 33
2015 – 32
2016 – 35
2017 – 38
Related REPs (by DUNs) are
Combined into a single REP
REP Families
2013 – 19
2014 – 23
2015 – 25
2016 – 27
2017 – 29
Unique ESIIDs
2013 – 179,195
2014 – 763,445
2015 – 847,574
2016 – 906,646
2017 – 975,716

## Slide 10: Block and Index Participation
REPs
ESIIDs

## Slide 11: 2017 Block & Index Analysis
Houston
May 19, 2017
36.2 MW Reduce
21 Reps; 18,886 Bus customers; 193.9 MW; 19 event days
North
Oct 4, 2017
88.6 MW Reduce
South
April 3, 2017
35.8 MW Reduce
West
Dec 7, 2017
33.3 MW Reduce

## Slide 12: Other Load Control Participation
REPs
ESIIDs
Business
Residential

## Slide 13: 2017 OLC Analysis
2.2 MW Reduce
2 Reps reported 15 deployments in 2017 affecting 2,345 Res customers
One composite graph shown combining day with each REP’s largest reduction

## Slide 14: 2017 Other Voluntary DR Analysis
Aug 1, 2017
10.9 MW Reduce
3 Reps reported 23 deployments in 2017 affecting 56,276 customers
Program same description as 2016
Reductions ranged from 0 – 26.7 MW
Aug 2, 2017
26.7 MW Reduce
Aug 21, 2017
13.5 MW Reduce
Aug 17, 2017
9.4 MW Reduce

## Slide 15: Peak Rebate Participation
REPs
ESIIDs
Business
Residential

## Slide 16: 2017 Peak Rebate Analysis
2 Reps reported 3 deployments in 2017 affecting 39,942 customers
No days with deployments by both REPs
Composite Deployment 2017
13.4 MW Reduce

## Slide 17: Real Time Pricing Participation
REPs
ESIIDs
Business
Residential

## Slide 18: 2017 Real Time Pricing Analysis
Houston
May 19, 2017
8.4 MW Reduce
14 Reps; 14,769 customers; 24.5 MW; 19 event days
North
Oct 4, 2017
12.9 MW Reduce
South
May 19, 2017
1.2 MW Reduce
West
May 30, 2017
2.1 MW Reduce

## Slide 19: 2017 NOIE Price Response Analysis
10 NOIEs identified as responding to high prices; 257.1 MW; 17 event days
Composite Deployment 2017
257.1 MW Reduce

## Slide 20: 2017 DG Price Response Analysis
Houston
April 28, 2017
63.4 MW Increase
61 Registered and Unregistered DGs; 181.1 MW; 19 event days
Renewable fuel DG not included
North
Oct 4, 2017
3.2 MW Increase
South
Oct 9, 2017
61.7 MW Increase
West
May 30, 2017
52.8 MW Increase

## Slide 21: Demand/Price Response Totals

## Slide 22: Questions?
ON
OFF
craish@ercot.com 512/248-3876