| NPRR Number | 869 | NPRR Title | Clarification of Language Related to Generation Netting for ERCOT-Polled Settlement Meters |
| --- | --- | --- | --- |
| Date of Decision |  | May 10, 2018 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Protocol Sections Requiring Revision |  | 10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) (1) clarifies the intent of Protocol Section 10.3.2.3, by explaining that netting occurs for All-Inclusive Generation Resources and Load at the transmission Point of Interconnection (POI); (2) clarifies that any Qualifying Facility (QF) may participate in the exemption specified in paragraph (2) of Section 10.3.2.3; and (3) deletes a reference to the now-expired system benefit fund charges. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This NPRR is consistent with the TAC goals of: pursuing clarifications to market rules and guides which enhance the transparency of Resource Registration requirements, clarifying the entry process for new Resources, and improving Settlement processes to facilitate changes in the ERCOT market design. Additionally, omitting the types of QFs to only qualifying cogeneration does not recognize the full range of QFs defined by the Federal Energy Regulatory Commission (FERC) and is unreasonably limiting. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 4/12/18, PRS voted to table NPRR869. There was one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. All Market Segments were present for the vote. On 5/10/18, PRS unanimously voted to table NPRR869 and refer the issue to WMS. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 4/12/18, participants discussed tabling NPRR869 to provide additional time to review potential language clarifications that may be needed. On 5/10/18, participants reviewed the 5/8/18 Reliant comments and discussed which types of facilities may be categorized as a QF, and the potential need to clarify use of the term “associated Load” as some participants expressed concern for differences in interpretation. |  |

| Sponsor |  |
| --- | --- |
| Name | Bryan Sams |
| E-mail Address | Bryan.Sams@nrg.com |
| Company | Reliant Energy Retail Services |
| Phone Number | (512) 691-6126 |
| Cell Number | (512) 632-4870 |
| Market Segment | Independent Retail Electric Provider (IREP) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Reliant 050818 | Proposed additional edits to effectively limit the scope of NPRR869 revisions to only language within paragraph (2)(c). |

Market Rules Notes

None

Proposed Protocol Language Revision

10.3.2.3	Generation Netting for ERCOT-Polled Settlement Meters

(1)	At All-Inclusive Generation Resource facilities, generation, and Loads that are netted must be metered at their POIs to the ERCOT Transmission Grid.  Interval Data Recorders (IDRs) must be used to determine generator output or Load usage.  In the intervals where the generation output exceeds the Load, the net must be settled as generation.  In the intervals where the Load exceeds the generation output, the net must be settled as Load and carry any applicable Load shared charges and credits.

(2)	For Settlement purposes, generation netting is not allowed except under one of the following conditions:

(a)	Single POI with delivered and received metering data channels;

(b)	Multiple POIs where the Loads and generator output are electrically connected to a common switchyard, as defined in paragraph (6) below.  In addition, there must be sufficient generator capacity to serve all plant Loads for netting to occur;

(c)	A Qualifying Facility (QF) with POI(s) where the QF is selling to the QF’s host(s) may net the Load meters of the host with generation meters when the Load and generation are electrically connected to a common switchyard.  In instances in which Load is served by new on-site generation through a common switchyard, the TSP or DSP may install monitoring equipment necessary for measuring Load to determine stranded cost charges, if any are applicable, as determined under the Public Utility Regulatory Act (PURA) and applicable Public Utility Commission of Texas (PUCT) rules.    For purposes of this Section, new on-site generation has the meaning as contained in Public Utility Regulatory Act, Tex. Util. Code Ann. §§ 39.252 and 39.262(k) (Vernon 1998 & Supp. 2007) (PURA); or

(d)	For All-Inclusive Generation Resources and/or Load with flow-through on a private, contiguous transmission system (not included in a TSP or DSP rate base) and in a configuration existing as of October 1, 2000, the meters at the interconnections with the ERCOT Transmission Grid may be netted for the purpose of determining All-Inclusive Generation Resources or Load.  For Settlement purposes, when the net is a Load, the metered interconnection points must be assigned to the same Load Zone and Unaccounted for Energy (UFE) zone.

(3)	For generation sites with EPS Meters that measure Wholesale Storage Load (WSL), each energy storage Load Resource must be separately metered from all other Loads and generation:

(a)	For configurations where the WSL is not at the POI, it must be separately metered behind a single POI metering point; and

(b)	WSL for a compressed air energy storage Load Resource is exempt from the requirement to be electrically connected to a common switchyard, as defined in paragraph (6) below.

(4)	ERCOT shall maintain descriptions of the Metering Facilities of all common switchyards that contain multiple POIs of Loads (ESI IDs) and generation meters (EPS).  The description is limited to identifying the Entities within a common switchyard and a simplified diagram showing the metering configuration of all Supervisory Control and Data Acquisition (SCADA) and Settlement Metering points.

(5)	All Load(s) included in the netting arrangement for an EPS Metering Facility shall only be electrically connected to the ERCOT Transmission Grid through the EPS metering point(s) for such Facility.  Such Loads shall not be electrically connected to the ERCOT Transmission Grid through electrical connections that are not metered by the EPS metering point(s) for the Facility.

(6)	For purposes of this Section, a common switchyard is defined as an electric substation Facility where the POI for Load and All-Inclusive Generation Resources are located at the same Facility but where the interconnection points are physically not greater than 400 yards apart.  The physical connections of the Load to its POI and the All-Inclusive Generation Resource to its POI cannot be Facilities that have been placed in a TSP’s or DSP’s rate base.