## Summary
PEAK AVERAGE WIND CAPACITY PERCENTAGES, WINTER PEAK SEASON
WINDPEAKPCT Values *
Winter Peak Ave. Wind Capacity Percentages |  |  | Winter, Non-Coastal | Winter, Coastal
Top Twenty Peak Hours for Each year |  |  | 19.71% | 43.15%
Year | Non-Coastal | Coastal
2017/2018 | 20.32% | 51.88%
2016/2017 | 19.53% | 81.79%
2015/2016 | 29.54% | 27.02% | * The methodology for calculating WINDPEAKPCT values is outlined in ERCOT Protocol Section 3.2.6.2.2. See: http://www.ercot.com/content/wcm/current_guides/53528/03-110116_Nodal.doc
2014/2015 | 11.36% | 42.28%
2013/2014 | 17.48% | 43.66%
2012/2013 | 17.01% | 32.47%
2011/2012 | 20.53% | 15.74%
2010/2011 | 23.76% | 50.34%
2009/2010 | 17.85% | #N/A

## Graphs
HISTORICAL WIND CAPACITY CONTRIBUTION - WINTER PEAK SEASON
Non-Coastal Capacity Factors | High | Low | Average
Winter 2009/2010-2017/2018-NC | 79.08% | 0.226% | 19.71%
Winter 2009/2010-NC | 29.9% | 0.5632% | 17.85%
Winter 2010/2011-NC | 49.31% | 1.125% | 23.76%
Winter 2011/2012-NC | 58.35% | 6.806% | 20.53%
Winter 2012/2013-NC | 42.05% | 7.759% | 17.01%
Winter 2013/2014-NC | 56.69% | 0.801% | 17.48%
Winter 2014/2015-NC | 46.58% | 0.226% | 11.36%
Winter 2015/2016-NC | 79.08% | 3.334% | 29.54%
Winter 2016/2017-NC | 37.94% | 6.162% | 19.53%
Winter 2017/2018-NC | 43% | 7.097% | 20.32%
Coastal Capacity Factors | High | Low | Average
Winter 2009/2010-2016/2017-C | 97.17% | 1.609% | 43.15%
Winter 2009/2010-C | #N/A | #N/A | #N/A
Winter 2010/2011-C | 97.17% | 19.11% | 50.34%
Winter 2011/2012-C | 40.08% | 1.609% | 15.74%
Winter 2012/2013-C | 44.26% | 19.5% | 32.47%
Winter 2013/2014-C | 89.3% | 7.286% | 43.66%
Winter 2014/2015-C | 82.39% | 3.559% | 42.28%
Winter 2015/2016-C | 76.67% | 7.785% | 27.02%
Winter 2016/2017-C | 96.3% | 47.64% | 81.79%
Winter 2017/2018-C | 87.65% | 22.9% | 51.88%

## W17-18-NC
HOUR | 2018-1-2 HE19 | 2018-1-2 HE20 | 2018-1-2 HE21 | 2018-1-3 HE7 | 2018-1-3 HE8 | 2018-1-3 HE9 | 2018-1-16 HE11 | 2018-1-16 HE12 | 2018-1-16 HE13 | 2018-1-16 HE18 | 2018-1-16 HE19 | 2018-1-16 HE20 | 2018-1-16 HE21 | 2018-1-16 HE22 | 2018-1-17 HE6 | 2018-1-17 HE7 | 2018-1-17 HE8 | 2018-1-17 HE9 | 2018-1-17 HE10 | 2018-1-18 HE8
ERCOT LOAD (MW) | 61949 | 61782 | 61125 | 61856 | 62890 | 61352 | 60932 | 61129 | 60763 | 60851 | 63071 | 63383 | 62785 | 61385 | 61282 | 64580 | 65750 | 64629 | 62744 | 61357
WIND HSL (MW) | 1257.5004 | 1380.3378 | 1558.7794 | 7250.9694 | 7620.0397 | 6515.9493 | 6336.6336 | 5155.2704 | 4341.8933 | 1524.6127 | 1264.0982 | 1318.4879 | 1413.8039 | 1720.7675 | 4069.9411 | 4120.7476 | 4128.9841 | 4073.3598 | 3001.2494 | 3971.3789
WIND CAPACITY (MW) | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720 | 17720
CAPACITY FACTOR | 7.097% | 7.79% | 8.797% | 40.92% | 43% | 36.77% | 35.76% | 29.09% | 24.5% | 8.604% | 7.134% | 7.441% | 7.979% | 9.711% | 22.97% | 23.25% | 23.3% | 22.99% | 16.94% | 22.41%
CAPACITY FACTOR AVG | 20.32%
SEASON | WINTER 2017/2018
NON-COASTAL

## W17-18-C
HOUR | 2018-1-2 HE19 | 2018-1-2 HE20 | 2018-1-2 HE21 | 2018-1-3 HE7 | 2018-1-3 HE8 | 2018-1-3 HE9 | 2018-1-16 HE11 | 2018-1-16 HE12 | 2018-1-16 HE13 | 2018-1-16 HE18 | 2018-1-16 HE19 | 2018-1-16 HE20 | 2018-1-16 HE21 | 2018-1-16 HE22 | 2018-1-17 HE6 | 2018-1-17 HE7 | 2018-1-17 HE8 | 2018-1-17 HE9 | 2018-1-17 HE10 | 2018-1-18 HE8
ERCOT LOAD (MW) | 61949 | 61782 | 61125 | 61856 | 62890 | 61352 | 60932 | 61129 | 60763 | 60851 | 63071 | 63383 | 62785 | 61385 | 61282 | 64580 | 65750 | 64629 | 62744 | 61357
WIND HSL (MW) | 2029.3125 | 1957.9375 | 1854.9042 | 834.0975 | 726.0025 | 545.555 | 2088.2399 | 1982.5743 | 1824.5457 | 1344.8304 | 1173.0488 | 1081.6197 | 979.8403 | 954.2354 | 1075.9122 | 965.6536 | 903.7877 | 894.6788 | 824.025 | 681.8258
WIND CAPACITY (MW) | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6 | 2382.6
CAPACITY FACTOR | 85.17% | 82.18% | 77.85% | 35.01% | 30.47% | 22.9% | 87.65% | 83.21% | 76.58% | 56.44% | 49.23% | 45.4% | 41.12% | 40.05% | 45.16% | 40.53% | 37.93% | 37.55% | 34.59% | 28.62%
CAPACITY FACTOR AVG | 51.88%
SEASON | WINTER 2017/2018
COASTAL