## Slide 1
Reporting on Statistics for
EPS Meter Activity
May 16, 2018

## Slide 2: Notices issued January through April 2018
 | January | February | March | April
Total Notices Issued | 908 | 540 | 384 | 234
Total 6 Hours issued | 268 | 78 | 54 | 75
Total 12 Hours issued | 383 | 219 | 134 | 61
Total 5 days issued | 257 | 243 | 196 | 98
Total Notices Issued for IP | 14 | 9 | 8 | 6
Total Notices Issued for Phone Line | 894 | 531 | 376 | 228
*Indicates sorted by this column in lowest to highest order
TDSP | % OF METERS ON PHONE LINE | % OF METERS ON TCP/IP | % OF TOTAL NOTICES ISSUED FOR JANUARY | % OF TOTAL NOTICES ISSUED FOR FEBRUARY | % OF TOTAL NOTICES ISSUED FOR MARCH | % OF TOTAL NOTICES ISSUED FOR APRIL*
TDSP A | 0% | 100% | 0% | 0.19% | 0.00% | 0.00%
TDSP D | 0% | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP F | 73% | 27% | 0.44% | 0.37% | 0.00% | 0.00%
TDSP M | 0% | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP N | 100% | 0% | 0% | 0.00% | 0.00% | 0.00%
TDSP O | 61% | 39% | 0.66% | 0.00% | 1.56% | 0.00%
TDSP P | 0% | 100% | 0% | 0.00% | 0.00% | 0.00%
TDSP Q | 0% | 100% | 0% | 0.00% | 0.26% | 0.00%
TDSP R | 0% | 100% | 0.33% | 0.00% | 0.00% | 0.00%
TDSP S | 100% | 0% | 0.11% | 0.00% | 0.52% | 0.00%
TDSP T | 0% | 100% | 0.11% | 0.00% | 0.00% | 0.00%
TDSP I | 100% | 0% | 2.97% | 0.00% | 0.78% | 0.43%
TDSP U | 0% | 100% | 0.55% | 0.37% | 0.78% | 0.85%
TDSP C | 81% | 19% | 5.95% | 2.78% | 11.20% | 1.28%
TDSP J | 0% | 100% | 0% | 0.00% | 0.26% | 1.28%
TDSP H | 100% | 0% | 1.21% | 1.30% | 6.77% | 2.14%
TDSP B | 73% | 27% | 0.88% | 1.48% | 1.30% | 3.85%
TDSP G | 100% | 0% | 4.30% | 0.74% | 2.08% | 3.85%
TDSP L | 89% | 11% | 2.64% | 2.41% | 6.51% | 3.85%
TDSP V | 100% | 0% | 0% | 1.85% | 8.07% | 10.68%
TDSP E | 76% | 24% | 3.30% | 11.11% | 12.50% | 13.25%
TDSP K | 100% | 0% | 76.54% | 77.41% | 47.40% | 58.55%

## Slide 3: 2017 Notices – Total and Overdue
Overdue timeframes:
6-hour = Open over 12 hours
12-hour = Open over 48 hours
5-day = Open over 10 days
**August and September months were affected by Hurricane Harvey
 |  | Issued | Overdue | % Overdue
January | 6-hour | 18 | 1 | 5.56%
 | 12-hour | 89 | 10 | 11.24%
 | 5-day | 153 | 12 | 7.84%
 | Total | 260 | 23 | 8.85%
February | 6-hour | 40 | 4 | 10.00%
 | 12-hour | 90 | 14 | 15.56%
 | 5-day | 137 | 11 | 8.03%
 | Total | 267 | 29 | 10.86%
March | 6-hour | 33 | 3 | 9.09%
 | 12-hour | 114 | 18 | 15.79%
 | 5-day | 148 | 3 | 2.03%
 | Total | 295 | 24 | 8.14%
April | 6-hour | 26 | 5 | 19.23%
 | 12-hour | 82 | 7 | 8.54%
 | 5-day | 138 | 4 | 2.90%
 | Total | 246 | 16 | 6.50%
May | 6-hour | 12 | 1 | 8.33%
 | 12-hour | 103 | 8 | 7.77%
 | 5-day | 196 | 7 | 3.57%
 | Total | 311 | 16 | 5.14%
June | 6-hour | 56 | 9 | 16.07%
 | 12-hour | 110 | 29 | 26.36%
 | 5-day | 130 | 4 | 3.08%
 | Total | 296 | 42 | 14.19%
 |  | Issued | Overdue | % Overdue
July | 6-hour | 21 | 8 | 38.10%
 | 12-hour | 140 | 14 | 10.00%
 | 5-day | 190 | 5 | 2.63%
 | Total | 351 | 27 | 7.69%
August ** | 6-hour | 154 | 59 | 38.31%
 | 12-hour | 389 | 100 | 25.71%
 | 5-day | 224 | 3 | 1.34%
 | Total | 767 | 162 | 21.12%
September ** | 6-hour | 158 | 71 | 44.94%
 | 12-hour | 95 | 23 | 24.21%
 | 5-day | 117 | 4 | 3.42%
 | Total | 370 | 98 | 26.49%
October | 6-hour | 54 | 11 | 20.37%
 | 12-hour | 128 | 9 | 7.03%
 | 5-day | 228 | 6 | 2.63%
 | Total | 410 | 26 | 6.34%
November | 6-hour | 22 | 4 | 18.18%
 | 12-hour | 73 | 5 | 6.85%
 | 5-day | 192 | 3 | 1.56%
 | Total | 287 | 12 | 4.18%
December | 6-hour | 89 | 17 | 19.10%
 | 12-hour | 161 | 25 | 15.53%
 | 5-day | 205 | 5 | 2.44%
 | Total | 455 | 47 | 10.33%

## Slide 4: 2018 Year to Date Notices – Total and Overdue
Overdue timeframes:
6-hour = Open over 12 hours
12-hour = Open over 48 hours
5-day = Open over 10 days
 |  | Issued | Overdue | % Overdue
January | 6-hour | 268 | 50 | 18.66%
 | 12-hour | 383 | 75 | 19.58%
 | 5-day | 257 | 15 | 5.84%
 | Total | 908 | 140 | 15.42%
February | 6-hour | 78 | 16 | 20.51%
 | 12-hour | 219 | 36 | 16.44%
 | 5-day | 243 | 16 | 6.58%
 | Total | 540 | 68 | 12.59%
March | 6-hour | 54 | 9 | 16.67%
 | 12-hour | 134 | 21 | 15.67%
 | 5-day | 196 | 5 | 2.55%
 | Total | 384 | 35 | 9.11%
April | 6-hour | 75 | 12 | 16.00%
 | 12-hour | 61 | 11 | 18.03%
 | 5-day | 98 | 3 | 3.06%
 | Total | 234 | 26 | 11.11%

## Slide 5: 2017 and 2018 Overdue Totals
2017 Total |  | Issued | Overdue | % Overdue
 | 6-hour | 683 | 193 | 28.26%
 | 12-hour | 1574 | 262 | 16.65%
 | 5-day | 2058 | 67 | 3.26%
 | Total | 4315 | 522 | 12.10%
2017 Total w/o Aug and Sep |  | Issued | Overdue | % Overdue
 | 6-hour | 371 | 63 | 16.98%
 | 12-hour | 1090 | 139 | 12.75%
 | 5-day | 1717 | 60 | 3.49%
 | Total | 3178 | 262 | 8.24%
2017 August & September |  | Issued | Overdue | % Overdue
 | 6-hour | 312 | 130 | 41.67%
 | 12-hour | 484 | 123 | 25.41%
 | 5-day | 341 | 7 | 2.05%
 | Total | 1137 | 260 | 22.87%
2018 Year to Date Total |  | Issued | Overdue | % Overdue
 | 6-hour | 475 | 87 | 18.32%
 | 12-hour | 797 | 143 | 17.94%
 | 5-day | 794 | 39 | 4.91%
 | Total | 2066 | 269 | 13.02%
Overdue timeframes:
6-hour = Open over 12 hours
12-hour = Open over 48 hours
5-day = Open over 10 days

## Slide 6: Temporary Exemptions 2015 through 2017
Count of Average Temporary Exemption Duration |  |  |  |  | 
TDSP | 0-3 months | 3-6 months | 6-9 months | 9-12 months | >12 months*
TDSP N | 0 | 0 | 0 | 0 | 0
TDSP P | 0 | 0 | 0 | 0 | 0
TDSP S | 0 | 0 | 0 | 0 | 0
TDSP J | 1 | 0 | 1 | 0 | 0
TDSP M | 1 | 0 | 0 | 0 | 0
TDSP T | 3 | 0 | 0 | 0 | 0
TDSP H | 5 | 1 | 1 | 0 | 0
TDSP G | 7 | 1 | 0 | 0 | 0
TDSP F | 12 | 0 | 0 | 0 | 0
TDSP V | 13 | 1 | 0 | 0 | 0
TDSP O | 14 | 2 | 1 | 0 | 0
TDSP D | 15 | 0 | 0 | 0 | 0
TDSP C | 20 | 1 | 0 | 0 | 0
TDSP R | 3 | 2 | 0 | 0 | 1
TDSP A | 4 | 0 | 0 | 0 | 1
TDSP Q | 6 | 0 | 0 | 0 | 1
TDSP I | 4 | 2 | 1 | 1 | 1
TDSP E | 33 | 13 | 3 | 6 | 4
TDSP B | 37 | 24 | 2 | 2 | 5
TDSP L | 28 | 6 | 17 | 4 | 5
TDSP U | 17 | 0 | 0 | 1 | 9
TDSP K | 19 | 18 | 13 | 4 | 23
Totals | 242 | 71 | 39 | 18 | 50
Meter's not in compliance with 6.5.4(1)(k) LOP on 1/1/2018 | 
TDSP | %*
TDSP E | 0.0%
TDSP F | 0.0%
TDSP G | 0.0%
TDSP I | 0.0%
TDSP J | 0.0%
TDSP K | 0.0%
TDSP L | 0.0%
TDSP N | 0.0%
TDSP P | 0.0%
TDSP R | 0.0%
TDSP S | 0.0%
TDSP U | 0.0%
TDSP Q | 7.7%
TDSP A | 15.0%
Average | 26.6%
TDSP T | 57.1%
TDSP D | 57.5%
TDSP C | 100.0%
TDSP H | 100.0%
TDSP M | 100.0%
TDSP O | 100.0%
TDSP V | 100.0%
TDSP B** | ????
**TDSP B has not provided any information on their status regarding 6.5.4(1)(k) All other TDSP have confirmed status and/or provided TEs
*Indicates sorted by this column in lowest to highest order

## Slide 7: Annual Meter Test/Meter Reprogram – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015 |  | 2016 |  | 2017 | 
TDSP | 2015 | 2016 | 2017 | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days*
TDSP S | N/A | 4 | 2 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | 7 | 6 | 6 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP N | 3 | 1 | 0 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP R | 2 | 1 | 1 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP I | 2 | 3 | 2 | 100.0% | 0.0% | 96.3% | 3.7% | 100.0% | 0.0%
TDSP D | 8 | 14 | 1 | 90.9% | 9.1% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP V | 15 | 27 | 3 | 71.4% | 28.6% | 35.0% | 65.0% | 100.0% | 0.0%
TDSP T | 22 | 25 | 10 | 0.0% | 100.0% | 33.3% | 66.7% | 100.0% | 0.0%
TDSP M | 24 | 15 | 6 | 0.0% | 100.0% | 16.7% | 83.3% | 100.0% | 0.0%
TDSP P | 3 | 77 | 4 | 100.0% | 0.0% | 0.0% | 100.0% | 100.0% | 0.0%
TDSP L | 7 | 12 | 5 | 90.6% | 9.4% | 94.7% | 5.3% | 98.4% | 1.6%
TDSP C | 2 | 2 | 4 | 100.0% | 0.0% | 100.0% | 0.0% | 95.1% | 4.9%
TDSP U | 4 | 4 | 4 | 97.1% | 2.9% | 91.7% | 8.3% | 88.9% | 11.1%
TDSP G | 11 | 10 | 10 | 74.1% | 25.9% | 77.6% | 22.4% | 87.1% | 12.9%
TDSP A | 11 | 20 | 11 | 81.3% | 18.8% | 33.3% | 66.7% | 80.0% | 20.0%
TDSP E | 17 | 27 | 11 | 53.8% | 46.2% | 23.4% | 76.6% | 78.8% | 21.2%
TDSP Q | 10 | 37 | 8 | 100.0% | 0.0% | 0.0% | 100.0% | 78.6% | 21.4%
Average | 13 | 19 | 10 | 64.7% | 35.3% | 54.7% | 45.3% | 74.4% | 25.6%
TDSP O | 5 | 10 | 23 | 100.0% | 0.0% | 90.5% | 9.5% | 73.9% | 26.1%
TDSP B | 35 | 40 | 31 | 10.7% | 89.3% | 7.7% | 92.3% | 42.1% | 57.9%
TDSP K | 23 | 27 | 22 | 34.2% | 65.8% | 25.0% | 75.0% | 29.8% | 70.2%
TDSP H | 39 | 27 | 26 | 11.8% | 88.2% | 5.9% | 94.1% | 23.1% | 76.9%
TDSP F | 32 | 28 | 37 | 20.0% | 80.0% | 22.2% | 77.8% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 8: Annual Meter Test/Meter Reprogram – Resubmittals
Average Days to Receive |  |  |  | Percentage of document resubmittals within a 14 day timeline |  |  |  |  | 
 |  |  |  | 2015 |  | 2016 |  | 2017 | 
TDSP | 2015 | 2016 | 2017 | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days | Received in ≤ 14 Days | Received in > 14 Days*
TDSP N | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP R | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP M | 34 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP T | 790 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP U | 30 | 9 | N/A | 50.0% | 50.0% | 100.0% | 0.0% | N/A | N/A
TDSP F | N/A | 17 | N/A | N/A | N/A | 50.0% | 50.0% | N/A | N/A
TDSP G | 15 | 21 | N/A | 50.0% | 50.0% | 50.0% | 50.0% | N/A | N/A
TDSP I | 38 | 26 | 6 | 57.1% | 42.9% | 85.7% | 14.3% | 100.0% | 0.0%
TDSP P | 9 | 34 | 10 | 100.0% | 0.0% | 0.0% | 100.0% | 100.0% | 0.0%
TDSP Q | 23 | 29 | 12 | 0.0% | 100.0% | 0.0% | 100.0% | 80.0% | 20.0%
TDSP A | 25 | 12 | 30 | 33.3% | 66.7% | 100.0% | 0.0% | 66.7% | 33.3%
TDSP V | N/A | 60 | 28 | N/A | N/A | 42.9% | 57.1% | 57.1% | 42.9%
TDSP C | 43 | 67 | 19 | 33.3% | 66.7% | 53.8% | 46.2% | 50.0% | 50.0%
TDSP D | 24 | 59 | 31 | 33.3% | 66.7% | 0.0% | 100.0% | 47.1% | 52.9%
TDSP J | 30 | 13 | 28 | 33.3% | 66.7% | 100.0% | 0.0% | 42.9% | 57.1%
TDSP L | 20 | 34 | 21 | 42.9% | 57.1% | 28.6% | 71.4% | 36.4% | 63.6%
Average | 90 | 54 | 37 | 18.8% | 81.2% | 24.3% | 75.7% | 31.8% | 68.2%
TDSP B | 150 | 74 | 104 | 0.0% | 100.0% | 0.0% | 100.0% | 25.0% | 75.0%
TDSP K | 97 | 152 | 77 | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0%
TDSP O | 53 | 105 | 71 | 50.0% | 50.0% | 0.0% | 100.0% | 0.0% | 100.0%
TDSP E | 28 | 113 | 21 | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0%
TDSP H | 116 | 97 | 63 | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 9: Site Certifications – Initial Submittals
Average Days to Receive |  |  |  | Percentage of documents submitted within protocol timeline |  |  |  |  | 
 |  |  |  | 2015 |  | 2016 |  | 2017 | 
TDSP | 2015 | 2016 | 2017 | Received in ≤ 60 Days | Received in > 60 Days | Received in ≤ 60 Days | Received in > 60 Days | Received in ≤ 60 Days | Received in > 60 Days*
TDSP M | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP S | 107 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP N | N/A | 7 | N/A | N/A | N/A | 100.0% | 0.0% | N/A | N/A
TDSP T | 59 | 9 | N/A | 50.0% | 50.0% | 100.0% | 0.0% | N/A | N/A
TDSP P | N/A | 113 | N/A | N/A | N/A | 0.0% | 100.0% | N/A | N/A
TDSP U | 9 | 16 | 16 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP I | 28 | 30 | 6 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP A | 31 | 14 | 14 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | N/A | 16 | 11 | N/A | N/A | 100.0% | 0.0% | 100.0% | 0.0%
TDSP Q | 13 | 15 | 20 | 100.0% | 0.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP G | 40 | 23 | 24 | 85.7% | 14.3% | 84.6% | 15.4% | 100.0% | 0.0%
TDSP F | 36 | 37 | 43 | 100.0% | 0.0% | 75.0% | 25.0% | 100.0% | 0.0%
TDSP C | 108 | 81 | 15 | 21.4% | 78.6% | 55.6% | 44.4% | 100.0% | 0.0%
TDSP B | 55 | 41 | 29 | 55.6% | 44.4% | 66.7% | 33.3% | 84.6% | 15.4%
TDSP O | 29 | 152 | 64 | 100.0% | 0.0% | 12.5% | 87.5% | 80.0% | 20.0%
Average | 50 | 51 | 50 | 74.1% | 25.9% | 73.8% | 26.2% | 78.6% | 21.4%
TDSP K | 48 | 34 | 71 | 78.3% | 21.7% | 84.9% | 15.1% | 72.7% | 27.3%
TDSP L | 9 | 57 | 100 | 100.0% | 0.0% | 85.7% | 14.3% | 66.7% | 33.3%
TDSP H | 126 | 198 | 49 | 60.0% | 40.0% | 25.0% | 75.0% | 66.7% | 33.3%
TDSP E | 48 | 63 | 46 | 77.5% | 22.5% | 70.0% | 30.0% | 64.9% | 35.1%
TDSP D | 63 | 42 | 76 | 36.4% | 63.6% | 68.8% | 31.3% | 50.0% | 50.0%
TDSP V | 86 | 50 | 69 | 0.0% | 100.0% | 66.7% | 33.3% | 50.0% | 50.0%
TDSP R | 10 | 23 | 195 | 100.0% | 0.0% | 100.0% | 0.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order

## Slide 10: Site Certifications – Resubmittals
Average Days to Receive |  |  |  | Percentage of document resubmittals within a 45 day timeline |  |  |  |  | 
 |  |  |  | 2015 |  | 2016 |  | 2017 | 
TDSP | 2015 | 2016 | 2017 | Received in ≤ 45 Days | Received in > 45 Days | Received in ≤ 45 Days | Received in > 45 Days | Received in ≤ 45 Days | Received in > 45 Days*
TDSP M | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP N | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TDSP T | 78 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP S | 151 | N/A | N/A | 0.0% | 100.0% | N/A | N/A | N/A | N/A
TDSP F | 159 | 74 | N/A | 0.0% | 100.0% | 50.0% | 50.0% | N/A | N/A
TDSP G | 66 | 83 | N/A | 0.0% | 100.0% | 33.3% | 66.7% | N/A | N/A
TDSP P | N/A | 162 | N/A | N/A | N/A | 0.0% | 100.0% | N/A | N/A
TDSP I | 65 | 38 | 15 | 33.3% | 66.7% | 50.0% | 50.0% | 100.0% | 0.0%
TDSP A | 67 | 13 | 25 | 0.0% | 100.0% | 100.0% | 0.0% | 100.0% | 0.0%
TDSP J | N/A | 49 | 14 | N/A | N/A | 33.3% | 66.7% | 100.0% | 0.0%
TDSP Q | 33 | 31 | 25 | 100.0% | 0.0% | 75.0% | 25.0% | 100.0% | 0.0%
TDSP C | 160 | 139 | 31 | 5.0% | 95.0% | 14.3% | 85.7% | 71.4% | 28.6%
TDSP L | 24 | 135 | 145 | 100.0% | 0.0% | 40.0% | 60.0% | 66.7% | 33.3%
TDSP R | 18 | 127 | 87 | 100.0% | 0.0% | 25.0% | 75.0% | 66.7% | 33.3%
TDSP O | 235 | 321 | 76 | 25.0% | 75.0% | 0.0% | 100.0% | 42.9% | 57.1%
TDSP U | 18 | 82 | 68 | 100.0% | 0.0% | 80.0% | 20.0% | 40.0% | 60.0%
TDSP B | 173 | 122 | 84 | 0.0% | 100.0% | 50.0% | 50.0% | 40.0% | 60.0%
Average | 117 | 118 | 69 | 22.2% | 77.8% | 25.9% | 74.1% | 38.8% | 61.2%
TDSP E | 157 | 124 | 69 | 20.0% | 80.0% | 8.3% | 91.7% | 35.7% | 64.3%
TDSP V | 158 | 50 | 64 | 0.0% | 100.0% | 71.4% | 28.6% | 33.3% | 66.7%
TDSP D | 96 | 89 | 95 | 0.0% | 100.0% | 33.3% | 66.7% | 25.0% | 75.0%
TDSP K | 138 | 132 | 167 | 11.4% | 88.6% | 10.4% | 89.6% | 14.3% | 85.7%
TDSP H | 305 | 352 | 65 | 0.0% | 100.0% | 0.0% | 100.0% | 0.0% | 100.0%
*Indicates sorted by this column in lowest to highest order