Date:	May 24, 2018

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap [ERCOT] - NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages [GSEC] - NPRR857, Creation of Direct Current Tie Operator Market Participant Role [ERCOT] - NPRR867, Revisions to CRR Auction Credit Lock Amount to Reduce Excess Collateral [Credit WG] - NPRR870, Eliminate Requirement for Forward Adjustment Factors Report in the MIS Certified Area [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] Proposed Effective Date: July 1, 2018 ERCOT Impact Analysis: No budgetary impact; approximately 0.75 Full-Time Employee (FTE) savings within ERCOT’s Transmission Planning department; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR changes the Regional Planning Group (RPG) process by updating the Tier classification rules and also includes other RPG-related enhancements and clarifications. PRS Decision: On 3/8/18, PRS voted unanimously to recommend approval of NPRR837 as amended by the 2/16/18 ERCOT comments. On 4/12/18, PRS voted unanimously to endorse and forward to TAC the 3/8/18 PRS Report, as revised by PRS, and the Impact Analysis for NPRR837. - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2210 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Market Management System (MMS), Data and Information Products (DAIP), Integration, CRM & Registration System (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides a long-term solution that was requested by Market Participants during the stakeholder review and approval of NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events. In substitution for the NPRR664 language that is removed by this NPRR, ERCOT proposes the following: 1) Allowing Qualified Scheduling Entities (QSEs) to submit weighted average fuel prices in the Mitigated Offer Cap (MOC) for Real-Time mitigation, 2) Consolidation of the calculation of the MOC into a single equation for clarification, and 3) Introduction of a definition for Exceptional Fuel Cost and an abbreviated change-control process that allows for revisions to the threshold parameter value through a recommendation from WMS and approval by TAC. PRS Decision: On 3/8/18, PRS unanimously voted to recommend approval of NPRR847 as amended by the 1/30/18 ERCOT comments. On 4/12/18, PRS unanimously voted to endorse and forward to TAC the 3/8/18 PRS Report and Impact Analysis for NPRR847 with a recommended priority of 2018 and a rank of 2210. - NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages [GSEC] Proposed Effective Date: July 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR was developed to fully implement the market design envisioned in NPRR596, External Load Serving Entities. This NPRR establishes a clearly defined disconnection process within ERCOT Market Rules applicable to a transmission voltage connection to the ERCOT grid which utilizes one electrical connection for both generation and Load services. PRS Decision: On 4/12/18, PRS unanimously voted to recommend approval of NPRR851 as amended by the 4/11/18 AEPSC comments and as revised by PRS. On 5/10/18, PRS voted unanimously to endorse and forward to TAC the 4/12/18 PRS Report and Impact Analysis for NPRR851. - NPRR857, Creation of Direct Current Tie Operator Market Participant Role [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2019; Rank 2530 ERCOT Impact Analysis: Between $500k and $700k; no impacts to ERCOT staffing; impacts to Outage Scheduler (OS), Energy Management System (EMS), Operator Training Simulator (OTS), Wide Area Network (WAN), Network Model Management System (NMMS), External Public, Integration, Business Intelligence (BI) & Data Analytics, REG, Data Access & Transparency, DAIP; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR creates the Market Participant role of “Direct Current Tie Operator (DCTO),” in order to clarify the obligations of Entities that operate Direct Current Ties (DC Ties) interconnected with the ERCOT System. PRS Decision: On 3/8/18, PRS unanimously voted to recommend approval of NPRR857 as amended by the 3/5/18 Sharyland comments. On 4/12/18, PRS unanimously voted to endorse and forward to TAC the 3/8/18 PRS Report, as revised by PRS, and the Impact Analysis for NPRR857 with a recommended priority of 2019 and a rank of 2530. - NPRR867, Revisions to CRR Auction Credit Lock Amount to Reduce Excess Collateral [Credit WG] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 580 ERCOT Impact Analysis: Between $75k and $100k; no impacts to ERCOT staffing; impacts to Congestion Revenue Right (CRR); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the amount of each Counter Party’s Available Credit Limit (ACL) locked for CRR Auctions during the duration of the auction process so that it is capped at the pre-auction screening credit exposure amount. PRS Decision: On 4/12/18, PRS unanimously voted to recommend approval of NPRR867 as submitted. On 5/10/18, PRS unanimously voted to endorse and forward to TAC the 4/12/18 PRS Report and Impact Analysis for NPRR867 with a recommended priority of 2018 and a rank of 580. Credit WG Review: See 4/23/18 Credit WG comments. - NPRR870, Eliminate Requirement for Forward Adjustment Factors Report in the MIS Certified Area [ERCOT] Proposed Effective Date: July 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR deletes the grey-boxed requirement for ERCOT to post a Forward Adjustment Factors Summary Report on the Market Information System (MIS) Certified Area. The information in this report is already provided on each Counter-Party’s Estimated Aggregate Liability (EAL) Summary Report. PRS Decision: On 4/12/18, PRS unanimously voted to recommend approval of NPRR870 as revised by PRS. On 5/10/18, PRS voted unanimously to endorse and forward to TAC the 4/12/18 PRS Report and Impact Analysis for NPRR870. Credit WG Review: See 4/23/18 Credit WG comments. Revision Requests Rejected - NPRR853, Availability of ERCOT Estimated Interval Meter Data [ARM] Proposed Effective Date: Not applicable ERCOT Impact Analysis: Not applicable Revision Description: The NPRR codifies the proposed availability of an ERCOT web service providing ERCOT estimated interval data for Advanced Metering System (AMS) meters and Interval Data Recorder (IDR) Meters used in the Settlement process. PRS Decision: On 2/8/18, PRS unanimously voted to recommend approval of NPRR853 as amended by the 2/6/18 RMS comments. On 4/12/18, PRS unanimously voted to reject NPRR853. Revision Requests Withdrawn - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the June 13, 2018 PRS Meeting - NPRR856, Treatment of OFFQS Status in Day-Ahead Make Whole and RUC Settlements [ERCOT] - NPRR873, Posting of the ERCOT Wide Intra-Hour Wind Power and Load Forecast on the MIS Public [ERCOT] - SCR796, Change Validation Rules to Preclude Certain Transactions at Resource Nodes within Private Use Networks [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR845, RMR Process and Agreement Revisions [ERCOT] - NPRR848, Separate Clearing Prices for RRS [Morgan Stanley] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR850, Market Suspension and Restart [ERCOT] - NPRR862, Updates to Address Revisions under PUCT Project 46369 [ERCOT] - NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve [STEC] - NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model [ERCOT] - NPRR869, Clarification of Language Related to Generation Netting for ERCOT-Polled Settlement Meters [Reliant] - NPRR871, Customer or Resource Entity Funded Transmission Projects Review Process [ERCOT] - NPRR872, Modifying the SASM Shadow Price Cap [LCRA] New Revision Requests Scheduled for Consideration at the June 14, 2018 PRS Meeting None These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr