| PGRR Number | DRAFT | PGRR Title | Transmission Projects Information And Tracking (TPIT) Reform |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal |  |
| Planning Guide Sections Requiring Revision |  | 6.4.1, Transmission Project Information and Tracking Report 6.4.2, ERCOT Responsibilities 6.4.3, TSP Responsibilities 6.4.5, Content of the Transmission Project Information and Tracking Report (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) includes Transmission Project Information and Tracking Report and Data Requirements changes intended to enhance and clarify existing processes. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The changes will enhance and bring clarity to the existing TPIT process. |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

6.4.1	Transmission Project Information and Tracking Report

(1)	The ERCOT Transmission Project and Information Tracking (TPIT) report contains the status of the transmission projects (60 kV and above) that have a material impact to the flow of power in the ERCOT System as of the most recent SSWG Case build or SSWG Case update.

(2)	The transmission projects listed in the TPIT report are typically those projects that are planned for completion by a TSP within the Near-Term (five years or less) planning horizon. Projects not listed in the TPIT report include but are not limited to:

(a)	Any project that requires Regional Planning Group (RPG) review and has not completed the review process;

(b)	Any project with a projected in-service date beyond the last year for which an ERCOT SSWG case is posted; or

(c)	Any project that consists of only a Remedial Action Scheme (RAS) or an Automatic Mitigation Plan (AMP) (which is not typically modeled);

6.4.2	ERCOT Responsibilities

(1)	ERCOT shall prepare the TPIT reportusing data supplied by each Transmission Service Provider (TSP), or its Designated Agent.

(2)	ERCOT shall update the TPIT report with updated information provided through the SSWG Case build and SSWG Case update process.

(3)	ERCOT shall publish the update coincident with posting the most recent SSWG Case build or SSWG case update on the Market Information System (MIS) Secure Area.

6.4.3	TSP Responsibilities

(1)	The TSP responsible for submitting model data used in the SSWG case build or SSWG case update shall provide information for its transmission projects to ERCOT.

(2)	The data provided by the TSP for inclusion in the TPIT report shall include the following information in addition to the model data required by the SSWG Procedure Manual:

(a)	Project Title;

(b)	Project Description;

(c)	Estimated Cost. The estimated project cost shall be kept up to date until the project is reported in the PUCT Monthly Construction Report;

(d)	Project status. The project status categories avaialable for use shall be conceptual, planned, or under construction.

(e)	Status indicate that the project is or is not in the published SSWG case.

(f)	Project ID. When one large project is listed in the database as a series of smaller projects, the TSP shall assign a Project ID in a manner that allows the smaller projects to be identified as part of the large project.

(g)	ERCOT RTP Project Number. The TSP shall identify the ERCOT RTP Project Number associated with the Project ID for a particular project or series of projects.

(h)	Projected In-Service Date. The anticipated project completion and energization date.

(i)	Actual In-Service Date. The recorded project completion and energization date.

6.4.5 	Content of the Transmission Project Information and Tracking Report

(1)	The TPIT Report shall contain:

(a)	a section that describes each data field and the Entity responsible for providing the data within each field.

(b) 	a section for future projects;

(c)	a section for completed project;

(d)	a section for cancelled projects;

(e)	a section for Projects approved in the ERCOT Regional Transmission Plan;

(f)	a section containing Transmission Owner project contact information.