## Slide 1
ROS Report – May 2018
Tom Burke
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
NOGRR 176, Hotline Call Participation
  ROS voted unanimously on April 5th to endorse and forward to TAC the 3/1/18 ROS Report and Impact Analysis for NOGRR176. There is no financial impact. (unanimous)

## Slide 3: Voting Items
PGRR 059, Regional Planning Group (RPG) Process Reform
  ROS voted unanimously April 5th to endorse and forward to TAC the 3/1/18 ROS Report and Impact Analysis for PGRR059. There is no financial impact. (unanimous)
PGRR 060, Clarification of Reliability Performance Criteria
  ROS voted unanimously April 5th to endorse and forward to TAC the 3/1/18 ROS Report and Impact Analysis for PGRR060. There is no financial impact. (unanimous)

## Slide 4: DC Tie Curtailments
There were five DC Tie curtailments (Tags) in March 2018
Date | DC Tie | Curtailing Period | # of Tags Curtailed | Initiating Event | Curtailment Reason
3/10/2018 | Eagle Pass | HE 2000 – 2100 | 1 | DC Tie Forced Outage due to cooling system alarm. | DC Tie not available
3/13/2018 | Eagle Pass | HE 1900 - 2200 | 1 | DC Tie Forced Outage Extension due to cooling system alarm. | DC Tie not available
3/14/2018 | Eagle Pass | HE 2100 - 2200 | 1 | DC Tie Forced Outage Extension due to cooling system alarm. | DC Tie not available
3/15/2018 | Eagle Pass | HE 1900 - 2400 | 2 | DC Tie Forced Outage Extension due to cooling system alarm. | DC Tie not available
3/27/2018 | Railroad | HE 2200 - 2300 | 1 | High Rio Grande Valley area load and wind output. | Base Case overload on Rio Hondo – Burns MVEC 138 kV and Randado – Zapata 138 kV.

## Slide 5: Meetings
ROS
  June 7th