Meeting Minutes

ERCOT Planning Geomagnetic Disturbance Task Force

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78749

Thursday, April 12, 2018, 9:30 am – 12:00 pm, Room 168

- Antitrust Admonition							D. Preas	9:30 a.m.

- Introductions								Task Force

- Agenda Review								D. Preas

- No updates to the posted agenda.

- Review of Minutes from March 9, 2018 PGDTF meeting			Task Force

- No updates to the meeting notes.

- Federal and State Activities Regarding GMD				D. Preas

- NERC GMDTF Meeting scheduled for June 12, 2018 (8:30am-4:00pm EST) – Agenda pending.

- Review GIC System Model Development Schedule			D. Preas

  - GIC Model Review Face-to-Face Meeting (TSP Only) – April 12th (afternoon)

  - GIC Model Review Face-to-Face Meeting (TSP Only) – April 13th

  - Final Pass TSP Update – April 18th  April 20th

  - Final Release RAW & GIC Files – April 25th  April 30th

  - Final GIC/VAR Values – April 25th  April 30th

- RARF/TSP Submission Update						ERCOT

- Updated statistics reviewed.

- Transformer data provided by REs via the RARF process at 96.7% (up from last month).

- ERCOT has added the GIC data from “pending RARFs” to the GIC System Model.

- Vector group identifiers continue to be a problem on RE submitted data.

- TPL-007-1 R3 Criteria Options ROS Comments				D. Preas

- Since this language may appear in a binding document, Jeff Billo (ERCOT) suggested striking the following:

(b)	The ERCOT System shall remain stable with no cascading as defined by:

(i)	total load loss greater than 6% of the total initial system load.

- ROS suggested that the GMD Vulnerability Assessment identify facilities with a “more restrictive range” as noted in the draft R3 criteria.

- PGDTF’s recommendation is that entities that have facilities with a “more restrictive range” provide this notification directly to ERCOT to be considered in the GMD Vulnerability Assessment.  This could be entered on a “new” tab added to the GIC System Model template.

- ERCOT Planning allows for more restrictive limits in the Regional Transmission Plan (RTP) analysis.

- TPL-007-1 R2 Maintenance of the GIC Model				ERCOT

- ERCOT is developing an internal process for handling the maintenance of the GIC System Model and TSPs will be submitting GIC System Model data through an ERCOT survey/data request(s).

- No changes to the existing GIC System Model Procedure Manual are needed at this time.

- Transitioning from a task force to a working group is not needed at this time.  PGDTF member(s) noted commitment to transitioning to a working group.

- One PGDTF member voiced concern regarding the submission of GIC System data via an ERCOT data request(s).

- Review GMD Vulnerability Assessment Scope				Task Force

- Omar Urquidez reviewed CenterPoint Energy’s comments to the draft ERCOT GMD Vulnerability Assessment.

- Each TSP is requested to submit a tracked-changes document with their comments.

- Comments to the draft ERCOT GMD Vulnerability Assessment is April 20th.

- Other Business								D. Preas

- Data encryption requirements (Procedure Manual 4.1)

- TAMU GIC Monitoring Project – TAMU presentation next month.

- Future Meetings							D. Preas

- Future meeting schedule has been changed to remove conflicts with SSWG.

  - April 13, 2018 (TSP only, Face-to-Face)

  - May 10, 2018

  - June 14, 2018

  - July 11, 2018  July 9, 2018

  - August 08, 2018  August 7, 2018

  - September 13, 2018

  - October 10, 2018

  - November 07, 2018  November 6, 2018

  - December 13, 2018

- Adjourn								D. Preas		12:00 p.m.

Tabled items:

- Discuss Vulnerability Assessment Event Descriptions

| Open Action Items | Responsible Party |
| --- | --- |
| SPWG regarding Vulnerability Assessment Event Descriptions follow-up | D. Preas |

| Attendees: | Representing: | Attendees: | Representing: |
| --- | --- | --- | --- |
| Aster Amahatsion | AEP | Cody Phipps | WETT |
| Jorge Canamar | Sharyland | Dylan Preas | LCRA TSC |
| Tim Cook | CTT | Parimal Saraf | RGEC/DME/Sharyland |
| Ed Geer | ERCOT | Lori Thompson | ERCOT |
| Chenyan Guo | Lonestar | Omar Urquidez | CNP |
| Michael Juricek | Oncor | Joe Weatherly | ERCOT |
| Robert Lona | TNMP | Leslie Williams | ERCOT |
| Kaleb Luce | Oncor | Brad Woods | Texas RE |
| Sirisha Parvathaneni | Oncor | Jianhui Zhang | AEN |