## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
Vice Chair: Chad Mulholland, NRG
ROS
June 7th, 2018

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    2 FMEs in the month of April
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 05/9/18
  NPRR863 – Separation of PFR and RRS Ancillary Service. ERCOT questions from PDCWG with discussion at June 13 Meeting.
  NOGRR-174 Status and Update. Impact Analysis at June 7 ROS Meeting.
  Regulation & Frequency Control Reports
  BAL-001-TRE-001
    Operating Condition Guidelines for PFR Performance-ERCOT Guidelines finalized
    LCRA-Combined Cycle Steam Droop setting clarification. ERCOT Market Notice on May 4. ERCOT to initiate SAR to remove R9 and R10 for Combined Cycle Plant Steam Droop Setting and update NERC workflow diagrams in attachment.
    Performance Evaluation to check for pass/fail before scoring. ERCOT Tool being developed for RRS providers.
    No Evaluation of Resources below LSL. ERCOT Tool being developed for RRS providers.

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There were 2 FMEs in April
  4/14/2018 2:02:07
    Loss of 438 MW
    Interconnection Frequency Response:
    12 of 46 Evaluated Generation Resources(0 of 23 RRS Providers) had less than 75% of their expected Initial Primary Frequency Response.
    9 of 46 Evaluated Generation Resources(0 of 23 RRS Providers) had less than 75% of their expected Sustained Primary Frequency Response.
  4/18/2018 10:20:11
    Loss of 460 MW
    Interconnection Frequency Response:
    14 of 59 Evaluated Generation Resources(0 of 21 RRS Providers) had less than 75% of their expected Initial Primary Frequency Response.
    14 of 59 Evaluated Generation Resources(0 of 21 RRS Providers) had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 1059.59 MW/0.1Hz

## Slide 7: Frequency Control Report
April 2018

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections
There were no Time Error Corrections (TEC) in March

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?