| NPRR Number | 871 | NPRR Title | Customer or Resource Entity Funded Transmission Projects Review Process |
| --- | --- | --- | --- |
| Date Posted |  | April 17, 2018 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 3.11.4.11, Customer or Resource Entity Funded Transmission Projects (New) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) will address the review process for transmission projects that are funded by Customers or Resource Entities. Similar language was included in the initial filing of NPRR837, Regional Planning Group (RPG) Process Reform, but after discussion with stakeholders was removed from that NPRR to allow for a standalone review of the language. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This NPRR will allow for transparency of transmission projects that are funded by Customers and Resource Entities. |  |

| Sponsor |  |
| --- | --- |
| Name | Jeff Billo |
| E-mail Address | jbillo@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6334 |
| Cell Number |  |
| Market Segment | N/A |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

Proposed Protocol Language Revision

3.11.4.11      Customer or Resource Entity Funded Transmission Projects

(1)        If a Customer or Resource Entity elects to fund the full capital cost of transmission upgrades that would otherwise be classified as a Tier 1, Tier 2, or Tier 3 project, an affected TSP may, in its discretion, elect to pursue the project.  The TSP(s) shall conduct a reliability impact assessment of the proposed transmission project and shall submit a report summarizing the results of the reliability impact assessment for RPG Project Review.  Such projects shall be processed as a Tier 3 and shall be reclassified as a Tier 4, neutral project upon ERCOT’s determination that any concerns, questions or objections raised during the comment process have been resolved satisfactorily.