## Slide 1: PLWG Report to ROS
(June 7th, 2018)
PLWG Chair: Brad Myers, AEPSC
PLWG Vice Chair: Jennifer Rochelle, CES-LTD

## Slide 2: NPRR-866/PGRR-061/RRGRR-017 (Registered DER Mapping)
Taken Up By PLWG: 2/26, 3/27, 4/25, & 5/23
Status:
  PLWG Consensus Achieved for All 3 RRs
  PLWG is Recommending ROS Voting Consideration On:
    Oncor’s 5/16/2018 Comments for NPRR866
    Oncor’s 5/16/2018 Comments for PGRR061
    3/1/2018 ROS Report for RRGRR017
      No PLWG Edits Found Necessary for RRGRR017

## Slide 3: PGRR-062 (GINR Process Updates)
Taken Up By PLWG: 4/25 & 5/22
Status:
  PLWG Consensus Achieved on 5/22/2018
  PLWG is Recommending ROS Voting Consideration On:
    PLWG Desktop Edits of ERCOT’s 5/21/18 Comments
    Only Minor Clarity and Grammatical Edits at PLWG

## Slide 4: TPIT Process Updates
Taken Up By PLWG: 2/26, 4/25, & 5/23
Status: PLWG Review of LCRA Authored Draft PGRR
  PLWG Anticipates Official PGRR Submission in June
  PLWG Consensus Concern:
    Extended Stakeholder Visibility to TPIT with Cost Information
    Duration of TPIT Cost Update Responsibilities for TSPs

## Slide 5: Other Ongoing PLWG Work
PGRR063 and PGRR064: PLWG Requests that ROS Continue to Table for One Month
  Referred to PLWG at May 3rd ROS Meeting
  Initial PLWG Review on 5/22 and 5/23
  PGRR063 (FAC-002-2 Based Transmission Interconnection Study)
    Dry Run of MOD Database Query
    Stakeholder Comment Period
  PGRR064 (Dynamic Element Model Verification Requirement)
    Concerns Raised Related to Transformer LTC Requirements
    Stakeholder Comment Period
NPRR871: PLWG Preliminary Review on 5/23/2018
  NPRR871 (Review Process for Customer/RE Funded Transmission Projects)

## Slide 6: ROS Assignments
ROS Assignment: Review Neutral Project Language for Direct Interconnection of Generation Facilities
  Wind Coalition Presented “TSP Construction Responsibility” on 5/23/2018
    Reviewed Interconnection Scenarios
    Reviewed Associated PUCT SR and ERCOT PG Language
  Reviewed Neutral Project Language Alternatives Proposed by ERCOT
  Stakeholders to Consider/Submit Edits or Other Alternatives for June PLWG
ROS Assignment: DMTF Handoff
  PLWG Activity Pending DMTF Final Report and Report Recommendations