DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, May 3, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | E.ON |  |
| Barnes, Bill | Reliant Energy Retail Services | Alt. Rep. for R. Bailey |
| Bern, Alan | Oncor |  |
| Bowen, Kenneth | CPS Energy | Alt. Rep. for T. Vo |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread |  |
| Coleman, Diana | OPUC |  |
| Downey, Marty | Electranet Power |  |
| Goff, Eric | Citigroup |  |
| Greer, Clayton | Morgan Stanley |  |
| Hampton, Brenda | Luminant |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power & Light |  |
| Mejia, Arnulfo | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Moore, John | STEC |  |
| Reed, Cyrus | Sierra Club |  |
| Sandidge, Clint | Calpine Energy Solutions | Via Teleconference |
| Varnell, John | Tenaska Power Services | Alt. Rep. for B. Staples |
| Woitt, Wes | CenterPoint Energy |  |

The following Proxy was assigned:

David DeTullio to Cyrus Reed

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Arizon, Paloma | CenterPoint Energy | Via Teleconference |
| Bezwada, Neelima | Texas RE | Via Teleconference |
| Bryant, Mark | PUCT | Via Teleconference |
| Canamar, Jorge | Sharyland Utilities | Via Teleconference |
| Checkley, Jim | Cross Texas Transmission |  |
| Cochran, Seth | DC Energy | Via Teleconference |
| Cripe, Ramsey | Schneider Engineering | Via Teleconference |
| Daigneault, Ralph | Potomac Economics |  |
| Donohoo, Ken | EPE Consulting | Via Teleconference |
| Dumas, John | LCRA | Via Teleconference |
| Eckhoff, Christina | Texas RE | Via Teleconference |
| Eto, Joe | LBNL |  |
| Evans, Doug | STEC | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gillean, Rick | Rayburn Electric Cooperative |  |
| Golder, Drew | 7X Energy |  |
| Gong, Yanfeng | AEPSC |  |
| Gross, Blake | AEPSC |  |
| Gurrala, Sharmila | CPS Energy | Via Teleconference |
| Henry, Mark | Texas RE |  |
| Hughes, Darren | LCRA | Via Teleconference |
| Huynh, Thuy | IMM | Via Teleconference |
| Jablonski, Ward | CenterPoint Energy | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Kakarla, Rajasekhar | CenterPoint Energy | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Lane, Rob | Oncor |  |
| Lange, Clif | STEC | Via Teleconference |
| Li, Jun | CenterPoint Energy | Via Teleconference |
| Lim, Eddie | FERC |  |
| Lindberg, Ken | Bryan Texas Utilities | Via Teleconference |
| Macias, Michael | AEPSC | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| McClelland, Charlie | Longroad Energy | Via Teleconference |
| Minchew, Christina | WETT | Via Teleconference |
| Mishra, Nitesh | AEPSC | Via Teleconference |
| Mueller, Paula | Texas RE | Via Teleconference |
| Myers, Brad | AEPSC |  |
| Nesbit, Bracy | LCRA |  |
| Niemeyer, Sydney | LBNL |  |
| O’Keefe, Rob | AEPSC | Via Teleconference |
| Penney, David | Texas RE |  |
| Peters, Patrick | CenterPoint Energy | Via Teleconference |
| Powell, Christian | LCRA |  |
| Preas, Dylan | LCRA |  |
| Purviance, James | AEPSC | Via Teleconference |
| Ranaweera, Aruna | E.ON | Via Teleconference |
| Reed, Glen | AEPSC | Via Teleconference |
| Reid, Mike | Air Liquide |  |
| Reid, Walter | Wind Coalition |  |
| Rezaei, Ebrahim | AEPSC | Via Teleconference |
| Rochelle, Jennifer | CES |  |
| Rollow, Brett | Pattern Energy |  |
| Sams, Bryan | NRG | Via Teleconference |
| Santos, Juan | Garland Power & Light | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Smith, Caitlin | Jewell & Associates |  |
| Stanfield, Leonard | Invenergy |  |
| Tripathi, Pradeep | Burns McDonnell | Via Teleconference |
| Turner, Lucas | STEC | Via Teleconference |
| Turner, Mina | AEPSC | Via Teleconference |
| Undrill, John | LBNL |  |
| Urquidez, Omar | Burns & McDonnell | Via Teleconference |
| White, Lauri | AEPSC |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Whittle, Brandon | Calpine | Via Teleconference |
| Wichers, Joshua | AEPSC | Via Teleconference |
| Wieck, John | Golden Spread | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Woodruff, Taylor | Oncor | Via Teleconference |
| Woods, Brad | Texas RE | Via Teleconference |
| Zake, Diana | Lonestar Transmission | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Bernecker, John |  | Via Teleconference |
| Bezzam, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Bracy, Phil |  |  |
| Geer, Ed |  | Via Teleconference |
| Hailu, Ted |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Hinojosa, Jose Luis |  |  |
| Huang, Fred |  |  |
| Jenkins, Darrell |  | Via Teleconference |
| Khan, Muhammad |  | Via Teleconference |
| Krein, Steve |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matlock, Robert |  | Via Teleconference |
| McGinnis, Tim |  | Via Teleconference |
| Mereness, Matt |  |  |
| Miller, Megan |  | Via Teleconference |
| Moorty, Sai |  | Via Teleconference |
| Pierce, Evan |  |  |
| Rose, Jonathan |  |  |
| Schmall, John |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2018 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bern reviewed items scheduled for a vote at this meeting and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

April 5, 2018

Tom Burke moved to approve the April 5, 2018 ROS Minutes as submitted.  Diana Coleman seconded the motion.  The motion carried unanimously.

Texas Reliability Entity Assessment of Reliability Performance

Mark Henry presented an assessment of 2017 reliability performance to the ROS.  Market Participants briefly discussed study assumptions and results.

ERCOT Updates (see Key Documents)

Operations Report

Market Participants requested additional information regarding the Load deployment referenced in Section 2.3, Load Resource Events.

System Planning Report

There were no questions regarding the System Planning Report for March 2018.

Power System Computer Aided Design (PSCAD) Stability Analysis – Follow Up Discussion (see Key Documents)

Fred Huang reviewed highlights of the PSCAD analysis presented at the April 5, 2018 ROS meeting.  Mr. Huang noted that the Weighted Short Circuit Ration (WSCR) limit in the Panhandle region could potentially be relaxed pending the results of additional study.  Market Participants discussed system constraints and voltage stability limits in the Panhandle and Valley regions, and considered limitations of and improvements to study model information.

Lawrence Berkley National Laboratory’s Frequency Response Study for FERC (see Key Documents)

Joe Eto provided an overview of study objectives and methodology, and summarized key findings and recommendations.  John Undrill highlighted key points with regard to speed and sustainability of frequency response.  Sydney Niemeyer presented an in-depth review of independent observations of study results including frequency control performance requirements, limits of generator performance, and the relationship between dead-band frequency and Primary Frequency Response (PFR) timing.  Mr. Niemeyer noted that the delivery speed of PFR is critical and that Responsive Reserves (RRS) must be spread over many generators in order to deliver the response time required to prevent Under Frequency Load Shed (UFLS) action.

South Texas Subsynchronous Resonance (SSR)

Mr. Huang and AEP representative Yanfeng Gong provided background information and a status update regarding recent SSR events which resulted in trips of Wind-powered Generation Resources (WGRs) on August 24 and September 27, 2017.  Mr. Huang summarized findings regarding potential issues with connecting at or near series capacitors, and reviewed lessons learned and next steps.

New Protocol Revision Subcommittee (PRS) Referrals

There were no items referred to ROS at the April 12, 2018 PRS meeting.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve

NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

ROS took no action on these items.

Review of Revision Request Language

Planning Guide Revision Request (PGRR) 063, Transmission Interconnection Study

Clayton Greer moved to table PGRR063 and refer the issue to the Planning Working Group (PLWG).  Wes Woitt seconded the motion.  The motion carried unanimously.

PGRR064, Transmission Dynamic Element Model Verification

Mr. Woitt moved to table PGRR064 and refer the issue to the Dynamics Working Group (DWG) and PLWG.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

Nodal Operating Guide Revision Request (NOGRR) 178, Clarification of Automatic Under-Frequency Load Shed Requirement

PGRR061, Related to NPRR866 Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

PGRR062, Updates to GINR Process

Resource Registration Glossary Revision Request (RRGRR) 017, Related to NPRR866 Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

ROS took no action on these items.

NOGRR174, AVR and PSS Testing Requirements

Market Participants considered revisions to NOGRR174 provided by the Operations Working Group (OWG) and Performance Disturbance Compliance Working Group (PDCWG).

Brenda Hampton moved to recommend approval of NOGRR174 as revised by ROS.  Mr. Burke seconded the motion.  The motion carried unanimously.

NOGRR177, Related to NPRR857, Creation of Direct Current Tie Operator Market Participant Role

Mr. Greer moved to recommend approval of NOGR177 as submitted.  Ms. Hampton seconded the motion.  The motion carried unanimously.

Voltage Profile Working Group (VPWG) (see Key Documents)

Sharmila Gurrala reviewed recent VPWG activities.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Percy Galliguez reviewed recent PDCWG activities, and summarized discussions regarding NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve.  Mr. Galliguez noted that the group did not feel to a ±0.37Hz dead-band would present reliability concerns, though it was acknowledged that the change would result in slower response to deviations above high frequency.

OWG (see Key Documents)

Rick Gillean reviewed recent OWG activities.

OWG Leadership

Mr. Gillean reviewed recent updates to OWG Leadership.

Ms. Hampton moved to approve the 2018 OWG Leadership as presented.  Mr. Burke seconded the motion.  The motion carried unanimously.

Planning Working Group

Brad Myers reviewed recent PLWG activities.

Outage Coordination Working Group (OCWG) (see Key Documents)

Market Participants requested additional exploration of potential improvements to maintenance of the High-Impact Transmission Elements (HITEs) List as well potential for additional transparency in Outage scheduling with the intent of improving Congestion Revenue Rights (CRR) auction modeling to prevent overselling capacity.  Mr. Bern referred the item to the OCWG.

HITEs List Methodology

Ms. Henson reviewed recent revisions to the HITE List Methodology.

Mr. Woitt moved to approve the HITE List Methodology.  Mr. Burke seconded the motion.  The motion carried with two abstentions from the Independent Power Marketer (IPM) (Morgan Stanley, EDF) Market Segment.

Steady State Working Group (SSWG) (see Key Documents)

Ward Jablonski reviewed recent SSWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Dylan Preas reviewed recent PGDTF activities.

Network Data Support Working Group (NDSWG) (see Key Documents)

Tony Kroskey reviewed recent NDSWG activities.

Black Start Working Group (BSWG)

Evan Pierce reviewed BSWG activities and noted correlations between recent industry trends in operator training and development of new technology and systems.

Other Business (see Key Documents)

Outage Scheduling Restrictions for Summer 2018

Dan Woodfin provided an overview of additional planned transmission outage scheduling restrictions to be in effect from June 2, 2018 through September 15, 2018.

Southern Cross Dashboard Update

Due to time constraints, this item was postponed until the June 7, 2018 ROS meeting.

Review of Open Action Items

Mr. Bern reviewed updates to the Open Action Items List.

Adjournment

Mr. Bern adjourned the May 3, 2018 ROS meeting at 3:16 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/5/3/139264-ROS