## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to the ROS
June 7, 2018
Aster Amahatsion
PGDTF Vice-chair
<number>
6/7/2018 ROS Meeting

## Slide 2: TAMU GIC Monitoring Project (Geo-magnetically Induced Currents)
Power grid research by Texas A&M to deploy a real-time magnetometer and GIC monitor network in Texas
Professor Overbye with Texas A&M gave a presentation titled “Overview of GMD Activities at Texas A&M”
Task force discussed confidentiality regarding sharing of GIC data
Professor Overbye’s presentation is posted on the PGDTF meeting notice page at:
http://www.ercot.com/calendar/2018/5/10/142185-PGDTF
<number>
6/7/2018 ROS Meeting

## Slide 3: RARF Submission Update
RE’s submit GIC System Model data via the RARF
Transformer data provided via the RARF is 97.5% up from 96.7%
Transformers missing vector groups and Rdc from 34 to 16
ERCOT internal department and client services continue working with REs to get missing data
6/7/2018 ROS Meeting
<number>
Notes: Transformer data up from 95.8%
<number>

## Slide 4: Status of GIC Data Files
PGDTF provided ERCOT with a final GIC data file based on the TSP face-to-face working sessions
ERCOT is using this GIC data file for its review of model data and analysis
Task force discussed updating the 2021 GIC base cases (which were published in July 2017) to reflect system changes (i.e. generation retirements and system topology)
7/9/2015 ROS Meeting
<number>

## Slide 5: NERC TPL-007-1 R2
ERCOT developing process to request GIC data via RFI/surveys
ERCOT’s goal is to develop a better way of requesting and submitting GIC System Model data requiring less effort than current processes
ERCOT may propose updating the GIC system model cases every three years instead of annually as proposed by PGDTF
ERCOT states that years in which the GMD Vulnerability Assessment is not conducted does not require more extensive model building efforts and may request updates as needed
Some TSPs expressed concerns about not performing annual GIC system model case building
6/7/2018 ROS Meeting
<number>

## Slide 6: GMD Vulnerability Assessment Scope Development
TSPs have provided comments to the ERCOT GMD Vulnerability Assessment Scope
PGDTF working through comments
PGDTF discussed case updates including removal of retired generation and necessary generation re-dispatch
It is proposed that “material changes” will be presented to RPG
7/9/2015 ROS Meeting
<number>

## Slide 7: Upcoming PGDTF Activities
PGDTF Business Meetings on June 14th
  Open meeting
  Discuss methodology to update the GIC base case(s) with system changes
  Update on the ERCOT process for maintaining the GIC System Model (NERC TPL-007-1 R2)
  Review GMD Vulnerability Assessment Scope
<number>
6/7/2018 ROS Meeting

## Slide 8: Questions
<number>
6/7/2018 ROS Meeting