## Slide 1
Hurricane Harvey
AEP
2018

## Slide 2
Hurricane Harvey 8-26-17

## Slide 3: Objectives
List preparation steps for approaching hurricane conditions
Identify common events impacting system equipment, facilities, customers and topography
Identify post hurricane activities to restore the system to steady-state operations
Identify what notifications were made for Hurricane Harvey
Identify which procedures were followed during Hurricane Harvey

## Slide 4: Preparation steps for approaching Hurricane conditions

## Slide 5: Preparation steps for approaching Hurricane conditions

## Slide 6: Preparation steps for approaching Hurricane conditions
Notes: Outlook email notifications starting as Tropical Storm

## Slide 7: Preparation steps for approaching Hurricane conditions
Track Storm
Determine manpower requirements
Locate Resources (materials & equipment)
Identify staging Areas
Implement ICS- Incident Command System

## Slide 8: Preparation steps for approaching Hurricane conditions

## Slide 9: Preparation steps for approaching Hurricane conditions

## Slide 10: Common events impacting system equipment, facilities, customers and topography
Category 4 hurricane made landfall in the Coastal Bend area of the AEP Texas service territory on August 25th
At peak, 220,000 outages
  Restored power to 96% by day 14
Tremendous support from community leaders and the public in the impacted areas
Collaborative efforts with other Texas utilities, ERCOT and Regional Mutual Assistance Groups

## Slide 11: Post Hurricane activities to restore the system to steady-state operations

## Slide 12: Post Hurricane activities to restore the system to steady-state operations
Notes: One of AEP’s tools used to flag Thermal Contingency’s and Voltage violations during restoration.

## Slide 13: Post Hurricane activities to restore the system to steady-state operations

## Slide 14: Post Hurricane activities to restore the system to steady-state operations
Notes: CHALLENGES
Flooding, mosquitos, as well as windy and muddy conditions created special challenges for work crews.

## Slide 15: Post Hurricane activities to restore the system to steady-state operations
Notes: To address these challenges, specialized equipment and technology, such as drones, ATVs, and helicopters were utilized during the assessment and restoration efforts.

## Slide 16: Post Hurricane activities to restore the system to steady-state operations

## Slide 17: Internal Notifications made for Hurricane Harvey

## Slide 18: Internal Notifications made for Hurricane Harvey

## Slide 19: External Notifications made for Hurricane Harvey
Communication with ERCOT (RFI, Outages, Restoration, O.S.)
Communication with Neighboring TO’s (LCRA, STEC, CPS, Centerpoint) on restoration efforts
DOE – Loss of electric service to more than 50,000 customers for 1 hour or more
Governors office

## Slide 20: Procedures followed during Hurricane Harvey
Notes: Dispatchers were sent to Alternate Center to dispatch all non-storm planned work. Phones from CC TDC were switched over to this location for all of AEP Northern region in addition to other areas.

## Slide 21: Procedures followed during Hurricane Harvey
Notes: All desks were utilized during the storm taking calls, logging operations, writing switching, sending notifications and Dispatching restoration instructions.

## Slide 22: Procedures followed during Hurricane Harvey
First Major Event for AEP w/ICS Activated
  Advantages
    Scalable
    Easy to interface with other agencies
    Specific Job Responsibilities
    Specific Chain of Command
  Challenges
    First real test on large event
    Hard to break old habits
    Stretched resources

## Slide 23: Procedures followed during Hurricane Harvey
Lessons Learned
Damage assessment hampered in several areas
  Slow movement of storm
  Flooding
  Visit by POTUS
  Large amount of debris on the road
  Impact to Industrials has several levels
  Availability of Nitrogen
  Other needs
  Stock feeds (pumping stations)
  Delivery of product
  Water for process

## Slide 24: Procedures followed during Hurricane Harvey Lessons Learned

## Slide 25: Transmission Damage

## Slide 26: Substation Damage

## Slide 27: Substation Damage

## Slide 28: Distribution Damage

## Slide 29: Other Participants in the Restoration Effort

## Slide 30: SUMMARY
List preparation steps for approaching hurricane conditions
Identify common events impacting system equipment, facilities, customers and topography
Identify post hurricane activities to restore the system to steady-state operations
Identify what notifications were made for Hurricane Harvey
Identify which procedures were followed during Hurricane Harvey

## Slide 31: Q & A