## Sheet1
Load Resource Deployment Summary 2013 to Present
2013
Date | Time | Duration (min) | Amount of Response (MW) | Type of Deployment
2013-01-04 | 9:42 | 20 | 572 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2013-01-08 | 16:40 | 10 | 973.9 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2013-11-01 | 21:47 | 10 | 463 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2014
Date | Time | Duration (min) | Amount of Response (MW) | Type of Deployment
2014-01-06 | 6:54 | 59.617 | 1028.4 | Initially to maintain frequency but then went into EEA Level 2 with a Systemwide Deployment
2014-01-18 | 8:41 | 59 | 850 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline; resulted in EEA Level 1 event.
2015
Date | Time | Duration (min) | Amount of Response (MW) | Type of Deployment
2015-07-29 | 18:16 | 10 | 21.77 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2016
Date | Time | Duration (min) | Amount of Response (MW) | Type of Deployment
2016-05-01 | 20:21 | 4.4 | 927.1 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline
2017
Date | Time | Duration (min) | Amount of Response (MW) | Type of Deployment
2017-12-07 | 16:41 | 229 | 5.2 | Manual deployment of one LR in lieu of firm load shed
2018
Date | Time | Duration (min) | Amount of Response (MW) | Type of Deployment
3/18-19/2018 | 21:57 | 243 | 3.1 | Manual deployment of one LR in lieu of firm load shed
2018-04-21 | 17:11 | 19 | 546.49 | UF Event for frequency near 59.7 Hz that caused some Load Resources to trip offline