| NPRR Number | 869 | NPRR Title | Clarification of Language Related to Generation Netting for ERCOT-Polled Settlement Meters |
| --- | --- | --- | --- |
| Date |  | July 3, 2018 |  |
| Submitter’s Information |  |  |  |
| Name |  | Bill Blevins / Don Tucker / Juliana Morehead |  |
| E-mail Address |  | Bill.Blevins@ercot.com / Donald.Tucker@ercot.com / Juliana.Morehead@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6691 / 512-248-3913 / 512-225-7184 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

On May 8, 2018, Reliant Energy Retail Services (Reliant) submitted comments to Nodal Protocol Revision Request (NPRR) 869 removing substantive changes to Protocol Section 10.3.2.3(1) to focus on proposed revisions to Protocol Section 10.3.2.3(2)(c).  ERCOT understands the intent of the proposed modifications - i.e., expanding Section 10.3.2.3(2)(c) to include qualifying small power production facilities (conservation Qualifying Facilities (QFs)) - and does not oppose this NPRR, but submits these comments to: (i) ensure that ERCOT maintains adequate visibility into modeling information and telemetry; (ii) remove ambiguity with respect to the stand-alone term “host”; and (iii) identify some consequences that may occur as a result of this NPRR.

Protocol Section 10.3.2.3(2)(c) allows a cogeneration QF to net generation where it sells to its thermal host.  The approval of this NPRR will expand the exception in Section 10.3.2.3(2)(c) to conservation QFs, and thus, ERCOT believes that the number of Private Use Networks in the ERCOT System will increase, while the size of the QFs will decrease.  Cogeneration QFs have historically netted large Loads against thermal generation for design efficiency.  Such QFs, due to their large size, are typically required to register with ERCOT to provide certain modeling attributes and telemetry.  Registration of these cogeneration QFs has provided ERCOT with requisite transparency such that ERCOT can identify the impacts of these QFs on Load and generation.  While ERCOT understands that this NPRR is not intended to impact ERCOT’s visibility into modeling information and telemetry, ERCOT requests similar visibility into conservation QFs that would be permitted to net generation under Section 10.3.2.3(2)(c).  Accordingly, ERCOT recommends lowering the registration threshold in Section 3.10.7.3(1)(b) from ten (10) MW to one (1) MW.

In Reliant’s May 8, 2018 comments, Reliant notes that this NPRR is intended to clarify that any QF host site can participate in the exemption specified in Protocol Section 10.3.2.3(2)(c). Consequently, Reliant removed “thermal” from host to allow the exception to apply to all QF types (i.e., cogeneration QFs and conservation QFs).  To provide clarity with respect to “host” (i.e., independently of a “thermal host”), these comments propose to modify Section 10.3.2.3(2)(c) to state that a QF with a POI, where the QF is selling to a Load, can net the Load meters with the QF’s generation meters when the Load and generation are connected through a common switchyard.  ERCOT does not believe that these changes will alter the desired effect of Reliant’s proposed modifications.

Finally, ERCOT believes it important to note possible cost allocation implications with the expansion of Section 10.3.2.3(2)(c).  In calculating a Load Serving Entity’s (LSE’s) Load to determine its Load Ratio Share (LRS) allocation, ERCOT does not include the Load that is served by the output of a QF.  If there is an increase in the number of QFs because of this NPRR, metered Load in the ERCOT System will decline, thereby causing a reallocation of Ancillary Service charges without a decrease in Ancillary Service costs.  This will result in higher allocations of Ancillary Services and other LRS cost allocations to LSEs.  Similar outcomes can be expected with respect to the transmission cost of service allocation to Loads served by a QF that are subject to 4-Coincident Peak (4-CP) cost allocation, resulting in a greater allocation of the costs to the other remaining Loads.

Revised Cover Page Language

| Nodal Protocol Sections Requiring Revision | 3.10.7.3, Modeling of Private Use Networks 10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters |
| --- | --- |
| Revision Description | This Nodal Protocol Revision Request (NPRR) clarifies that any Qualifying Facility (QF) host site may participate in the exemption specified in paragraph (2) of Section 10.3.2.3; requires certain generators over 1 MW (i.e., generators that are not: (i) registered with the Public Utility Commission of Texas (PUCT) as a power generation company; (ii) part of a Private Use Network with more than one connection to the ERCOT Transmission Grid; or (iii) registered to provide Ancillary Services) within a Private Use Network to provide modeling information to ERCOT as set forth in paragraph (1)(b) of Section 3.10.7.3; and deletes a reference to the now-expired system benefit fund charges. |
| Business Case | This NPRR removes a limitation to the types of QFs that may participate in the netting exemption permitted in paragraph (2) of Section 10.3.2.3. Currently, the QF exemption is limited to those that sell to thermal hosts. Limiting QFs to only qualifying cogeneration does not recognize the full range of QFs defined by the Federal Energy Regulatory Commission (FERC) and is unreasonably restrictive. This NPRR also ensures that ERCOT maintains adequate visibility into modeling information and telemetry within Private Use Networks. |

Revised Proposed Protocol Language

- 3.10.7.3	Modeling of Private Use Networks

(1)	ERCOT shall create and use network models describing Private Use Networks according to the following:

(a)	A Generation Entity with a Resource located within a Private Use Network shall provide data to ERCOT, for use in the Network Operations Model, for each of its individual generating unit(s) located within the Private Use Network in accordance with Section 3.3.2.1, Information to Be Provided to ERCOT, if it meets any one of the following criteria:

(i)	Contains a generator greater than ten MW and is registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a power generation company; or

(ii)	Is part of a Private Use Network which contains more than one connection to the ERCOT Transmission Grid; or

(iii)	Contains generation registered to provide Ancillary Services.

(b)	A Generation Entity with a generator greater than one (1) MW located within a Private Use Network which does not meet any of the criteria of item (a) above shall provide to ERCOT annually, or more often upon change, the following information for ERCOT’s use in the Network Operations Model, for each of its individual generating unit(s) located within the Private Use Network:

(i)	Equipment owner(s);

(ii)	Equipment operator(s);

(iii)	TSP substation name connecting the Private Use Network to the ERCOT System;

(iv)	At the request of ERCOT, a description of Transmission Elements within the Private Use Network that may be connected through breakers or switches;

(v)	Net energy delivery metering, as required by ERCOT, to and from a the Private Use Network and the ERCOT System at the POI with the TSP;

(vi)	For each individual generator located within the Private Use Network, the gross capacity in MW and its reactive capability curve;

(vii)	Maximum and minimum reasonability limits of the Load located within the Private Use Network;

(viii)	Outage schedule for each generation unit located within the Private Use Network, updated as changes occur from the annually submitted information; and

(ix)	Other interconnection data as required by ERCOT.

(c)	Energy delivered to ERCOT from a non-modeled generator shall be settled in accordance with Section 6.6.3.2, Real-Time Energy Imbalance Payment or Charge at a Load Zone.

(d)	ERCOT shall ensure the Network Operations Model properly models the physical effect of the loss of generators and Transmission Elements on the ERCOT Transmission Grid equipment loading, voltage, and stability.

(e)	ERCOT may require the owner or operator of a Private Use Network to provide information to ERCOT and the TSP on Transmission Facilities located within the Private Use Network for use in the Network Operations Model if the information is required to adequately model and determine the security of the ERCOT Transmission Grid, including data to perform loop flow analysis of Private Use Networks.

(f)	ERCOT shall review submittals of modeling data from owners or operators of Private Use Networks assure that it will result in correct analysis of ERCOT Transmission Grid security.

10.3.2.3	Generation Netting for ERCOT-Polled Settlement Meters

(1)	At Generation Resource Facilities, generation and associated Loads, including construction and maintenance Load that is netted with existing generation auxiliaries, must be metered at their POIs to the ERCOT Transmission Grid.  Interval Data Recorders (IDRs) must be used to determine generator output or Load usage.  In the intervals where the generation output exceeds the Load, the net must be settled as generation.  In the intervals where the Load exceeds the generation output, the net must be settled as Load and carry any applicable Load shared charges and credits.

(2)	For Settlement purposes, generation netting is not allowed except under one of the following conditions:

(a)	Single POI with delivered and received metering data channels;

(b)	Multiple POIs where the Loads and generator output are electrically connected to a common switchyard, as defined in paragraph (6) below.  In addition, there must be sufficient generator capacity to serve all plant Loads for netting to occur;

(c)	A Qualifying Facility (QF) with POI(s), where the QF is selling energy to a Load, may net the Load meters with the QF’s generation meters when the Load and generation are electrically connected to a common switchyard.  In instances in which Load is served by new on-site generation through a common switchyard, the TSP or DSP may install monitoring equipment necessary for measuring Load to determine stranded cost charges, if any are applicable, as determined under the Public Utility Regulatory Act (PURA) and applicable Public Utility Commission of Texas (PUCT) rules.    For purposes of this Section, new on-site generation has the meaning as contained in Public Utility Regulatory Act, Tex. Util. Code Ann. §§ 39.252 and 39.262(k) (Vernon 1998 & Supp. 2007) (PURA); or

(d)	For Generation Resources and/or Load with flow-through on a private, contiguous transmission system (not included in a TSP or DSP rate base) and in a configuration existing as of October 1, 2000, the meters at the interconnections with the ERCOT Transmission Grid may be netted for the purpose of determining Generation Resources or Load.  For Settlement purposes, when the net is a Load, the metered interconnection points must be assigned to the same Load Zone and Unaccounted for Energy (UFE) zone.

(3)	For generation sites with EPS Meters that measure Wholesale Storage Load (WSL), each energy storage Load Resource must be separately metered from all other Loads and generation:

(a)	For configurations where the WSL is not at the POI, it must be separately metered behind a single POI metering point; and

(b)	WSL for a compressed air energy storage Load Resource is exempt from the requirement to be electrically connected to a common switchyard, as defined in paragraph (6) below.

(4)	ERCOT shall maintain descriptions of the Metering Facilities of all common switchyards that contain multiple POIs of Loads (ESI IDs) and generation meters (EPS).  The description is limited to identifying the Entities within a common switchyard and a simplified diagram showing the metering configuration of all Supervisory Control and Data Acquisition (SCADA) and Settlement Metering points.

(5)	All Load(s) included in the netting arrangement for an EPS Metering Facility shall only be electrically connected to the ERCOT Transmission Grid through the EPS metering point(s) for such Facility.  Such Loads shall not be electrically connected to the ERCOT Transmission Grid through electrical connections that are not metered by the EPS metering point(s) for the Facility.

(6)	For purposes of this Section, a common switchyard is defined as an electric substation Facility where the POI for Load and Generation Resources are located at the same Facility but where the interconnection points are physically not greater than 400 yards apart.  The physical connections of the Load to its POI and the Generation Resource to its POI cannot be Facilities that have been placed in a TSP’s or DSP’s rate base.