## Slide 1: PLWG Report to ROS
(July 12th, 2018)
PLWG Chair: Brad Myers, AEPSC
PLWG Vice Chair: Jennifer Rochelle, CES-LTD

## Slide 2: PGRR-063 (Transmission Interconnection Study)
Referred to PLWG on May 3rd
Taken Up By PLWG: 5/23 & 6/18
Status:
  Dry Run of Associated MOD TPIT Query Complete
  PLWG Consensus on 6/18
PLWG is Recommending ROS Vote On:
  PLWG’s 6/18 Desktop Edits of the Original Revision Request
  Edits Consist of Response Time Expansion from 10 to 20 Business Days
    TSP Preparation of IDVs or Study Reports
    ERCOT Reviews, Comments, and MIS Postings

## Slide 3: PGRR-064 (Dynamic Element Model Verification)
Referred to PLWG on May 3rd
Taken Up By PLWG: 5/22 & 6/18
Status:
  PLWG Consensus on 6/18
PLWG is Recommending ROS Vote On:
  PLWG’s 6/18 Desktop Edits of the Original Revision Request
  Edits Consist of Striking an Examples List of Dynamic Elements

## Slide 4: NPRR-871 (Customer/RE Funded Transmission)
Referred to PLWG on June 7th
Taken Up By PLWG: 5/23 & 6/18
PLWG Requests That ROS Continue to Table
6/18 PLWG Discussion Highlights:
  TSP or ERCOT Determination of Limitation on Entities Allowed to Fund Transmission Projects
    Entities ‘Directly Electrically’ Affected by Upgrade
  Proposed NPRR Contemplates RPG Processing Only for Full Funding Option -> Simple Insertion of “Partial” Funding Not Sufficient
  Proposed NPRR’s Silence on 3rd Party Funding of Tier 4 Projects Raises Concern

## Slide 5: PGRR-065 (TPIT Process Updates)
Pending ROS Language Review & Vote
Taken Up By PLWG: 2/26, 4/25, 5/23, 6/18
Status: PLWG Preliminary Review of Filed PGRR065
6/18 PLWG Discussion Highlights:
  TPIT with Cost MIS Posting Location -> Associated Stakeholder Access
  TPIT with Cost: Could it have a price-setting effect in bid process?
  Cost Reconciliation Between TPIT and PUCT Monthly Construction Report
  Discussion and Comment Period Ongoing

## Slide 6: ROS Assignment
Review Neutral Project Language Alternatives for
“Direct Interconnection of Generation Facilities”
  PLWG Narrowed to 2 Draft Options for Further Discussion
    Option A: Status Quo
  “Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid”
    Option B: Expansion of Common Interpretation
  “Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid and any projects needed to ensure that the Generation Resource can reliably generate at capacity under P0, P1, and P7 conditions of the NERC Reliability Standard addressing Transmission System Planning Performance Requirements assuming other Generation Resources can be re-dispatched”
  Agenda Item for 7/25/2018 PLWG Meeting