## Slide 1
5-min Intra-hour Wind Forecast Performance - June 2018
Operations Analysis Staff
ERCOT
July 9, 2018
QMWG

## Slide 2: 5-min-ahead Wind Forecast Error
 | AWS | E&M | Persistent
MAE (MW) | 114 | 287 | 123

## Slide 3: 5-min-ahead Wind Forecast Error for Large Wind Ramp Down Events*
 | AWS | E&M | Persistent
MAE (MW) | 69 | 226 | 241
*Wind ramp < -100 MW/5-min

## Slide 4: 5-min-ahead Wind Forecast Error for Large Wind Ramp Up Events*
*Wind ramp > 100 MW/5-min
 | AWS | E&M | Persistent
MAE (MW) | 206 | 559 | 252

## Slide 5: Questions?