DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, June 7, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | E.ON |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread |  |
| Coleman, Diana | OPUC |  |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power | Via Teleconference |
| Ee, Danny | Austin Energy |  |
| Goff, Eric | Citigroup |  |
| Greer, Clayton | Morgan Stanley |  |
| Hall, Tim | Southern Power Co. |  |
| Hampton, Brenda | Luminant |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power & Light |  |
| Moore, John | STEC |  |
| Palen, John | Reliant Energy Retail Services | Alt. Rep. for R. Bailey |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Shaw, Marka | Exelon |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Ainspan, Malcom | NRG | Via Teleconference |
| Aldridge, Ryan | AB Power Advisors | Via Teleconference |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Amahatsion, Aster | AEPSC | Via Teleconference |
| Bruce, Mark | Cratylus Advisors |  |
| Bryant, Mark | PUCT | Via Teleconference |
| Daigneault, Ralph | Potomac Economics |  |
| Donohoo, Ken | EPE Consulting | Via Teleconference |
| Downey, Marty | Enchanted Rock | Via Teleconference |
| Eckhoff, Christina | Texas RE | Via Teleconference |
| Elliot, Christopher | BAML | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gross, Blake | AEPSC |  |
| Gurrala, Sharmila | CPS Energy | Via Teleconference |
| Henderson, Norris | FERC | Via Teleconference |
| Henry, Mark | Texas RE |  |
| Henson, Martha | Oncor |  |
| Johnson, Anthony | CenterPoint Energy |  |
| Jones, Randy | Mountaineer | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Oncor |  |
| Lange, Clif | STEC | Via Teleconference |
| Li, Jun | CenterPoint Energy | Via Teleconference |
| Lyons, Dan | AEPSC | Via Teleconference |
| Macias, Michael | AEPSC | Via Teleconference |
| McDaniel-Wyman, Constance | PUCT | Via Teleconference |
| Minchew, Christina | WETT | Via Teleconference |
| Myers, Brad | AEPSC |  |
| Penney, David | Texas RE | Via Teleconference |
| Purviance, James | AEPSC | Via Teleconference |
| Ranaweera, Aruna | E.ON | Via Teleconference |
| Reid, Michael | Air Liquide |  |
| Reid, Walter | Wind Coalition |  |
| Ritch, John | Nextera |  |
| Rochelle, Jennifer | CES | Via Teleconference |
| Ross, Richard | APESC | Via Teleconference |
| Sams, Bryan | NRG |  |
| Schwarz, Brad | Hunt Power | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. |  |
| Smith, Caitlin | Jewell & Associates |  |
| Stanfield, Leonard | Invenergy |  |
| Turner, Lucas | STEC | Via Teleconference |
| Velasquez, Ivan | Oncor |  |
| White, Lauri | AEPSC |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Woodruff, Taylor | Oncor | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Anderson, Connor |  | Via Teleconference |
| Bernecker, John |  |  |
| Billo, Jeff |  |  |
| Bivens, Carrie |  | Via Teleconference |
| Bracy, Phil |  |  |
| Clifton, Suzy |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Gnanam, Prabu |  | Via Teleconference |
| Guo, Jack |  | Via Teleconference |
| Hailu, Ted |  | Via Teleconference |
| Hasha, Christine |  |  |
| Kane, Erika |  | Via Teleconference |
| Mago, Nitika |  |  |
| Manning, Brian |  | Via Teleconference |
| Morehead, Juliana |  | Via Teleconference |
| Picone, Benjamin |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| White, Steve |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2018 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bern reviewed items scheduled for a vote at this meeting and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

May 3, 2018

David DeTullio moved to approve the May 3, 2018 ROS Minutes as submitted.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Tom Burke highlighted events of the May 24, 2018 TAC meeting.

ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago reviewed the Operations Report for April 2018.

System Planning Report

Jeff Billo presented the April 2018 System Planning Report and also provided an update on progress for improving accuracy of information for Power System Computer Aided Design (PSCAD) Stability models in the Panhandle and South Texas regions.

New Protocol Revision Subcommittee (PRS) Referrals

Nodal Protocol Revision Request (NPRR) 871, Customer or Resource Entity Funded Transmission Projects Review Process

Clayton Greer moved to request PRS continue to table NPRR871 to allow for additional review by the Planning Working Group (PLWG).  Eric Goff seconded the motion.  The motion carried unanimously.

NPRR872, Modifying the SASM Shadow Price Cap

Mr. Greer moved to request PRS continue to table NPRR872 to allow for additional review by the Performance Disturbance Compliance Working Group (PDCWG).  Brenda Hampton seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Wes Woitt moved to endorse NPRR866 as amended by the 5/16/18 Oncor comments.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve

ROS took no action on these items.

Impact Analysis Review

Nodal Operating Guide Revision Request (NOGRR) 174, AVR and PSS Testing Requirements

Market Participants discussed the proposed extended deadline to allow additional time for coordination with vendors for testing as outlined in the 6/6/18 STEC comments to NOGRR174, and reached consensus that 120 days would be an appropriate compromise.  Market Participants also considered the application of the language “knowingly modified” when referring to unplanned changes that may be made at the request of Transmission Operators (TOs) or by ERCOT.

John Moore moved to endorse and forward to TAC the 5/3/18 ROS Report as amended by the 6/6/18 STEC comments as revised by ROS, and the Impact Analysis for NOGRR174 with a recommended rank of 2018 and priority of 210.  John Palen seconded the motion.  The motion carried unanimously.

NOGRR177, Related to NPRR857, Creation of Direct Current Tie Operator Market Participant Role

Ms. Hampton moved to endorse and forward to TAC the 5/3/18 ROS Report and Impact Analysis for NOGRR177.  Mr. Greer seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

Planning Guide Revision Request (PGRR) 061, Related to NPRR866 Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Resource Registration Glossary Revision Request (RRGRR) 017, Related to NPRR866 Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Brad Myers summarized PLWG recommendations for PGRR061 and RRGRR017.

Mr. Woitt moved to recommend approval of PGRR061 as amended by the 5/16/18 Oncor comments, and to recommend approval of RRGRR017 as submitted.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

PGRR062, Updates to GINR Process

Market Participants discussed the 6/6/18 EDF Renewables comments to PGRR062.  Some Market Participants opined that it would be beneficial to the market to develop a standard process for Transmission Service Providers (TSPs) to provide preliminary element study results to the Interconnecting Entity (IE) rather than waiting for completion of the Full Interconnection Study (FIS), stating that the lack of timely information may negatively impact other projects planned by the IE.  Market Participants agreed that the concern would be better addressed as a new PGRR.

Mr. Kunkel moved to recommend approval of PGRR062 as amended by the 5/21/18 ERCOT comments as revised by ROS.  Mr. Woitt seconded the motion.  The motion carried unanimously.

NOGRR178, Clarification of Automatic Under-Frequency Load Shed Requirement

PGRR063, Transmission Interconnection Study

PGRR064, Transmission Dynamic Element Model Verification

ROS took no action on these items.

Move to Inactive List: Resource Data Working Group (RDWG)

Mr. Bern reminded Market Participants that following the decision to make the RDWG inactive, any new RRGRRs would be referred to other Working Groups on a case by case basis as deemed appropriate by ROS.

Mr. Kunkel moved to declare the RDWG inactive.  Mr. Burke seconded the motion.  The motion carried unanimously.

PDCWG (see Key Documents)

Percy Galliguez reviewed recent PDCWG activities, noted that there would be additional discussion on NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve, at the June 13, 2018 PDCWG meeting, and encouraged Market Participants to forward questions to ERCOT in advance of the meeting.

Voltage Profile Working Group (VPWG) (see Key Documents)

Sharmila Gurrala reviewed recent VPWG activities.

Dynamics Working Group (DWG) (see Key Documents)

Jun Li reviewed recent DWG activities.

PLWG (see Key Documents)

Mr. Myers reviewed recent PLWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Aster Amahatsion reviewed recent PGDTF activities.

Energy Management Systems Working Group (EMSWG) (see Key Documents)

Steve White provided an overview of recent EMSWG activities and ongoing projects.

Critical Infrastructure Protection Working Group (CIPWG) (see Key Documents)

Christine Hasha reviewed recent CIPWG activities.

Other Business (see Key Documents)

Southern Cross Dashboard Update

Matt Mereness reviewed progress on various directives related to the Southern Cross Transmission DC Tie project.  Mr. Mereness noted that ERCOT was in the process of setting up a webpage for ease of access to information and updates as the project progresses.

Added Item: Temporary Taps Discussion

Market Participants discussed the discontinuation of allowances for new temporary interconnects announced on May 31, 2018.  Dan Woodfin stated service will not start until all necessary equipment to preserve reliability has been installed.  Mr. Woodfin noted that those connections already in process with a finished FIS would be allowed to go forward, but those without a complete FIS will not.  Some Market Participants requested additional background information, and expressed interest in exploring if there may be an option to allow for temporary interconnects on a case by case basis.

Review of Open Action Items

Mr. Bern reviewed updates to the Open Action Items List.

Adjournment

Mr. Bern adjourned the June 7, 2018 ROS meeting at 12:16 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/6/7/139268-ROS