## Slide 1
July 10, 2018
Black Start Working Group Meeting

## Slide 2: BSWG Scope Document Review
2018 ROS Goal #4
Consider improvements to Black Start plans, including grid enhancements, to optimize restoration.

## Slide 3: BSWG Scope Document Review
Black Start Ancillary Service test results:
Alan Allgower: Sr. Operations Analyst
Observations from testing
Year-over-year trending
NERC Training Requirements

## Slide 4
Additional day of Black Start Training
Proposals Approved by Operations Training Working Group (OTWG)
Black Start Training Dual Registration
Evaluate need for additional training opportunities task force

## Slide 5
Isochronous Unit Validation
RFIs Submitted:
QSE Constant Frequency Control (CFC) Frequency Source Validation

## Slide 6
ERCOT adopt an “All-Hazards System Restoration Methodology”
Approved Proposal:
ERCOT System Restoration Manual

## Slide 7: All-Hazards System Restoration
Stage | Condition
5 | Market Restoration
4 | AGC/LFC
3 | Multi-TO CFC
2 | Single-TO CFC
1 | Isochronous Island
0 | Initial Blackout

## Slide 8
Approved Proposal:
“Loads necessary for the self-sustaining operation of the electric grid following a partial or complete system collapse.”
“Black Start Load” Classification Task Force

## Slide 9: Black Start Loads
ERCOT/TOP/QSE Control Rooms
Natural Gas Infrastructure
Water Infrastructure
Communications

## Slide 10: Natural Gas Black Start Loads
Natural Gas Control Rooms
Storage
Processing
Compressing Stations
Production

## Slide 11: Water Black Start Loads?
Power sector is single largest user of water
One kilowatt-hour:
15 gallons withdrawn
One gallon consumed
Water for Natural Gas Processing
Water Treatment

## Slide 12
Approved Proposal: Request study and possible test a DER as potential Black Start Resources
ERCOT DER penetration warrants study for inclusion
Potential for grid-forming inverter-based technology
Current Railroad Commission of Texas Natural Gas Curtailment Program places DER as a higher priority than Black Start Resources
Frequency controlling DER only

## Slide 13
Black Start Gas Coordinating Group (BSGCG)
TCC1: April 1st 1000-1400

## Slide 14
Review of 2018 Black Start Training’s Draft Recommendations