## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
July 12, 2018
Dylan Preas
PGDTF Chair
<number>

## Slide 2: PGDTF Meeting(s)
Business meeting was held on June 14th & July 9th
Discussed Federal and State activities regarding GMD
  FERC proposes to approve TPL-007-2
  NERC GMD Task Force meeting help on June 13th
    Mike Juricek (Oncor) gave an update on the state of GIC modeling in ERCOT
ERCOT RARF/TSP Submission Update
Reviewed ERCOT GMD Vulnerability Assessment Scope
Discussed GIC System Model updates and schedule
ERCOT TPL-007-1 (R2) Maintenance of the GIC Model
<number>
7/12/2018 ROS Meeting
Notes: Implementation Plan for TPL-007-2 is posted on the NERC website.
Comments due to FERC by July 23rd.
NERC GMDTF presentation posted on the PGDTF landing page.
<number>

## Slide 3: Preliminary GIC Flows released!
On July 2nd, ERCOT sent a market notice informing subscribers that preliminary “GIC Transformer GIC Flow Information” is posted on the ERCOT MIS Secure site.
GIC flows are based on the current GIC System Models and include the removal of retired generation.
ERCOT requests that TSPs and REs provide comments via email by July 16th.
7/12/2018 ROS Meeting
<number>

## Slide 4: RARF Submission Update
RE’s submit GIC System Model data via the RARF.
Transformer data provided via the RARF remains at 97.5%.
Transformers missing vector groups and Rdc remains at 16.
ERCOT internal department and client services continue working with REs to get missing data.
7/12/2018 ROS Meeting
<number>
Notes: Transformer data up from 95.8%
<number>

## Slide 5: Review ERCOT GMD Vulnerability Assessment Scope
ERCOT discussed the TSP submitted comments internally and incorporated agreeable items into the latest ERCOT GMD Vulnerability Assessment Scope.
ERCOT presented the scope to the PGDTF for discussion in June.
Discussion continued at the July PGDTF meeting.
7/9/2015 ROS Meeting
<number>

## Slide 6: Status of GIC System Models
PGDTF discussed that GIC System Models created based on the 2021 summer peak/MIN cases (released in July 2017) may be outdated.
PGDTF is determining the best approach to providing accurate results while meeting the intent of the NERC Standard.
Update current cases? Build all new cases?
7/12/2018 ROS Meeting
<number>

## Slide 7: Timeframe for Transformer Thermal Impact Assessment
Per TPL-007-1 (R6), affected Owners have 24 months to conduct the Transformer Thermal Impact Assessment.
Back in 2017, PGDTF recommended that Transformer Thermal Impact Assessment(s) be provided to ERCOT in 12 months to include possible mitigation in the GMD Vulnerability Assessment.
7/9/2015 ROS Meeting
<number>

## Slide 8: TPL-007-1 (R2) Maintenance of the GIC System Model
Effective July 1, 2018
ERCOT developed an internal process to request GIC data via RFI/surveys.
ERCOT noted that the minimum requirement to updated the model is once every 5 years.
RFI’s for ad-hoc studies may lead to new official GIC System Models.
ERCOT to review ERCOT’s internal process document at the July (9th) PGDTF meeting.
7/12/2018 ROS Meeting
<number>

## Slide 9: Upcoming PGDTF Activities
PGDTF Business Meeting on August 7th
  Follow-up discussion regarding the adoption of the 2022 Summer Peak and MIN case.
  Face-to-face TSP only model building working session(s) as needed.
  Review GMD Vulnerability Assessment Scope.
<number>
7/12/2018 ROS Meeting

## Slide 10: Questions
<number>
7/12/2018 ROS Meeting