## Slide 1
NDSWG – July 17, 2018
Joe Weatherly
Network Modeling Manager
ERCOT Public
July 17, 2018

## Slide 2: Interim restrictions
Reason for change:
Submittals meeting Protocol timelines have decreased to levels that negatively impact several key ERCOT functions.
  Model validation
  Outage Coordination
  CRR auction accuracy
When: Oct 1, 2018

## Slide 3: Interim restrictions
5 items removed from interim updates***:
  New substations with Line-Breakers (or substation Breaker/Line reconfiguration) and Contingencies
  New physical Lines and Contingencies
  New Transformers and Contingencies
  New Generation & Synchronous Condenser (already enforced)
  Items requiring ResourceNode additions/modifications
3 Interim items considered for processing if meeting 65 Calendar Days prior to Database Load:
  New Tap Station (No Line controlling Breakers)
  New Shunt Compensator
  New SVCs
2 Interim items considered for processing if meeting 20 Calendar Days prior to Database Load
  Field vs Model Cleanup (Only Deletes)
  New Loads (with controlling Breaker if applicable)

## Slide 4: Interim restrictions
***Exceptions:
  If needed for reliability of the ERCOT grid, the MP shall provide the ERCOT form for ERCOT’s consideration along with powerflow study(ies) that demonstrate the change relieves a reliability concern.
  In an ERCOT declared Emergency, Interim Update restrictions may be temporarily waived.