## Slide 1
ERCOT Recommendations for Public Utility Commission of Texas (PUCT) Oversight Project No. 46304 Relating to DC Tie Project Proposed by Southern Cross Transmission, LLC
Matt Mereness
Director, Compliance
TAC Meeting
ERCOT
July 26, 2018

## Slide 2: Outline of Discussion for Recommendations for PUCT Oversight Project No. 46304 Relating to Southern Cross Transmission (SCT) DC Tie Project
Background of Project and PUCT Directives
List of PUCT Directives
Summary of engagement process to date
Process to review and make recommendations on Directives
Specific Directives in this update:
  Directives 1 & 5 (Informational Only)
  Directive 8 - Primary Frequency Response (Possible Vote)

## Slide 3: Background of Project and PUCT Directives
Southern Cross Transmission LLC/Pattern Power Marketing LLC received FERC approval (FERC Docket No. TX 11-1-001) to interconnect DC Tie line.
PUCT imposed conditions for interconnection of the SCT DC Tie line in two PUCT proceedings:
  City of Garland docket – Docket No. 45624
  Oversight proceeding arising out of City of Garland docket – Project No. 46304
As part of the oversight proceeding, PUCT issued 14 Directives to ERCOT, requiring certain studies and determinations be made to accommodate the SCT DC Tie.

## Slide 4: List of PUCT Order 46304 Directives
Directive | Subject | Anticipated Start
1 | Determination of appropriate Market Participant category and market segment for SCT. | 
2 | Execution of any necessary coordination agreements. | 
3 | Determination regarding ramp rate restrictions. | 
4 | Development of methodology for outage coordination. | 
5 | Determination of planning model assumptions and considerations. | 
6 | Determination regarding any needed transmission upgrades. | 
7 | Determination as to how to manage congestion caused by DC Ties. | 
Started
Q2-2020
Q1-2019
Q1-2019
Started
Q1-2019
Started

## Slide 5: List of PUCT Order 46304 Directives (continued)
Directive | Subject | Anticipated Start
8 | Determination regarding Primary Frequency Response and Voltage Support Service. | 
9 | Determination regarding modifications to Ancillary Services. | 
10 | Determination regarding price formation under emergency conditions. | 
11 | Determination regarding allocation of costs identified in PUCT Docket No. 45624. | 
12 | Determination regarding possible assignment of export-related costs to Qualified Scheduling Entities (QSEs). | 
13 | ERCOT reporting of status of work on Directives to PUCT. | 
14 | ERCOT updates to PUCT regarding completion dates for Directives 1 to 12. | 
Started
TBD
Ongoing
Started
Started
TBD
Ongoing

## Slide 6: Summary of engagement process to date
ERCOT’s engagement with experts in non-voting Working Groups or Workshops (OWG, PWG, QMWG)
At the direction of TAC/ROS/WMS, ERCOT has engaged the appropriate working groups to brainstorm and assist ERCOT staff in reaching determinations for the issues raised in each Directive.
Capture key assumptions and solutions in whitepapers and/or Revision Requests
Take determinations to appropriate voting body (ROS, WMS, PRS) for endorsement
Presentations and whitepapers have been posted with meeting agendas, and ERCOT has also established a page on its website for posting documents and stakeholder comments relevant to each Directive.
Working Groups
Subcommittee

## Slide 7: Directive Review at TAC and Board
If ERCOT determines that a Revision Request is necessary to resolve an issue raised in a Directive, then:
  ERCOT will provide updates on the issue at relevant working groups, subcommittees, the Technical Advisory Committee (TAC), and the ERCOT Board.
  ERCOT will request a vote when the Revision Request intended to resolve the issue is before each group for a vote.
If ERCOT determines that no Revision Request or other ERCOT action is needed to resolve an issue raised in a Directive, then:
  Relevant working groups, subcommittees and TAC may vote to endorse this determination, at their discretion; and
  ERCOT will present the issue and determination to the ERCOT Board for a vote to accept the determination.

## Slide 8: Informational update for Directive 1
Directive 1
Requires that ERCOT make two determinations:
    Determine the appropriate Market Participant category for SCT
    Determine the appropriate market segment for SCT
This request addresses the first (1) determination only.
Determination: Create a new Market Participant category called Direct Current Tie Operator (DCTO)
Solution:
  NPRR857, Creation of Direct Current Tie Operator Market Participant Role
  NOGRR177, Related to NPRR857, Creation of Direct Current Tie Operator Market Participant Role.

## Slide 9: Informational update for Directive 5
Directive 5
Requires a single determination:
    Determine how best to model the SCT DC Tie in ERCOT’s transmission planning cases
Determination: Add language to ERCOT Planning Guide to require that new DC Ties be added to the planning models once they have posted financial security with notice to proceed to the interconnecting Transmission Service Provider (TSP).
Solution:
  A Planning Guide Revision Request (PGRR) is expected to be submitted by ERCOT for stakeholder consideration in the near future.

## Slide 10: Endorsement request for Directive 8
Directive 8
Requires 2 determinations:
    Determine whether Southern Cross Transmission or any other entity scheduling flows across the Southern Cross DC Tie should be required to provide or procure:
      Voltage Support Service
      Primary Frequency Response
This request addresses the second (2) determination only.
Determination: No Protocol or Other Binding Document (OBD) Revision Requests concerning Primary Frequency Response (PFR) are necessary in order to specifically accommodate the SCT DC Tie.
Basis for Determination
  ERCOT’s System currently exceeds minimum PFR requirements under NERC standards;
  Coordinating with other Balancing Authorities in providing PFR would introduce significant operational complexities; and
  Current ERCOT Protocols do not require existing DC Ties to provide PFR.

## Slide 11: Next steps
  Presentation on Directives 1 and 5 and request for vote on Directive 8 will be made to ERCOT Board at August 7, 2018 meeting
  ERCOT staff will continue to work with stakeholders on remaining Directives
  Webpage established on ercot.com to track work on Directives: http://www.ercot.com/mktrules/puctDirectives