| Date: | July 31, 2018 |
| --- | --- |
| To: | Board of Directors |
| From: | Bob Helton, Technical Advisory Committee (TAC) Chair |
| Subject: | Unopposed Nodal Protocol Revision Requests (NPRRs), Nodal Operating Guide Revision Request (NOGRR), Planning Guide Revision Requests (PGRRs), Resource Registration Glossary Revision Request (RRGRR), System Change Request (SCR) and Verifiable Cost Manual Revision Requests (VCMRRs) Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: August 7, 2018 Item No.: 2.1

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by TAC (with no opposing votes recorded): - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap; - NPRR856, Treatment of OFFQS Status in Day-Ahead Make Whole and RUC Settlements; - NPRR862, Updates to Address Revisions under PUCT Project 46369; - NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model; - NPRR873, Posting of the ERCOT Wide Intra-Hour Wind Power and Load Forecast on the MIS Public; - NPRR874, Change to Report for Net Allocation to Load Settlement Stability; - NPRR875, Clarification for the Implementation of NPRR864, RUC Modifications to Consider Market-Based Solutions; - NPRR877, Use of Actual Interval Data for IDR ESI IDs for Initial Settlement - NOGRR174, AVR and PSS Testing Requirements; - PGRR061, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model; - PGRR062, Updates to Generation Interconnection or Change Request (GINR) Process; - RRGRR017, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model; - SCR796, Change Validation Rules to Preclude Certain Transactions at Resource Nodes within Private Use Networks; - VCMRR021, Related to NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap – Urgent; and - VCMRR022, Determination of Fuel Adder Price for Coal and Lignite Resources.

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap [ERCOT] Revision Description: This NPRR provides a long-term solution that was requested by Market Participants during the stakeholder review and approval of NPRR664, Fuel Index Price for Resource Definition and Real-Time Make-Whole Payments for Exceptional Fuel Cost Events; and proposes the following: 1) Allowing Qualified Scheduling Entities (QSEs) to submit weighted average fuel prices in the Mitigated Offer Cap (MOC) for Real-Time mitigation, 2) Consolidation of the calculation of the MOC into a single equation for clarification, and 3) Introduction of a definition for Exceptional Fuel Cost and an abbreviated change-control process that allows for revisions to the threshold parameter value through a recommendation from WMS and approval by TAC. Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2210 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Market Management System (MMS), Data and Information Products (DAIP), Integration, Customer Relationship Management (CRM) & Registration System (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR847 as amended by the 6/21/18 ERCOT comments. ERCOT Opinion: ERCOT supports approval of NPRR847. - NPRR856, Treatment of OFFQS Status in Day-Ahead Make Whole and RUC Settlements [ERCOT] Revision Description: This NPRR clarifies that for Day-Ahead make-whole Settlement purposes, the OFFQS status is currently considered an On-Line status and will be considered an Off-Line status after system implementation. This NPRR also clarifies that the OFFQS Resource Status is considered an On-Line status for purposes of the Reliability Unit Commitment (RUC) Capacity-Short Charge. Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2230 (grey-boxed language); September 1, 2018 (remaining language) ERCOT Impact Analysis: Between $50k and $75k; no impacts to ERCOT staffing; impacts to Settlements & Billing (S&B) and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR856 as recommended by PRS in the 6/14/18 PRS Report with a recommended effective date of upon system implementation for grey-boxed language and September 1, 2018 for remaining language. ERCOT Opinion: ERCOT supports approval of NPRR856. - NPRR862, Updates to Address Revisions under PUCT Project 46369 [ERCOT] Revision Description: This NPRR incorporates a number of revisions to address recent changes to P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas, in Public Utility Commission of Texas (PUCT) Project No. 46369, Rulemaking Relating to Reliability Must-Run Service. Proposed Effective Date: September 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR862 as recommended by PRS in the 7/19/18 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR862. - NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model [ERCOT] Revision Description: This NPRR accomplishes two objectives related to mapping registered Distributed Generation (DG) and Load Resources to transmission Loads in the Network Operations Model. Specifically, this NPRR (a) expands paragraph (2) of Section 3.10.7.2, Modeling of Resources and Transmission Loads, to codify the existing process for mapping a Load Resource or an Aggregate Load Resource (ALR) to its appropriate Load point in the Network Operations Model; and (b) Outlines in a new paragraph (3) of Section 3.10.7.2 the practice for mapping a registered DG facility to its appropriate Load point in the Network Operations Model. Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2270 ERCOT Impact Analysis: Between $10k and $20k; no impacts to ERCOT staffing; impacts to Network Model Management System (NMMS); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR866 as recommended by PRS in the 7/19/18 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR866. - NPRR873, Posting of the ERCOT Wide Intra-Hour Wind Power and Load Forecast on the MIS Public [ERCOT] Revision Description: This NPRR is intended to outline expectations for ERCOT’s posting of information pertaining to intra-hour wind power and Load forecast on the Market Information System (MIS) Public Area. This NPRR also proposes two new definitions and acronyms for Intra-Hour Wind Power Forecast (IHWPF) and Intra-Hour Load Forecast (IHLF). Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2240 ERCOT Impact Analysis: Between $60k and $80k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS), DAIP, External Public, and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR873 as recommended by PRS in the 6/14/18 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR873. - NPRR874, Change to Report for Net Allocation to Load Settlement Stability [Tenaska] Revision Description: This NPRR changes the Net Allocation to Load Settlement stability report by breaking out the Load-Allocated CRR Monthly Revenue Zonal Amount (LACMRZAMT) from the other Load-allocated charges and providing dollars per MWh by Congestion Management Zone (CMZ). Proposed Effective Date: September 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR874 as recommended by PRS in the 7/19/18 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR874 because it can incorporate the creation and publication of the requested data within current processes and reporting with no system or FTE impact. - NPRR875, Clarification for the Implementation of NPRR864, RUC Modifications to Consider Market-Based Solutions [ERCOT] Revision Description: This NPRR adds clarifying language to sync up the Protocols with the implementation of NPRR864. Section 5.5.2, Reliability Unit Commitment (RUC) Process, is revised to be more specific as to how to manage fast-starting Resources in RUC under conditions in which they are disqualified per the compliance metric in paragraph (4) of Section 8.1.2, Current Operating Plan (COP) Performance Requirements. Section 8.1.2 is revised to include Resources with cold start times equal to one hour, consistent with the intent of NPRR864. Proposed Effective Date: September 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR875 as recommended by PRS in the 7/19/18 PRS Report. ERCOT Opinion: ERCOT supports approval of NPRR875. - NPRR877, Use of Actual Interval Data for IDR ESI IDs for Initial Settlement [Oncor] Revision Description: This NPRR provides a process to allow for the use of actual metered interval data for initial Settlement of an Operating Day for Electric Service Identifiers (ESI IDs) that currently require BUSIDRRQ Load Profiles. Proposed Effective Date: Upon system implementation – Phase 1 (Priority 2018; Rank 2290) and Phase 2 (Priority 2019; Rank 2540) ERCOT Impact Analysis: Phase 1 - Between $10k and $25k, and Phase 2 – Between $25k and $45k; no impacts to ERCOT staffing; impacts to S&B; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NPRR877 as recommended by PRS in the 7/19/18 PRS Report and as amended by the 7/24/18 ERCOT comments. ERCOT Opinion: ERCOT supports NPRR877 as it provides a mechanism for ERCOT to get interval data from high usage Premises prior to the ERCOT initial Settlement. ERCOT recognizes that the long-term solution in NPRR877 is one of several possible approaches. Credit WG Review: See 6/21/18 Credit WG comments. - NOGRR174, AVR and PSS Testing Requirements [Luminant] Revision Description: This NOGRR harmonizes the ERCOT Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS) testing requirements with the recently approved North American Electric Reliability Corporation (NERC) Standard MOD-026-1, Verification of Models and Data for Generator Excitation Control System or Plant Volt/Var Control Functions. Proposed Effective Date: Upon system implementation – Priority 2018; Rank 2260 (paragraphs (2)(a), (4) and (5) of Section 2.2.5; and paragraph (7)(a) of Section 2.2.6); September 1, 2018 (all remaining language) ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to DAIP and Net Dependable Capability and Reactive Capability Systems (NDCRC); ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of NOGRR174 as recommended by ROS in the 6/7/18 ROS Report with a recommended effective date of upon system implementation for paragraphs (2)(a), (4), and (5) of Section 2.2.5 and paragraph (7)(a) of Section 2.2.6; and September 1, 2018 for all remaining language. ERCOT Opinion: ERCOT supports approval of NOGRR174 as it harmonizes AVR and PSS testing requirements with NERC Standard MOD-026-1. - PGRR061, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model [ERCOT] Revision Description: This PGRR includes changes to the Annual Load Data Request (ALDR) process to include locations for registered DG facilities. Proposed Effective Date: Upon system implementation – Priority 2018; Rank 2270 ERCOT Impact Analysis: Less than $10k; no impacts to ERCOT staffing; impacts to DAIP; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of PGRR061 as recommended by ROS in the 7/12/18 ROS Report. ERCOT Opinion: ERCOT supports approval of PGRR061. - PGRR062, Updates to Generation Interconnection or Change Request (GINR) Process [ERCOT] Revision Description: This PGRR proposes new processes, communication, and document sharing and storage requirements to be included in the new Generation Interconnection or Change Request (GINR) application. Proposed Effective Date: Upon system implementation of PR196-01, GINR Project Status Application Replacement ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. (There are no additional budget or system impacts beyond what was captured in PR196-01.) TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of PGRR062 as recommended by ROS in the 7/12/18 ROS Report as revised by TAC. ERCOT Opinion: ERCOT supports approval of PGRR062. - RRGRR017, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model [ERCOT] Revision Description: This RRGRR supports NPRR866 by providing a process for mapping registered DG facilities to their appropriate Load point in the Network Operations Model. Proposed Effective Date: Upon system implementation – Priority 2018; Rank 2270 ERCOT Impact Analysis: Between $20k and $40k; no impacts to ERCOT staffing; impacts to Resource Asset Registration Form (RARF); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of RRGRR017 as recommended by ROS in the 7/12/18 ROS Report. ERCOT Opinion: ERCOT supports approval of RRGRR017. - SCR796, Change Validation Rules to Preclude Certain Transactions at Resource Nodes Within Private Use Networks [ERCOT] Revision Description: This SCR modifies the validation rules that the MMS uses to validate bids and offers to exclude Resource Nodes within a Private Use Network site as valid Settlement Points for Day-Ahead Market (DAM) Energy-Only Offers, DAM Energy Bids, and Point-to-Point (PTP) Obligation bids. Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2250 ERCOT Impact Analysis: Between $35k and $55k; no impacts to ERCOT staffing; impacts to NMMS, MMS, DAIP, and Integration; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of SCR796 as recommended by PRS in the 6/14/18 PRS Report. ERCOT Opinion: ERCOT supports approval of SCR796. - VCMRR021, Related to NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap – Urgent [ERCOT] Revision Description: This VCMRR aligns the Verifiable Cost Manual with the language proposed in NPRR847 by removing language providing for Make-Whole Payments for exceptional fuel costs. The recovery of these costs is envisioned in NPRR847. Proposed Effective Date: Upon system implementation of NPRR847 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. TAC Decision: On 5/24/18, TAC unanimously voted to recommend approval of VCMRR021 as recommended by WMS in the 5/2/18 WMS Report. ERCOT Opinion: ERCOT supports approval of VCMRR021. - VCMRR022, Determination of Fuel Adder Price for Coal and Lignite Resources [ERCOT] Revision Description: This VCMRR directs ERCOT to contract with a fuel vendor to secure a coal index price and includes a methodology for calculating the fuel adder for coal-fired and lignite-fired Resources quarterly based on that index. Proposed Effective Date: Upon system implementation – Priority 2018; Rank 2260 ERCOT Impact Analysis: Between $20k and $30k (annual recurring O&M between $20k and $25k); no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. TAC Decision: On 7/26/18, TAC unanimously voted to recommend approval of VCMRR022 as recommended by WMS in the 7/11/18 WMS Report. ERCOT Opinion: ERCOT supports approval of VCMRR022. The TAC Reports (and Board Report for VCMRR021, which the Board tabled at its June 12, 2018 meeting) and Impact Analyses for these Revision Requests are included in the ERCOT Board meeting materials, which can found at the following link: http://www.ercot.com/calendar/2018/8/7/137984-BOARD In addition, these Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/NOGRR174 http://www.ercot.com/mktrules/issues/pgrr http://www.ercot.com/mktrules/issues/RRGRR017 http://www.ercot.com/mktrules/issues/SCR796 http://www.ercot.com/mktrules/issues/vcmrr

##### Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted reports to TAC regarding NPRRs 847, 856, 862, 866, 873, 874, 875 and 877; and SCR796. The ROS met, discussed the issues, and submitted reports to TAC regarding NOGRR174; PGRRs 061 and 062; and RRGRR017. The WMS met, discussed the issues and submitted a report to TAC regarding VCMRRs 021 and 022. TAC considered the issues and voted to take action on NPRRs 847, 856, 862, 866, 873, 874, 875 and 877; NOGRR174; PGRRs 061 and 062; RRGRR017; SCR796; and VCMRRs 021 and 022.

##### Conclusion/Recommendation: As more specifically described above, TAC recommends that the ERCOT Board approve NPRRs 847, 856, 862, 866, 873, 874, 875 and 877; NOGRR174; PGRRs 061 and 062; RRGRR017; SCR796; and VCMRRs 021 and 022.

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to approve the following Nodal Protocol Revision Requests (NPRRs), Nodal Operating Guide Revision Request (NOGRR), Planning Guide Revision Requests (PGRRs), Resource Registration Glossary Revision Request (RRGRR), System Change Request (SCR) and Verifiable Cost Manual Revision Requests (VCMRRs) recommended by TAC for approval:

- NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap;

- NPRR856, Treatment of OFFQS Status in Day-Ahead Make Whole and RUC Settlements;

- NPRR862, Updates to Address Revisions under PUCT Project 46369;

- NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model;

- NPRR873, Posting of the ERCOT Wide Intra-Hour Wind Power and Load Forecast on the MIS Public;

- NPRR874, Change to Report for Net Allocation to Load Settlement Stability;

- NPRR875, Clarification for the Implementation of NPRR864, RUC Modifications to Consider Market-Based Solutions;

- NPRR877, Use of Actual Interval Data for IDR ESI IDs for Initial Settlement;

- NOGRR174, AVR and PSS Testing Requirements;

- PGRR061, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model;

- PGRR062, Updates to Generation Interconnection or Change Request (GINR) Process;

- RRGRR017, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model;

- SCR796, Change Validation Rules to Preclude Certain Transactions at Resource Nodes within Private Use Networks;

- VCMRR021, Related to NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap – Urgent; and

- VCMRR022, Determination of Fuel Adder Price for Coal and Lignite Resources.

THEREFORE, BE IT RESOLVED, that the ERCOT Board hereby approves NPRRs 847, 856, 862, 866, 873, 874, 875 and 877; NOGRR174; PGRRs 061 and 062; RRGRR017; SCR796; and VCMRRs 021 and 022.

CORPORATE SECRETARY’S CERTIFICATE

I, Vickie G. Leady, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its August 7, 2018 meeting, the ERCOT Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of August 2018.

______________________________

Vickie G. Leady

Assistant Corporate Secretary