## Slide 1: PLWG Report to ROS
(August 9th, 2018)
PLWG Chair: Brad Myers, AEPSC
PLWG Vice Chair: Jennifer Rochelle, CES-LTD

## Slide 2: NPRR-871 (Customer/RE Funded Transmission)
Referred to PLWG in June
Taken Up By PLWG: 5/23, 6/18, and 7/25
PLWG Requests That ROS Continue to Table
7/25 Non-Consensus Items
  Restrictions Aimed at Mitigating Risk of CRR Market Gaming:
    Limiting Entities Allowed to Fund Transmission Upgrades
    Increased RPG Notification to Project In-Service Lead Time
    PLWG Requests That CMWG Pick Up Discussion on this Topic
  Full vs. Partial Funding:
    Wind Coalition Comments Expected for August PLWG
  O&M Implications:
    “Capital Cost” vs. “Cost” Edit Under Consideration

## Slide 3: PGRR-065 (TPIT Process Updates)
Referred to PLWG in July
Taken Up By PLWG: February - July
Status: Expecting Comments for August PLWG
  Hopeful for August PLWG Consensus
PLWG Requests That ROS Continue to Table

## Slide 4: PGRR-066 (GINR Cancellation and Inactive Status)
Referred to PLWG in July
Taken Up By PLWG: July 25th (First PLWG Review)
Status: Expecting ERCOT Updates for August PLWG
7/25 Discussion Highlights:
  Expansion of FIS Time Frame for Generation Project Changes
  ERCOT Authority for Mandating FIS Re-Study
  Inactive/Cancelled Project Implications to Modeling Base Cases and CDR
PLWG Requests That ROS Continue to Table

## Slide 5: NPRR-882 / PGRR-067 (Re-Power Procedures)
Referred to PLWG in July
Taken Up By PLWG: July 25th (First PLWG Review)
July PLWG Discussion Highlights:
  Effective Date Implications to QSA Requirements on Near Term Re-Power Projects
ERCOT Requests ROS Vote in August
  8/1/2018 ERCOT Comments
  Driver: October BOD Approval and November 2nd Effective Date Adds Clarity and More Advanced Notice of QSA Requirement for Re-Power Projects
Status: PLWG Consensus?
  More Accurate to Characterize as No Objection to Email Polling for PLWG Consensus

## Slide 6: ROS Assignment Existing Protocol 3.11.4.3(1)(e)(iv)
3.11.4.3 Categorization of Proposed Transmission Projects
(1)(e) A project shall be considered a neutral project if it consists entirely of:
(i) The addition of or upgrades to radial transmission circuits;
(ii) The addition of equipment that does not affect the transfer capability of a circuit;
(iii) Repair and replacement-in-kind projects;
(iv) Projects that are associated with the direct interconnection of new generation;
(v) The addition of static reactive devices;
(vi) A project to serve a new Load, unless such project would create a new transmission circuit connection between two stations (other than looping an existing circuit into the new Load-serving station);
(vii) Replacement of failed equipment, even if it results in a ratings and/or impedance change; or
(viii) Equipment upgrades resulting in only ratings changes.

## Slide 7: ROS Assignment Options for Replacing Protocol 3.11.4.3(1)(e)(iv)
Option A
Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid;
Option B
Facilities needed to connect a new Generation Resource to a substation on the existing ERCOT Transmission Grid and any projects needed to ensure that the Generation Resource can reliably generate at capacity under P0, P1, and P7 conditions of the NERC Reliability Standard addressing Transmission System Planning Performance Requirements, other than a P1 or P7 contingency loss of a radial generator tie line, assuming other Generation Resources with a shift factor greater than 2% on an overloaded facility can be redispatched or have their commitment status changed in the study case;
PLWG is Seeking Additional Direction from ROS

## Slide 8: Scenario 1
~
~
~
~
200 MW
200 MW
200 MW
200 MW
500 MW Limit
500 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Not a neutral project

## Slide 9: Scenario 2
~
~
200 MW
200 MW
300 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Not a neutral project

## Slide 10: Scenario 3
~
200 MW
150 MW Limit
150 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Neutral project

## Slide 11: Scenario 4
~
200 MW
150 MW Limit
 | Upgrade Project
Option A | Not a neutral project
Option B | Neutral project