## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for July 2018

## Slide 2: Non-IRR GREDP < 85% – July 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 266 | 832 | 1,020 | 7.65 | 81.57
Unit 337 | 12 | 16 | 0.39 | 75.00

## Slide 3: IRR Summary – July 2018
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 69.01 | 50.00 | 79.08
GREDP Median (%) | 93.84 | 56.35 | 90.00
Average MW Error | 3.07 | 2.90 | 3.46
Median MW Error | 2.60 | 2.58 | 3.29
Total Intervals Scored | 9,486 | 6,718 | 6,091
100+ Intervals Scored | 11 | 168 | 7
Total Intervals Scored Average | 52.99 | 139.96 | 870.14

## Slide 4: IRR < 95%, ≥ 100 Scored Intervals – July 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,422 | 2,577 | 3.16 | 93.99
Unit 2 | 2,407 | 2,569 | 3.21 | 93.69
Unit 4 | 252 | 280 | 3.63 | 90.00
Unit 5 | 259 | 279 | 3.29 | 92.83
Unit 6 | 165 | 171 | 2.13 | 84.68
Unit 9 | 75 | 114 | 4.54 | 66.67
Unit 10 | 32 | 101 | 4.22 | 31.68

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – July 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 1,744 | 1,748 | 6.94 | 99.77
Unit 7 | 130 | 170 | 0.83 | 95.80
Unit 8 | 131 | 131 | 3.69 | 100.00
Unit 11 | 100 | 100 | 2.38 | 100.00