| PGRR Number | 061 | PGRR Title | Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model |
| --- | --- | --- | --- |
| Date of Decision |  | August 7, 2018 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2018; Rank – 2270 |  |
| Planning Guide Sections Requiring Revision |  | 6.5, Annual Load Data Request |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Protocol Revision Request (NPRR) 866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model Resource Registration Glossary Revision Request (RRGRR) 017, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) includes changes to the Annual Load Data Request (ALDR) process to include locations for registered Distributed Generation (DG) facilities. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The changes will provide a method for maintaining accurate data concerning the locations and status of registered DG facilities. |  |
| ROS Decision |  | On 3/1/18, ROS voted unanimously to table PGRR061 and refer the issue to the Planning Working Group (PLWG). All Market Segments were present for the vote. On 6/7/18, ROS voted unanimously to recommend approval of PGRR061 as amended by the 5/16/18 Oncor comments. All Market Segments were present for the vote. On 7/12/18, ROS voted unanimously to endorse and forward to TAC the 6/7/18 ROS Report and Impact Analysis for PGRR061 with a recommended priority of 2018 and a rank of 2270. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 3/1/18, participants requested additional time to review comments to PGRR061. On 6/7/18, there was no discussion. On 7/12/18, participants considered a priority and rank for PGRR061 and noted that it would share the priority and rank with the related RRGRR017 and NPRR866. |  |
| TAC Decision |  | On 7/26/18, TAC voted unanimously to recommend approval of PGRR061 as recommended by ROS in the 7/12/18 ROS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 7/26/18, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR061. |  |
| Board Decision |  | On 8/7/18, the ERCOT Board approved PGRR061 as recommended by TAC in the 7/26/18 TAC Report. |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Stice |
| E-mail Address | clayton.stice@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6806 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Oncor 022718 | Proposed modifications to better reflect the data that a Transmission Service Provider (TSP) should provide |
| Oncor 051618 | Proposed additional modifications to indicate what type of entity will provide DG facility information to ERCOT, to separate the DG mapping information process from the existing ALDR process, and to formalize the responsibility of representative TSPs to participate in the verification process of DG location mapping |
| PRS 071918 | Endorsed the ROS recommended priority of 2018 and rank of 2270 for PGRR061 |

Market Rules Notes

None

Proposed Guide Language

6.5	Annual Load Data Request

(1)	The Transmission and/or Distribution Service Provider (TDSP) or its Designated Agent must provide Load data each year to allow necessary ERCOT System reliability analysis and planning and to meet requirements of North American Electric Reliability Corporation (NERC).  Each TDSP or its Designated Agent is responsible for providing historical and forecasted Load data to ERCOT for all Loads connected to its system as outlined in the Annual Load Data Request Form Instructions.  Data supplied in the Annual Load Data Request (ALDR) is considered Protected Information.

(2)	Some or all of the following factors may be considered when developing Load forecast data:

(a)	Economic;

(b)	Demographic;

(c)	Customer trends;

(d)	Conservation;

(e)	Improvements in the efficiency of electrical energy uses;

(f)	Other changes in the end uses of electricity; and

(g)	Weather effects.

(3)	Each Distribution Service Provider (DSP) or its Designated Agent directly interconnected with the ERCOT Transmission Grid shall provide annual Load forecasts to ERCOT as outlined in the Annual Load Data Request Form Instructions.

(4)	For each substation not owned by either a Transmission Service Provider (TSP) or a DSP, the owner shall provide a substation Load forecast to the directly-connected TSP sufficient to allow it to adequately include that substation in its ALDR response.

(5)	ERCOT shall annually provide each DSP with a list of registered Distributed Generation (DG) facilities in the DSP’s territory, including information about how each facility is mapped to its designated Load in the Network Operations Model.  This list will be posted to the Market Information System (MIS) Certified Area.   In conjunction with the ALDR process, the DSP shall verify that each DG facility on the list is correctly mapped to its Load in the Network Operations Model.  TSPs shall cooperate with ERCOT and the DSP to verify that each DG facility on the list is correctly mapped to its Load in the Network Operations Model.

(6)	The TDSP or its Designated Agent shall coordinate with the appropriate working group as described in the Annual Load Data Request Form Instructions for issues with data submissions.

(7)	Load data that is incomplete, not timely submitted on the schedule, or not in the format defined in the Annual Load Data Request Form Instructions will be considered missing data.  For these missing Load data, ERCOT shall calculate Loads based on historical data and insert these Loads into the Load flow cases during Data Set A and Data Set B annual updates.