## Slide 1: Operations Working Group
Chair- Rick Gillean
Vice-Chair- Rickey Floyd
08/09/2018

## Slide 2: NPRR 849, Clarification of the range of Voltage Set Points at a Generation Resources' Point of Interconnection (POI)
This Nodal Protocol Revision Request (NPRR) clarifies the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet and clarifies the ability of ERCOT and the TSP or its designated agent (e.g. Transmission Operator (TO)) to issue an instruction for any available reactive capability at voltages outside of the reactive capability requirements.
OWG recommended no action.

## Slide 3: NOGRR178, Clarification of Automatic Under-Frequency Load Shed Requirement
This Nodal Operating Guide Revision Request (NOGRR) clarifies language relating to automatic Load shedding.
OWG is still discussing NOGGR 178. ERCOT filed comments on 07/31/18. .

## Slide 4: Southern Cross Transmission (SCT) –
Directive 9: Ancillary Services; Issues related to Most Severe Single Contingency (MSSC) and the Margin between Minimum Responsive Reserve Service (RRS) Procurement and Contingency Reserve Requirements.
OWG had a consensus to endorsed the SCT directive 9 language.