- Section 3:

NPRR844 – Clarification to Outage Report

This Nodal Protocol Revision Request (NPRR) corrects the current process of including capacity that is modeled but not yet commercially operational in the Outage Scheduler, which is then reflected in the Outage report.

Revised Subsection:  3.2.3 [unboxed due to system implementation]

- Section 8:

NPRR819 – Modification of Non-Price Error Resettlement Thresholds and Resettlement Clean-Ups

This Nodal Protocol Revision Request (NPRR) removes language referencing “data errors” for resettlement of the Day-Ahead Market (DAM) and the Real-Time Market (RTM); gives the ERCOT Board authority to direct a DAM resettlement parallel to its authority to direct RTM resettlement; removes references to undefined “declarations” of resettlements; changes the thresholds that determine a resettlement; and fixes a semantics error.

Revised Subsection:  8.2 [unboxed due to system implementation]

- Section 9:

NPRR819 – Modification of Non-Price Error Resettlement Thresholds and Resettlement Clean-Ups

See Section 8 above.

Revised Subsections:  9.2.5, 9.2.6, 9.5.6, and 9.5.7 [unboxed due to system implementation]

- Section 10:

NPRR854 – NOIE TDSP Submittal of Meters with Bidirectional Flow Caused by Generation Interconnected at Distribution

This Nodal Protocol Revision Request (NPRR) removes the ERCOT-Polled Settlement (EPS) Meter requirement for Non-Opt-In Entity (NOIE) points of delivery that realize bi-directional flows as a result of generation that is interconnected to the Distribution System.

Revised Subsections:  10.2.2 and 10.2.3 [unboxed due to system implementation]