## Slide 1
Information Technology Report
Dave Pagliai
Manager, IT Support Services
ERCOT Public
August 2018

## Slide 2: Incident Report Highlights
Service Availability – July 2018
  Market Data Transparency IT systems met all SLA targets
Incidents & Maintenance – July 2018
  07/11/18 – A Market Notice was sent out preemptively for Unplanned Infrastructure Maintenance, but there was no impact to any Market facing applications (EWS, MMSUI, OSUI)
  07/16/18 – Access to ERCOT's Market Manager UI (MMSUI) may have been intermittent from 8:00 AM – 12:00 PM
  07/30/18 – Planned Maintenance (Site Failover – External Web Services)
  07/31/18 – Planned Maintenance (Site Failover – MIS)
  08/01/18 – Planned Maintenance (Site Failover – MPIM, Retail API)
  07/31/18 – Some Market Participants were not able to connect to ERCOT’s Market Manager UI (MMSUI) and the Outage Scheduler UI (OSUI) over their WAN connections from 7:15 AM – 9:00 AM