## Site Certification
EPS Site Certification Form
[11 empty] | Version 3.1 Version 4.0 | 3/23/2016 8/29/2018
FACILITY | [6 empty] | TDSP
UNIT | [6 empty] | TDSP PROJECT #
TO COMPANY | [6 empty] | FROM COMPANY
CIRCUIT NAME | [6 empty] | REASON FOR SITE CERTIFICATION
METER INFORMATION |  |  |  |  | INSTRUMENT TRANSFORMER INFORMATION
| SERIAL NUMBER |  |  | FORM # | PRIMARY VOLTAGE TRANSFORMERS |  |  |  |  | VOLTAGE TRANSFORMERS FOR THROWOVER SCHEME
PRIMARY METER |  |  |  |  | NAMEPLATE INFORMATION | A - PHASE |  | B - PHASE | C - PHASE | A - PHASE | B - PHASE | C - PHASE
BACK-UP METER |  |  |  |  | SERIAL NUMBER
DESIGN PROPOSAL VERIFICATION |  |  |  |  | MFG
THE ERCOT APPROVED ONE LINE DRAWING ACCURATELY REPRESENTS THE SITE |  | DATE DRAWING APPROVED BY ERCOT |  |  | TYPE
RATIO
YES | NO |  |  |  | VOLTAGE CLASS
INSTRUMENT TRANSFORMER RATIOS MATCH THE ERCOT APPROVED DESIGN PROPOSAL |  |  | YES |  | BIL RATING
|  |  | NO |  | ACCURACY CLASS
DETAILED ONE LINE DRAWING VERIFICATION |  |  |  |  | BURDEN RATING
THE FACILITY WIRING MATCHES THE DETAILED ONE LINE DRAWING |  |  | YES |  | CONNECTED BURDEN
|  |  | NO |  | CURRENT TRANSFORMERS |  |  |  |  | PARALLEL CURRENT TRANSFORMER INFORMATION
TDSP ONE LINE DRAWING NUMBERS REVIEWED FOR SUBMITTAL TO ERCOT FOR THIS SITE |  |  |  |  | NAMEPLATE INFORMATION | A - PHASE |  | B - PHASE | C - PHASE | A - PHASE | B - PHASE | C - PHASE
SERIAL NUMBER
THREE LINE DRAWING VERIFICATION |  |  |  |  | MFG
THE FACILITY WIRING MATCHES THE THREE LINE DRAWING |  |  | YES |  | TYPE
|  |  | NO |  | RATIO
TDSP THREE LINE DRAWING NUMBERS REVIEWED FOR SUBMITTAL TO ERCOT FOR THIS SITE |  |  |  |  | VOLTAGE CLASS
BIL RATING
TRANSFER SCHEMES |  |  |  |  | ACCURACY CLASS
TRANSFER SCHEMES FOR THIS SITE HAVE BEEN VERIFIED TO OPERATE AS DESIGNED |  |  |  |  | RATING FACTOR
YES | NO | N/A |  |  | BURDEN RATING
TDSP EPS METER INSPECTOR INFORMATION |  |  |  |  | CONNECTED BURDEN
NAME |  |  |  |  | COMMENTS
DATE OF SITE CERTIFICATION
SIGNATURE
By submitting this form, you certify that this EPS Metering Facility meets the standards and requirements for EPS Metering Facilities as documented in the ERCOT Protocols, and the Settlement Metering Operating Guides, except as specifically noted in the comments section of this form. Further, you acknowledge that providing a false certification may constitute a material breach of your Standard Form Market Participant Agreement with ERCOT. BY SIGNING THIS FORM, I CERTIFY THAT THIS EPS METERING FACILITY MEETS THE STANDARDS AND REQUIREMENTS FOR EPS METERING FACILITIES AS DOCUMENTED IN THE ERCOT PROTOCOLS AND THE SETTLEMENT METERING OPERATING GUIDES, EXCEPT AS SPECIFICALLY NOTED IN THE COMMENTS SECTION OF THIS FORM
Revisions to the EPS Metering Facility Site Certification Form shall be made according to the approval process as prescribed in the Settlement Metering Guide Section 3.4, EPS Metering Facility Processes and Forms.