## Slide 1
August 2018 PDCWG
ERCOT Staff
Southern Cross Transmission Directives
Ancillary Service Related: Directive #9

## Slide 2: Directive #9
ERCOT shall (a) evaluate what modifications to existing and additional ancillary services, if any, are necessary for the reliable interconnection of the Southern Cross DC tie, (b) implement any needed modifications to ancillary-services procurement, (c) recommend how the costs of such required ancillary services are to be allocated, and (d) certify to the Commission when it has completed these actions.

## Slide 3: MSSC Discussion at OWG
OWG reviewed the MSSC in the context of Southern Cross DC Tie interconnection.
OWG’s recommendation is posted on the Aug 9, 2018 ROS’s meeting page.

## Slide 4: Next Discussion at PDCWG
Identify the Ancillary Service Impacts when the Southern Cross DC Tie operates above the ERCOT MSSC up to 2000 MW.
This broadly includes two flavors of discussion.
  Impact to current A/S: Non-Spin Reserve Service currently has a minimum floor based on MSSC from 6 am to 10 pm.
  Assess the impact on Frequency due to forced outage of the DC Tie while exporting (overshoot study)
Target is to draft a recommendation by end of January 2019
  Sep PDCWG will focus on impacts to current A/S and discuss setup & methodology for the overshoot studies.
  Nov PDCWG will focus on reviewing results from the overshoot studies

## Slide 5: Overshoot Study Setup Preview
In order to assess the impact on Frequency due to forced outage of the DC Tie while exporting,
  Several HWLL & LWLL case with varying quantities of export over the Southern Cross DC Tie (ex. 2100 MW, 1900 MW, 1800 MW, etc.) will be selected.
  Frequency trend upon tripping the Southern Cross DC Tie in each scenario will be observed & trended.
We will bring the results of these studies to the PDCWG in November 2018.
  We will share the same with DWG at their November meeting as well.