## Slide 1: PLWG Report to ROS
(September 6th, 2018)
PLWG Chair: Brad Myers, AEPSC
PLWG Vice Chair: Jennifer Rochelle, CES-LTD

## Slide 2: NPRR-871 (Customer/RE Funded Transmission)
Referred by ROS to PLWG in June
Taken Up By PLWG: May – August
Status: Consensus at August PLWG
  Consensus on ERCOT’s Original 4/17/2018 NPRR Language
  Partial Funding Concept to be Taken Up Under Separate NPRR
  Comments Pending: Addition of Tier 4 Project Exemption Paragraph
    PLWG Also Amenable to Explicit Tier 4 Project Exemption
PLWG Requests That ROS Consider Vote

## Slide 3: PGRR-065 (TPIT Process Updates - 1)
Referred to PLWG in July
Taken Up By PLWG: February – August
Status: Latest Comments Filed by ONCOR on 8/13/2018
  No Consensus at August PLWG
PLWG Requests That ROS Consider Vote
  2 Potential Versions of PGRR065
  Both Versions Accept Reliant Comments that “A section summarizing cost information” Will Be Included in the TPIT Report
  Oncor: Implied Requirement on TSPs to Provide Cost Information in TPIT
    Aggregated Summary of Cost Included in TPIT Report
  Reliant: Explicit Requirement on TSPs to Provide Cost Information in TPIT
    Detailed Line Item Cost Included in TPIT Report
                (Details Next Slide->)

## Slide 4: PGRR-065 (TPIT Process Updates - 2)
Oncor’s Comments:
Reliant’s Comments:

## Slide 5: PGRR-066 (GINR Cancellation and Inactive Status)
Referred to PLWG in July
Taken Up By PLWG: July and August
Status: Additional Comments Pending
7/25 Discussion Highlights:
  Expansion of FIS Restudy Time Frame for Generation Project Changes
  Evidence of Project Progression Required: Post FIS Completion and SGIA Execution (SGIA -> NTP -> Security)
PLWG Requests That ROS Continue to Table

## Slide 6: NPRR-882 / PGRR-067 (Re-Power Procedures)
Referred to PLWG in July
Taken Up By PLWG: July and August
July PLWG Discussion Highlights:
  “Re-power” Definition
  Flexibility/Discretion for Waiving FIS Study Elements Included
Status: PLWG Consensus
  PLWG Consensus on August 22nd Meeting Edits to “Re-power” Definition
  ERCOT Comments Pending for Formal Insertion of Defined Term
PLWG Requests That ROS Consider Vote
  PGRR067-xx: Pending ERCOT Comments (if available)
  NPRR882-xx: Pending ERCOT Comments (if available)

## Slide 7: PGRR-068 (Addition of Proposed DC Tie to Planning Models)
Referred to PLWG: August 9th
Taken Up By PLWG: August 22nd
Status: PLWG Consensus on ERCOT 07/25/18 Submission
PLWG Requests That ROS Consider Vote