| RMGRR Number | 155 | RMGRR Title | Related to NPRR889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator |
| --- | --- | --- | --- |
| Date Posted |  | August 1, 2018 |  |
| Requested Resolution |  | Normal |  |
| Retail Market Guide Sections Requiring Revision |  | 7.14.5, Transmittal of Out-flow Energy Data for Registered Distributed Generation 7.14.6, ERCOT Processing of Meter Data for Unregistered Distributed Generation Out-flow Energy 7.14.7, ERCOT Processing of Meter Data for Registered Distributed Generation Out-flow Energy |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Nodal Protocol Revision Request (NPRR) 889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator Resource Registration Glossary Revision Request (RRGRR) 018, Related to NPRR889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator |  |
| Revision Description |  | This Retail Market Guide Revision Request (RMGRR) replaces references to Non-Modeled Generator and registered Distributed Generation (DG) with the new term Settlement Only Distribution Generator (SODG). Subsequent RMGRRs may be necessary to resolve other issues and gaps regarding unregistered generation. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This RMGRR aligns the Retail Market Guide with the definition changes proposed by NPRR889. |  |

| Sponsor |  |
| --- | --- |
| Name | Clayton Stice |
| E-mail Address | Clayton.stice@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6806 |
| Cell Number | 512-627-5020 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | Cory.Phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Guide Language Revision

- 7.14.5	Transmittal of Out-flow Energy Data for Settlement Only Distribution Generators

(1)	All Settlement Only Distribution Generators (SODGs) must have IDR metering and an RID assigned.  RID data submittal method shall be designated in the document titled “TDSP Read Generation Registration Form” as 867 or .lse.

(a)	If the RID data submittal method is 867, the interval out-flow energy values provided for Settlement will have data submitted via the 867_03 transaction as described in the Texas Standard Electronic Transaction Implementation Guides.

(b)	If the RID data submittal method is .lse, the interval out-flow energy values provided for Settlement will have data submitted via the ERCOT specified file format as described in Section 7.15, Advanced Meter Interval Data File Format and Submission, below.

- 7.14.6	ERCOT Processing of Meter Data for Unregistered Distributed Generation Out-flow Energy

(1)	ERCOT will process out-flow energy values for Settlement when data is submitted to ERCOT in accordance with Section 7.14.4, Transmittal of Out-flow Energy Data for Unregistered Distributed Generation, provided the DG is not registered as an SODG.

(2)	For a detailed description of the wholesale Settlement impact of Load reductions for out-flow energy values, see Protocol Sections 11.4.4.2, Load Reduction for Excess PhotoVoltaic and Wind Distributed Renewable Generation, and 11.4.4.3, Load Reduction for Excess from Other Distributed Generation.

- 7.14.7	ERCOT Processing of Meter Data for Settlement Only Distribution Generator Out-flow Energy

(1)	ERCOT will process out-flow energy values for Settlement of generation when data is submitted to ERCOT in accordance with Section 7.14.5, Transmittal of Out-flow Energy Data for Settlement Only Distribution Generators, above, provided  the ERCOT registration process has been completed for the Resource Entity and the SODG.  For more detailed information about the Resource registration process, Market Participants should contact their designated ERCOT Retail Account Manager.