| NPRR Number | 882 | NPRR Title | Related to PGRR067, Re-powering Procedures |
| --- | --- | --- | --- |

| Date | August 1, 2018 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | John Bernecker |
| E-mail Address | John.Bernecker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4274 |
| Cell Number |  |
| Market Segment | N/A |

Comments

In consideration of discussions at the July 25, 2018 Planning Working Group (PLWG) meeting, ERCOT offers this correction to the use of a defined term, and respectfully proposes an effective date of November 2, 2018 for Nodal Protocol Revision Request (NPRR) 882, Related to PGRR067, Re-powering Procedures.

By these comments, ERCOT also requests that the Reliability and Operations Subcommittee (ROS) endorse approval of NPRR882 at its August 9, 2018 meeting, keeping NPRR882 on track for consideration and possible approval at the October 2018 ERCOT Board Meeting, providing stakeholders as much notice as possible of quarterly stability assessment deadlines, and still timely addressing the operational issues as intended by NPRR882.

Revised Cover Page Language

None

Revised Proposed Guide Language

## 2.1	DEFINITIONS

- Initial Synchronization

The first time an All-Inclusive Generation Resource facility’s new or re-powered equipment injects power to the ERCOT System during commissioning.

- ERCOT Fee Schedule

- TBD

The following is a schedule of ERCOT fees currently in effect.

| Description | Nodal Protocol Reference | Calculation/Rate/Comment |
| --- | --- | --- |
| ERCOT System Administration fee | 9.16.1 | $0.555 per MWh to fund ERCOT activities subject to Public Utility Commission of Texas (PUCT) oversight. This fee is charged to all Qualified Scheduling Entities (QSEs) based on Load represented. |
| Private Wide Area Network fees | 9.16.2 | Actual cost of using third party communications network - Initial equipment installation cost not to exceed $25,000, and monthly network management fee not to exceed $1,500. |
| ERCOT Generation Interconnection fee (Not Refundable) | NA | Application to interconnect an All-Inclusive Generation Resource to the ERCOT Transmission Grid. $5,000 (less than or equal to 150MW) $7,000 (greater than 150MW) |
| Full Interconnection Study Application fee (Not Refundable) | NA | $15 per MW − to support ERCOT system studies and coordination. Applicable MW amount per Planning Guide Section 5, Generation Resource Interconnection or Change Request. |
| Map Sale fees | NA | $20 - $40 per map request (by size) |
| Qualified Scheduling Entity Application fee | 9.16.2 | $500 per Entity |
| Competitive Retailer Application fee | 9.16.2 | $500 per Entity |
| Congestion Revenue Right (CRR) Account Holder Application fee | 9.16.2 | $500 per Entity |
| Independent Market Information System Registered Entity fee (IMRE) | 9.16.2 | $500 per Entity |
| Voluminous Copy fee | NA | $0.15 per page in excess of 50 pages |