| PGRR Number | 065 | PGRR Title | Transmission Project Information and Tracking (TPIT) Reform |
| --- | --- | --- | --- |

| Date | July 18, 2018 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Bryan Sams |
| E-mail Address | Bryan.Sams@nrg.com |
| Company | Reliant Energy Retail Services |
| Phone Number | 512.691.6126 |
| Cell Number | 512.632.4870 |
| Market Segment | IREP |

Comments

Reliant Energy Retail Services (Reliant) supports clarifying the Transmission Project and Information Tracking (TPIT) process by documenting ERCOT processes in the Planning Guide.  Reliant offers additional revisions that would require the estimated cost described in paragraph (2)(c) of Section 6.4.3, TSP Responsibilities, to be updated as appropriate.  Reliant also adds a requirement for ERCOT to summarize cost information contained in the TPIT.

Revised Cover Page Language

None

Revised Proposed Guide Language Revision

6.4.1	Transmission Project Information and Tracking Report

(1)	The ERCOT Transmission Project and Information Tracking (TPIT) report contains the status of the transmission projects (60 kV and above) that have a material impact to the flow of power in the ERCOT System as of the most recent Steady State Working Group (SSWG) case build or SSWG case update.

(2)	The transmission projects listed in the TPIT report are typically projects that are planned for completion by a Transmission Service Provider (TSP) within the near-term planning horizon. Projects that my not be listed in the TPIT report include:

(a)	Any project that requires Regional Planning Group (RPG) review and has not completed the review process;

(b)	Any project with a projected in-service date beyond the last year for which an ERCOT SSWG case is posted; or

(c)	Any project that consists of only a Remedial Action Scheme (RAS) or an Automatic Mitigation Plan (AMP) (which is not typically modeled);

6.4.2	ERCOT Responsibilities

(1)	ERCOT shall prepare the TPIT report using data supplied by each TSP, or its Designated Agent.

(2)	ERCOT shall update the TPIT report with updated information provided through the SSWG case build and SSWG case update process.

(3)	ERCOT shall publish the update coincident with posting the most recent SSWG case build or SSWG case update on the Market Information System (MIS) Secure Area.

6.4.3	TSP Responsibilities

(1)	The TSP responsible for submitting model data used in the SSWG case build or SSWG case update shall provide information for its transmission projects to ERCOT.

(2)	The data provided by the TSP for inclusion in the TPIT report shall include the following information in addition to the model data required by the SSWG Procedure Manual:

(a)	Project title;

(b)	Project description;

(c)	Estimated cost – The estimated project cost shall be kept up to date;

(d)	Project status – The project status categories available for use shall be “Conceptual”, “Planned”, or “Under Construction”;

(e)	Status indicates that the project is or is not in the published SSWG case;

(f)	Project ID – When one large project is listed in the database as a series of smaller projects, the TSP shall assign a Project ID in a manner that allows the smaller projects to be identified as part of the larger project;

(g)	ERCOT Regional Transmission Plan project number – The TSP shall identify the ERCOT Regional Transmission Plan project number associated with the Project ID for a particular project or series of projects;

(h)	Projected In-Service Date – The anticipated project completion and energization date; and

(i)	Actual In-Service Date – The recorded project completion and energization date.

6.4.5 	Content of the Transmission Project Information and Tracking Report

(1)	The TPIT report shall contain:

(a)	A section that describes each data field and the Entity responsible for providing the data within each field;

(b) 	A section for future projects;

(c)	A section for completed project;

(d)	A section for cancelled projects;

(e)	A section for Projects approved in the ERCOT Regional Transmission Plan;

(f)	A section containing Transmission Owner project contact information; and

(g)	 A section summarizing cost information.