| NPRR Number | 891 | NPRR Title | Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report |
| --- | --- | --- | --- |
| Date |  | September 7, 2018 |  |
| Submitter’s Information |  |  |  |
| Name |  | Pete Warnken |  |
| E-mail Address |  | Pete.Warnken@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 248-6705 |  |
| Cell Number |  | (512) 585-2246 |  |
| Market Segment |  | Not Applicable |  |

Comments

ERCOT staff has received feedback from a number of Non-Opt-In Entities (NOIEs) on NPRR891.  A concern with the original text is that it can be interpreted as requiring NOIEs to conduct new surveys in their territories to identify unregistered Distributed Generation (DG) installations that they are not aware of.  The smallest NOIEs may not currently have the resources to conduct such survey activities and associated data processing.

To address this concern, ERCOT proposes a new section of the revised reporting requirement that states that the quarterly capacity reporting shall only include the capacity known to the NOIE at the time that the report is being prepared, and shall not require the NOIE to conduct new survey activities to identify currently unknown unregistered DG installations.  Additionally, the proposed new section allows a NOIE to request a reporting exemption for one calendar year if unregistered DG data is not readily available.

Revised Cover Page Language

None

Revised Proposed Protocol Language

- 3.2.5.1	Unregistered Distributed Generation Reporting Requirements for Non Opt-In Entities

(1)	This Section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non-Opt-In Entity (NOIE) boundary metering points.

(2)	Within ten Business Days after the end of each quarter, the NOIE shall submit to ERCOT electronically, the required data described below as of the last day of the prior quarter by submitting the designated form provided on the ERCOT website.  The report shall include the  NOIE’s total aggregate unregistered DG MW capacity, and account for systems used to support self-serve load, exports to the Distribution System, or both.  The capacity shall be reported by Load Zone and by primary fuel type as follows:

(a)	Solar;

(b)	Wind;

(c) 	Other renewable; and

(d) 	Other non-renewable.

(3)	Capacity reporting  is only required to include the capacity known to the NOIE at the time that its quarterly report is being prepared, and shall not require the NOIE to conduct new survey activities for their service territory to identify unknown unregistered DG installations.  NOIEs for which DG data is not readily available may request a reporting exemption for one calendar year from ERCOT and ERCOT may grant such request if it deems the exemption appropriate.