| PGRR Number | 068 | PGRR Title | Addition of a Proposed DC Tie to the Planning Models |
| --- | --- | --- | --- |
| Date of Decision |  | September 6, 2018 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Planning Guide Sections Requiring Revision |  | 6.12, Addition of a Proposed DC Tie to the Planning Models (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | In Public Utility Commission of Texas (PUCT) Project No. 46304, Oversight Proceeding Regarding ERCOT Matters Arising Out of PUC Docket No. 45624 Relating to DC Tie Project Proposed by Southern Cross Transmission, LLC, the PUCT directed ERCOT to determine how to best model the Southern Cross Direct Current Tie (DC Tie) in its planning cases. Pursuant to that directive, ERCOT has determined that a Planning Guide Revision Request (PGRR) is necessary to address when a new DC Tie should be added to the ERCOT planning models. Accordingly, this PGRR describes the process for adding a DC Tie to the models and associated requirements. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This PGRR is needed to resolve Directive 5 of the Revised Order in PUCT Project No. 46304, which requires ERCOT to determine how to best model new DC Ties, including the DC Tie planned by Southern Cross Transmission LLC, in its planning cases. |  |
| ROS Decision |  | On 8/9/18, ROS voted unanimously to table PGRR068 and refer the issue to the Planning Working Group (PLWG). All Market Segments were present for the vote. On 9/6/18, ROS voted unanimously to recommend approval of PGRR068 as submitted. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 8/9/18, there was no discussion. On 9/6/18, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | Jeff Billo |
| E-mail Address | jbillo@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6334 |
| Cell Number |  |
| Market Segment | n/a |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

6.12	Addition of a Proposed DC Tie to the Planning Models

(1)	For a proposed Direct Current Tie (DC Tie) that will not be owned by a Transmission Service Provider (TSP), ERCOT will include the applicable DC Tie in the base cases created and maintained by the Steady State Working Group (SSWG), System Protection Working Group (SPWG), and the Dynamics Working Group (DWG), and will notify the SSWG, SPWG, and DWG once ERCOT receives:

(a)	A signed interconnection agreement from the TSP and a written notice from the TSP that the DC Tie developer has provided:

(i)	A notice to proceed with the construction of the interconnection;

(ii)	The financial security required to fund the interconnection facilities; and

(b)	The data required under paragraph (2) below.

(2)	ERCOT will provide Notice to the DC Tie developer of the specific data ERCOT requires to model the DC Tie after ERCOT receives the information required under paragraph (1)(a) above.

(a)	ERCOT retains discretion to request any data it deems necessary to model the new DC Tie.

(b)	The DC Tie developer shall provide the data to ERCOT within 60 days of receiving the Notice from ERCOT specifying the data required.