## Slide 1
2018 Operational Wind Profile Update
Connor Anderson
Resource Adequacy
09/18/2018

## Slide 2: Wind Profiles Background
UL, formerly AWS Truepower, has provided ERCOT with annual wind profiles for 1997-present since 2012
In 2018, UL used an updated model and created profiles for 1980-2017
  Operational plant profiles and UL report already posted
  Hypothetical plant profiles not yet available

## Slide 3: Wind Profiles Background
Model used in 2018 includes:
  Input data improvements:
    Plant layouts, turbine model details, and historic generation data for all operational wind farms in ERCOT
    More tall tower wind speed data across ERCOT territory for improved wind resource fidelity
  Data processing improvements:
    Improved power conversion process to account for wind farm shadowing and to remove curtailment from generation data used previously in validation and tuning

## Slide 4: Wind Units Selected for Comparison
23 Unit Sample: randomly selected 23 wind units from across ERCOT that were operational in 2016
  Compared historical 2016 HSL data to profiles created in 2016 and 2018 using weather year 2016
Panhandle Units: selected all panhandle units that have 2018 profiles
  Compared historical 2017 HSL data to profiles created in 2018 using weather year 2017

## Slide 5: 23 Unit Sample
Unit | Capacity | Start Year | Zone
ANACACHO WIND | 99.8 | 2012 | South
BUFFALO GAP WIND 2_1 | 115.5 | 2007 | West
CALLAHAN WIND | 114 | 2004 | West
CAPRICORN RIDGE WIND 3 | 149.5 | 2007 | West
CAMP SPRINGS WIND 1 | 130.5 | 2007 | West
ELBOW CREEK WIND | 118.7 | 2008 | West
SILVER STAR WIND | 60 | 2008 | North
HORSE HOLLOW WIND 3 | 223.5 | 2006 | West
INADALE WIND 1 | 95 | 2008 | West
SHERBINO 1 WIND | 150 | 2008 | West
LANGFORD WIND POWER | 155 | 2009 | West
LONE STAR WIND 1 (MESQUITE) | 200 | 2006 | West
LORAINE WINDPARK III | 25.5 | 2011 | West
LOS VIENTOS WIND I | 200.1 | 2013 | Coastal
LOS VIENTOS WIND II | 201.6 | 2013 | Coastal
WKN MOZART WIND | 30 | 2012 | West
PYRON WIND 1 | 249 | 2008 | West
SOUTH TRENT WIND | 98.2 | 2008 | West
SWEETWATER WIND 2A | 17 | 2006 | West
SWEETWATER WIND 4-5 | 85 | 2007 | West
TRENT WIND | 150 | 2001 | West
WHIRLWIND ENERGY | 57 | 2007 | Panhandle
PECOS WIND 2 (WOODWARD) | 77.2 | 2001 | West

## Slide 6: 23 Unit Sample: Duration Curve Comparison
6
6
6
Chart: Hours
2016 profiles (green) underestimated the peak hours but overestimated the rest of the year
2018 profiles (orange) only slightly underestimate the peak hours and only slightly overestimate the rest of the year

## Slide 7: 23 Unit Sample: Capacity Factor Comparison
Chart: Capacity Factor
2016 Actuals | 0.3893 | 0.33489 | 0.37432 | 0.26725 | 0.38223 | 0.33922 | 0.32916 | 0.21378 | 0.32663 | 0.28515 | 0.39341 | 0.3067 | 0.34336 | 0.33031 | 0.30588 | 0.31548 | 0.36648 | 0.39645 | 0.32949 | 0.33359 | 0.33974 | 0.46359 | 0.22236
2018 Profiles | 0.37613 | 0.33035 | 0.38447 | 0.27964 | 0.37342 | 0.34436 | 0.33586 | 0.3382 | 0.32229 | 0.3034 | 0.38795 | 0.3174 | 0.35473 | 0.33735 | 0.30477 | 0.34394 | 0.35456 | 0.37111 | 0.3277 | 0.33197 | 0.3389 | 0.40502 | 0.24967
2016 Profiles | 0.22696 | 0.37676 | 0.36926 | 0.36943 | 0.40391 | 0.3941 | 0.28204 | 0.2852 | 0.40302 | 0.49895 | 0.40358 | 0.37763 | 0.40196 | 0.3198 | 0.3198 | 0.41313 | 0.38198 | 0.43661 | 0.38595 | 0.47182 | 0.42494 | 0.44275 | 0.38487
Average error in 2016 profiles: +4.7%
Average error in 2018 profiles: +0.5%

## Slide 8: Panhandle Units
Unit | Capacity | Start Year
ASTRA_UNIT1 | 163.2 | 2017
BRISCOE_WIND | 149.85 | 2015
COTPLNS_COTTONPL | 50.4 | 2017
COTPLNS_OLDSETLR | 151.2 | 2017
GRANDVW1_COLA | 200.48 | 2016
GRANDVW1_GV1A | 211.2 | 2014
HRFDWIND_JRDWIND1 | 299.7 | 2015
HRFDWIND_WIND_G | 99.9 | 2015
HRFDWIND_WIND_V | 100 | 2015
LHORN_N_UNIT1 | 200 | 2015
MARIAH_NORTE | 230.4 | 2017
MIAM1_G1 | 288.6 | 2014
MWEC_G1 | 150 | 2008
PH1_UNIT1 | 218.3 | 2014
PH2_UNIT1 | 190.79 | 2014
ROUTE_66_WIND1 | 150 | 2015
SALTFORK_UNIT1 | 174 | 2017
SPLAIN1_WIND1 | 200 | 2015
SPLAIN2_WIND21 | 300.3 | 2016
SSPURTWO_SS3WIND1 | 194 | 2015
SSPURTWO_WIND_1 | 160.95 | 2014
WAKEWE_G1 (J01 & J02) | 257.26 | 2016
WEC_WECG1 | 59.8 | 2007

## Slide 9: Panhandle Units: Duration Curve Comparison
Chart: Hours

## Slide 10: Panhandle Units: Capacity Factor Comparison
Chart: 
| ASTRA_UNIT1 | BRISCOE_WIND | COTPLNS_COTTONPL | COTPLNS_OLDSETLR | GRANDVW1_COLA | GRANDVW1_GV1A | HRFDWIND_JRDWIND1 | HRFDWIND_WIND_G | HRFDWIND_WIND_V | LHORN_N_UNIT1 | MARIAH_NORTE | MIAM1_G1 | MWEC_G1 | PH1_UNIT1 | PH2_UNIT1 | ROUTE_66_WIND1 | SALTFORK_UNIT1 | SPLAIN1_WIND1 | SPLAIN2_WIND21 | SSPURTWO_SS3WIND1 | SSPURTWO_WIND_1 | WAKEWE_G1 (J01 & J02) | WEC_WECG1
2017 Actuals | 0.38334 | 0.37981 | 0.40539 | 0.3702 | 0.4973 | 0.47684 | 0.36216 | 0.38585 | 0.48353 | 0.44706 | 0.40286 | 0.44815 | 0.43722 | 0.42427 | 0.49412 | 0.53227 | 0.46272 | 0.4668 | 0.41777 | 0.49587 | 0.43489 | 0.51055 | 0.42061
2018 Profiles | 0.44718 | 0.37992 | 0.44436 | 0.43465 | 0.49788 | 0.48911 | 0.36581 | 0.38505 | 0.4624 | 0.43485 | 0.4327 | 0.44226 | 0.44675 | 0.4209 | 0.48985 | 0.52635 | 0.46789 | 0.47009 | 0.41157 | 0.48834 | 0.4292 | 0.50818 | 0.39909
Average error in 2018 profiles: +0.6%

## Slide 11: Conclusion
UL’s model update this year resulted in considerably improved wind profiles for operational units
Profiles and UL report available on ERCOT website with more modeling details (http://www.ercot.com/gridinfo/resource)