## Slide 1
Supply Analysis Working Group Meeting
Pete Warnken
Manager, Resource Adequacy
September 14, 2018

## Slide 2: NPRR 891, Removal of NOIE Capacity Reporting Threshold of the Unregistered Distribution Generation Report

## Slide 3: ERCOT’s Original NPRR891 Language

## Slide 4: ERCOT’s Modified NPRR891 Language

## Slide 5: STEC’s Proposed NPRR891 Language

## Slide 6: NERC 2018 Long-Term Reliability Assessment (LTRA) Update

## Slide 7: 2018 LTRA Data Form Summary Sheet
Notes: Difference between LTRA and CDR for 2018 summer: Actual ERS procurement amount used (186 MW decrease), thermal unit deratings (mainly Hays Energy Facility, 186 MW decrease)

## Slide 8: Remaining 2018 LTRA Schedule
Mid-April Version

## Slide 9: EORM-MERM Study Update

## Slide 10: Remaining 2018 Study Milestones
Base Case runs completed; ERCOT review on-going
Scenario/Sensitivity Results: Week of Sept. 17
Report, First Draft: October 1
Report, Draft for External Review: October 10
SAWG Presentation: October 12
  Astrape/Brattle to participate over the phone
Other presentations: TBD
Report posting: mid-December

## Slide 11: Methodology/Assumption Changes
Updated resources to be consistent with early July LTRA data submission:
  Used actual ERS procurement amount, 772 MW rather than CDR amount of 1,132 MW
  Updates to planned resources based on May-June GINR changes (increased renewables)
Weather-year weighting approach for Base Case
  Assumed equal annual weights for the 38 weather years (1980-2017): 1/38th or 2.6%
  Sensitivity analysis based on “consecutive days > 100F” analysis

## Slide 12: Scenarios (Requires Model Runs)
Potential Scenario Name | Base Case Assumption | Suggested Scenario Assumption | Expected EORM Impact
High Renewables Penetration | Only include wind and solar from CDR (1.2 GW new solar / 5.4 GW new wind) | Include some of the wind and solar undergoing interconnection studies that has not met all requirements for CDR (5-12 GW of new solar, 7-17 GW of new wind) | Downward pressure on prices and therefore lower EORM, potentially creating reliability issues
Low Renewables Penetration | Only include wind and solar from CDR (1.2 GW new solar / 5.4 GW new wind) | Set the wind and solar quantities equal to the values used in the 2014 EORM study | Reduced low price hours and net load ramps from base case. Potentially higher EORM
High Gas Price | 2018 EIA AEO High Oil and Gas Resource and Technology Case | 2018 EIA AEO Low Oil and Gas Resource and Technology | ~$3/MMBtu difference in gas prices, resulting in ~1.5% change in EORM

## Slide 13: Sensitivities (Do Not Require Model Runs)
Sensitivity | Base Case Assumption | Sensitivity Range
Gross Cone/ATWACC | General Merchant Values | -10%/+25%
Forward Period for Capacity Decisions | 3 years | 0 years to 4 years
VOLL | $9,000/MWh | $5,000-$30,000/MWh
Weather-year weights for Load Forecasts | Equal weight to all 38 weather years | Set weather weights using distribution-fitting based on consecutive days > 100F analysis
Economic Forecast Uncertainty | 4% under-forecast to 4% over-forecast | Change weightings of forecast scenarios

## Slide 14: Alternative Weather-Year Weighing
Index based on EORM-MERM Study Manual
Fit the annual index values to a Generalized Pareto Distribution
Chart: Probability Density Function
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43
 | 0.17653 | 0.13912 | 0.11087 | 0.089262 | 0.072538 | 0.059453 | 0.049114 | 0.040868 | 0.034237 | 0.028862 | 0.024473 | 0.020865 | 0.017879 | 0.015395 | 0.013315 | 0.011565 | 0.010085 | 0.0088283 | 0.0077555 | 0.0068361 | 0.0060452 | 0.0053621 | 0.00477 | 0.004255 | 0.0038057 | 0.0034124 | 0.0030671 | 0.0027632 | 0.0024948 | 0.0022573 | 0.0020466 | 0.0018591 | 0.001692 | 0.0015427 | 0.001409 | 0.001289 | 0.0011812 | 0.001084 | 0.00099635 | 0.0009171 | 0.00084534 | 0.00078024 | 0.0007211 | 0.00066729

## Slide 15: Alternative Weather-Year Weighing
Probability of a zero index value is 16%
Extreme weather-year probabilities: 2011 = 1.2%, 1980 = 1.7%

## Slide 16: SARA and CDR Comparisons using the Actual 2018 Peak Load Hour

## Slide 17: CDR vs. Actual for Current 2018 Peak Load Hour*
* July 19, Hour Ending 5:00 pm

## Slide 18: SARA Actual for Current 2018 Peak Load Hour*
Outages > 500 MW
None
* July 19, Hour Ending 5:00 pm