## Slide 1
5-min Intra-hour Wind Forecast Performance – Aug. 2018
Operations Analysis Staff
ERCOT
Sep. 24, 2018
QMWG

## Slide 2: 5-min-ahead Wind Forecast Error (Aug. 2018)
 | AWS | E&M | Persistent
Monthly MAE (MW) | 53 | 249 | 84
MAE for Large Wind Ramp Events (MW)* | 93 | 380 | 138
*Large Wind Ramp Events: > 100 MW/5 min or < -100 MW/5-min

## Slide 3: Questions?