Date:	September 26, 2018

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following NPRR recommended for approval by PRS: - NPRR869, Clarification of Language Related to Generation Netting for ERCOT-Polled Settlement Meters [Reliant] - NPRR880, Publish Real-Time Market Shift Factors for Private Use Network Settlement Points [DC Energy] - NPRR883, Adjustment to Settlement Equation for Ancillary Services Assignment [ERCOT] - NPRR888, 4-Coincident Peak Adjustment Methodology [ERCOT] - NPRR889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator [ERCOT] - NPRR890, Correction to Calculation of Real-Time LMPs at Logical Resource Node for On-Line Combined Cycle Generation Resources – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR869, Clarification of Language Related to Generation Netting for ERCOT-Polled Settlement Meters [Reliant] Proposed Effective Date: November 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires certain generators over 1 MW (i.e., generators that are not: (i) registered with the Public Utility Commission of Texas (PUCT) as a power generation company; (ii) part of a Private Use Network with more than one connection to the ERCOT Transmission Grid; or (iii) registered to provide Ancillary Services) within a Private Use Network to provide modeling information to ERCOT as set forth in paragraph (1)(b) of Section 3.10.7.3, Modeling of Private Use Networks; provides a netting exemption for a Qualifying Facility (QF) that is a small power production facility and lawfully provides energy to a Customer behind a single Point of Interconnection (POI); and deletes a reference to the now-expired system benefit fund charges. PRS Decision: On 8/16/18, PRS voted to recommend approval of NPRR869 as amended by the 8/7/18 ERCOT comments. There was one opposing vote from the Consumer (OPUC) Market Segment. On 9/13/18, PRS unanimously voted to endorse and forward to TAC the 8/16/18 PRS Report and Impact Analysis for NPRR869. - NPRR880, Publish Real-Time Market Shift Factors for Private Use Network Settlement Points [DC Energy] Proposed Effective Date: Upon system implementation – Priority 2018; Rank 2300 ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS) and Data and Information Products (DAIP); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to publish Shift Factors for Private Use Network Settlement Points for the Real-Time Market (RTM). PRS Decision: On 8/16/18, PRS voted to recommend approval of NPRR880 as submitted. There was one abstention from the Consumer (Occidental Chemical) Market Segment. On 9/13/18, PRS unanimously voted to endorse and forward to TAC the 8/16/18 PRS Report and Impact Analysis for NPRR880 with a recommended priority of 2018 and rank of 2300. There was one abstention from the Consumer (Occidental Chemical) Market Segment. - NPRR883, Adjustment to Settlement Equation for Ancillary Services Assignment [ERCOT] Proposed Effective Date: November 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the Real-Time Reliability Deployment Price (RTRDP) Adder from the Real-Time Settlement Point Price (RTSPP) in order to avoid double payment under the Ancillary Services Assignment scenario. PRS Decision: On 8/16/18, PRS unanimously voted to recommend approval of NPRR883 as submitted. On 9/13/18, PRS unanimously voted to endorse and forward to TAC the 8/16/18 PRS Report and Impact Analysis for NPRR883. Credit WG: See 9/19/18 Credit WG comments. - NPRR888, 4-Coincident Peak Adjustment Methodology [ERCOT] Proposed Effective Date: November 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the 4-Coincident Peak (4-CP) adjustment methodology that was implemented in conjunction with NPRR830, Revision of 4-Coincident Peak Methodology. This methodology was endorsed by the Wholesale Market Subcommittee (WMS) at its May 2, 2018 meeting. PRS Decision: On 8/16/18, PRS unanimously voted to recommend approval of NPRR888 as submitted. On 9/13/18, PRS unanimously voted to endorse and forward to TAC the 8/16/18 PRS Report and Impact Analysis for NPRR888. - NPRR889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator [ERCOT] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Network Model Management System (NMMS); ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR replaces the current defined term, Non-Modeled Generator, with a new defined term, Settlement Only Generator (SOG), throughout the Protocols, and introduces new terms to clarify the distinction between transmission-connected Resources and distribution-connected Resources; reorganizes various terms for Resources that are misleading because they are actually attributes of Resources (rather than types of Resources) that describe the status, services provided, and/or technology utilized by Resources; and clarifies the implicit requirement that generation larger than 10 MW connected to the Distribution System will be required to register as a Generation Resource. PRS Decision: On 8/16/18, PRS unanimously voted to recommend approval of NPRR889 as submitted. On 9/13/18, PRS unanimously voted to endorse and forward to TAC the 8/16/18 PRS Report as amended by the 9/10/18 Luminant comments and the Impact Analysis for NPRR889. - NPRR890, Correction to Calculation of Real-Time LMPs at Logical Resource Node for On-Line Combined Cycle Generation Resources – URGENT [ERCOT] Proposed Effective Date: November 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR aligns Protocol price calculation formulas with ERCOT systems calculation of the Real-Time Locational Marginal Price (LMP) at a logical Resource Node for an On-Line Combined Cycle Generation Resource (“CCGR”). This alignment includes distinguishing between scenarios in which the CCGR is On-Line and when it is Off-Line. PRS Decision: On 8/16/18, PRS unanimously voted to grant NPRR890 Urgent status. PRS then unanimously voted to recommend approval of NPRR890 as submitted and to forward NPRR890 and the Impact Analysis to TAC. Credit WG: See 9/19/18 Credit WG comments. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the October 18, 2018 PRS Meeting - NPRR850, Market Suspension and Restart [ERCOT] - NPRR879, SCED Base Point and Performance Evaluation Changes for IRRs that Carry Ancillary Services [ERCOT] - NPRR881, Annual Validation Process Revisions [CenterPoint and TXU] - NPRR887, Monthly Posting of Default Uplift Exposure Information [Citigroup] - NPRR894, Correction of Unaccounted For Energy (UFE) Formula [ERCOT] - NPRR895, Inclusion of Photo-Voltaic Generation Resources (PVGRs) in Real-Time Ancillary Service Imbalance Payment or Charge [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve [STEC] - NPRR871, Customer or Resource Entity Funded Transmission Projects Review Process [ERCOT] - NPRR872, Modifying the SASM Shadow Price Cap [LCRA] - NPRR882, Related to PGRR067, Re-powering Procedures [ERCOT] - NPRR884, Adjustments to Pricing and Settlement for Reliability Unit Commitments (RUCs) of On-Line Combined Cycle Generation Resources [ERCOT] - NPRR885, Must-Run Alternative (MRA) Details and Revisions Resulting from PUCT Project No. 46369, Rulemaking Relating to Reliability Must-Run Service [ERCOT] - NPRR886, Agreements Between ERCOT and Other ISOs, RCs, and/or RTOs [Citigroup] - NPRR891, Removal of NOIE Capacity Reporting Threshold for the Unregistered Distributed Generation Report [ERCOT] - NPRR892, Non-Spin Reserve Energy Floor Clarification [Morgan Stanley] - NPRR893, Clarification of Fuel Index Price and Incorporation of System-Wide Offer Cap and Scarcity Pricing Mechanism Methodology into Protocols [ERCOT] - NPRR896, Reliability Must-Run and Must-Run Alternative Evaluation Process [ERCOT] - NPRR897, Adjustments to Black Start Service (BSS) Procurement Timeline and Testing [ERCOT] New Revision Requests Scheduled for Consideration at the October 18, 2018 PRS Meeting None at this time These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr