APPROVED
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, August 9, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Bowen, Kenneth | CPS Energy | Alt. Rep. for T. Vo |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread |  |
| Carter, Matt | Garland Power & Light | Alt. Rep. for B. Lee |
| Coleman, Diana | OPUC | Via Teleconference |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power | Via Teleconference |
| Ee, Danny | Austin Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hall, Tim | Southern Power Co. |  |
| Hampton, Brenda | Luminant |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEPSC |  |
| Moore, John | STEC |  |
| Reed, Cyrus | Sierra Club |  |
| Shaw, Marka | Exelon |  |
| Staples, Boone | Tenaska Power Services |  |
| Such, Chris | E.ON | Alt. Rep. for J. Ayers-Brasher |
| Woitt, Wes | CenterPoint Energy |  |
| Woodruff, Taylor | Oncor |  |

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Aldridge, Ryan | AB Power Advisors | Via Teleconference |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bruce, Mark | Cratylus Advisors |  |
| Capasso, Joe | Brilliant Energy |  |
| Checkley, Jim | CTT |  |
| Cook, Tim | CTT | Via Teleconference |
| Corpuz, Gene | LCRA |  |
| Davis, Micheal | CenterPoint Energy | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| DeWitt, Charles | LCRA | Via Teleconference |
| Donohoo, Ken | EPE Consulting | Via Teleconference |
| Eckhoff, Christina | Texas RE | Via Teleconference |
| Elliot, Christopher | BAML | Via Teleconference |
| Filat, Eddie | Sharyland Utilities | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gibune, Charles | DNV GL | Via Teleconference |
| Gillean, Rick | Rayburn | Via Teleconference |
| Gross, Blake | AEPSC |  |
| Gurrala, Sharmila | CPS Energy | Via Teleconference |
| Harris, Brenda | OXY | Via Teleconference |
| Henry, Mark | Texas RE | Via Teleconference |
| Henson, Martha | Oncor |  |
| Hithersay, Brian | Brazos | Via Teleconference |
| Jablonski, Edward | CenterPoint Energy | Via Teleconference |
| Jones, Randy | Mountaineer | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Kee, David | CPS Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Oncor |  |
| Lange, Clif | STEC |  |
| Martin, Collin | Oncor |  |
| Morris, Sandy | Direct Energy | Via Teleconference |
| Myers, Brad | AEPSC |  |
| Oberski, Nicholas | LCRA | Via Teleconference |
| Paff, Tom | Duke Energy | Via Teleconference |
| Palen, John | NRG |  |
| Parquet, David | Pattern |  |
| Penney, David | Texas RE | Via Teleconference |
| Powell, Christian | Pedernales Electric Cooperative |  |
| Preas, Dylan | LCRA |  |
| Ravulapati, Bharath | Cross Texas Transmission | Via Teleconference |
| Reid, Mike | Air Liquide |  |
| Reid, Walter | Wind Coalition |  |
| Ritch, John | NextEra | Via Teleconference |
| Ross, Richard | AEPSC |  |
| Sauter, Megan | Oncor |  |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Smith, Caitlin | Jewell & Associates |  |
| Stanfield, Leonard | Invenergy | Via Teleconference |
| Turner, Lucas | STEC | Via Teleconference |
| Turner, Mina | AEPSC |  |
| Valerio, Cristian | CPS Energy | Via Teleconference |
| Varnell, John | Tenaska Power Services | Via Teleconference |
| Velasquez, Ivan | Oncor |  |
| White, Camden | LCRA | Via Teleconference |
| White, Lauri | AEPSC |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Woods, Brad | Texas RE | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Anderson, Connor |  | Via Teleconference |
| Bernecker, John |  |  |
| Bezzam, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Bracy, Phil |  |  |
| Chang, Sean |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Garcia, Freddy |  | Via Teleconference |
| Giarratano, Alex |  | Via Teleconference |
| Gnanam, Prabhu |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Kane, Erika |  | Via Teleconference |
| Li, Weifang |  | Via Teleconference |
| Manning, Brian |  | Via Teleconference |
| Rickerson, Woody |  | Via Teleconference |
| Sanchez, Daniel |  |  |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2018 ROS Chair Tom Burke called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Burke reviewed the ERCOT Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Burke reviewed items scheduled for a vote at this meeting and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

July 12, 2018

Taylor Woodruff moved to approve the July 26, 2018 ROS Minutes as submitted.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Mr. Burke reviewed activities of the July 26, 2018 TAC meeting, noting that Nodal Operating Guide Revision Request (NOGRR) 177, Related to NPRR857, Creation of Direct Current Tie Operator Market Participant Role, had been tabled to allow Market Participants to further consider Nodal Protocol Revision Request (NPRR) 857, Creation of Direct Current Tie Operator Market Participant Role.

ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago reviewed the Operations Report for June 2018.

System Planning Report

Jeff Billo presented the June 2018 System Planning Report.

2018 Under-Frequency Load Shed (UFLS) Survey Results

Daniel Sanchez presented findings of the 2018 UFLS Survey.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

NPRR871, Customer or Resource Entity Funded Transmission Projects Review Process

NPRR882, Related to PGRR067, Re-powering Procedures

ROS took no action on these items.

NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve

Percy Galliguez reviewed Performance Disturbance Compliance Working Group (PDCWG) discussions regarding NPRR863, noting that PDCWG had previously reached consensus to recommend approval of NPRR863 as amended by the 7/16/18 CPS Energy comments.  Clif Lange provided an overview of the differences between the current Ancillary Services framework and the changes proposed in the 8/1/18 STEC comments.  Market Participants discussed performance requirements for various resources and qualification processes for new and existing units.

Marty Downey moved to recommend approval of NPRR863 as amended by the 8/1/18 STEC comments.  Marka Shaw seconded the motion.  The motion carried with three abstentions from the Cooperative (1) (LCRA), Investor Owned Utility (IOU) (1) (CenterPoint), and Independent Generator (IG) (1) (Luminant) Market Segments.

NPRR879, SCED Base Point and Performance Evaluation Changes for IRRs that Carry Ancillary Services

Kevin Bunch moved to recommend approval of NPRR879 as submitted.  David DeTullio seconded the motion.  The motion carried unanimously.

Review of Revision Request Language & Impact Analyses

NOGRR181, Transmission Operator (TO) Black Start Plan Submittals

Mr. Woodruff moved to endorse and forward to TAC the 7/12/18 ROS Report and associated Impact Analysis for NOGRR181.  Brenda Hampton seconded the motion.  The motion carried unanimously.

Planning Guide Revision Request (PGRR) 063, Transmission Interconnection Study

Wes Woitt moved to endorse and forward to TAC the 7/12/18 ROS Report and associated Impact Analysis for PGRR063.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

PGRR064, Transmission Dynamic Element Model Verification

Mr. Woitt moved to endorse and forward to TAC the 7/12/18 ROS Report and associated Impact Analysis for PGRR064.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

PGRR068, Addition of a Proposed DC Tie to the Planning Models

Mr. Woodruff moved to table PGRR068 and refer the issue to the Planning Working Group (PLWG).  Ms. Hampton seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

NOGRR178, Clarification of Automatic Under-Frequency Load Shed Requirement

PGRR065, Transmission Project Information and Tracking (TPIT) Reform

PGRR066, Interconnection Request Cancellation and Creation of Inactive Status

ROS took no action on these items.

PGRR067, Re-Powering Procedures

Brad Myers summarized PLWG discussions regarding PGRR067.  Market Participants reviewed and discussed the 7/23/18 EDF and 8/1/18 ERCOT comments.  Some Market Participants expressed concern that “re-power” is not a defined term, and requested PLWG work with ERCOT Staff to add specificity.

Clayton Greer moved to recommend approval of PGRR067 as amended by the 8/1/18 ERCOT comments and as revised by ROS, and to request PLWG develop a more specific definition for “re-power”.  Mr. Downey seconded the motion.  ERCOT Staff reviewed the operational issues that motivate PGRR067, and noted the complexity of reaching a technology-neutral definition.  ERCOT Staff also noted use of the term “re-power” elsewhere in the Planning Guide, and reviewed recent discussions held at Resource Integration workshops on the subject.

Mr. Woodruff moved to table PGRR067.  Mr. Kunkel seconded the motion.  Market Participants reviewed possible timelines for approval and implementation of PGRR067.  The motion carried unanimously.

NOGRR180, Exemption of Governor Dead-Band and Droop Setting Requirements for Steam Turbines of Combined Cycle Generation Resources

Ms. Hampton moved to recommend approval of NOGRR180 as submitted.  Mr. Bunch seconded the motion.  The motion carried unanimously.

PDCWG (see Key Documents)

Mr. Galliguez reviewed recent PDCWG activities.

PLWG (see Key Documents)

Mr. Myers reviewed recent PLWG activities.

Operations Working Group (OWG) (see Key Documents)

Rick Gillean reviewed recent OWG activities and summarized discussions regarding NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI, and NOGRR178,

Clarification of Automatic Under-Frequency Load Shed Requirement.

Southern Cross Directive #9 Most Severe Single Largest Contingency (MSSC) Whitepaper

Matt Mereness reviewed OWG conversations about Directive 9, noting that if the SCT DC Tie is limited to imports equal or less than the existing ERCOT MSSC, then there would be no impacts to current ancillary service requirements based on the MSSC.

Mr. Greer moved to endorse the recommendation on the MSSC portion of Public Utility Commission of Texas (PUCT) Southern Cross Transmission DC Tie Directive #9, Determination regarding modifications to Ancillary Services, as submitted.  Ms. Hampton seconded the motion.  The motion carried unanimously.

Move to Inactive List: Dynamic Model Task Force (DMTF)

Mr. Burke noted that at the July 12, 2018 ROS Meeting, the DMTF presented their final recommendations for the process of submission, review, and maintenance of Dynamic Models.

Mr. Greer moved to declare the DMTF inactive.  Mr. Woodruff seconded the motion.  The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents)

Ward Jablonski reviewed recent SSWG activities.

2018 SSWG Leadership

Mr. Jablonski noted that the SSWG had nominated Brian Hithersay of Brazos Electric Power Cooperative to the 2018 SSWG Vice Chair position.

Mr. Greer moved to approve the 2018 SSWG Leadership as presented.  Mr. Woitt seconded the motion.  The motion carried unanimously.  The Consumer Market Segment was not present for the vote.

Operations Training Working Group (OTWG)

Updates to Black Start Training Program

ERCOT Staff noted that OTWG leadership requested this item be deferred to allow additional time for evaluation of proposed changes to the Black Start Training Program.  ROS took no action on this item.

Network Data Support Working Group (NDSWG) (see Key Documents)

Tony Kroskey reviewed recent NDSWG activities, and noted that an update to the NDSWG scope would be presented for ROS consideration at an upcoming meeting.

System Protection Working Group (SPWG) (see Key Documents)

Gene Corpuz reviewed recent SPWG activities and Protection System Misoperations statistics for Q1 2018.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Dylan Preas reviewed recent PGDTF activities, noting that representatives from SPWG will be in

attendance at the next PGDTF meeting to aid in discussions regarding the scope of the Geomagnetic Disturbance (GMD) Vulnerability Assessment.

Annual TAC Subcommittee Structural Review

Mr. Burke noted that the TAC Subcommittee Structural Review was scheduled to take place the afternoon of September 13, 2018 following the Protocol Revision Subcommittee (PRS) meeting.  Mr. Burke also encouraged ROS Working Group and Task Force leadership to review and update scope and procedures documents as deemed necessary, and explore additional meeting efficiencies.

Other Business (see Key Documents)

Review of Open Action Items

Mr. Burke reviewed updates to the Open Action Items List.

Adjournment

Mr. Burke adjourned the August 9, 2018 ROS meeting at 12:31 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/8/9/139276-ROS