## Slide 1: Outage Placeholders
OCITF August 14, 2018

## Slide 2: Problem
CRR Market uses best known modeling information to sell rights
Transmission outages create oversold situation if outage is not incorporated in CRR model
Oversells deplete the CRR Balancing Account or reduce payments for purchased hedges

## Slide 3: Scheduling Challenges
Outages must be scheduled approximately 80 days in advance to ensure inclusion in monthly CRR model
  It is impossible to predict weather conditions this far in advance
  Outages may also need to be moved due to crew scheduling conflicts as well as to coordinate with other outages
  Outages scheduled this far in advance must be studied under worst case load conditions
  Some outages are rejected by ERCOT and must be resubmitted later

## Slide 4: Possible Solution
Improve use of “Received at ERCOT” outages
  The idea is to make RatE outages placeholders
  Placeholder outages - schedules that demonstrate known future outages that will be required on the transmission system along with an initial proposed timeline
  Begin using RatE in the CRR modeling process
  This class would not require study and approval by ERCOT
  May need to establish process at ERCOT to move RatE to study

## Slide 5: Additional Benefits
Provides transparency to other TSPs of upcoming outages that may affect their own systems
Provides transparency to the market of when issues may exist that require better hedging
Provides transparency to generators of when they may be export limited (thus timing their own maintenance outages)