## Slide 1: Data for GIC System Model
Station Data for Stations with High Side Wye Grounded Transformers
  Latitude and Longitude in Decimal Form Including + or – Sign
  Station Direct Current (DC) Grounding Resistance to Remote Earth in Ohms
High Side Wye Grounded Transformer Data
  Winding 1 DC Resistance in Ohms/Phase at Nominal Tap and Adjusted to 75°C
  Winding 2 DC Resistance in Ohms/Phase at Nominal Tap and Adjusted to 75°C
  GIC Blocking Device
  Vector Group Identifier
  Transformer Core Design Type
  K Factor (Used to Calculate Reactive Losses in Transformer)
  Winding 1 DC Grounding Resistance in Ohms
  Winding 2 DC Grounding Resistance in Ohms

## Slide 2: Data for GIC System Model
Shunt Reactor Connected at Transmission Voltage
  DC Resistance in Ohms/Phase Adjusted to 75°C
  DC Grounding Resistance in Ohms