- Section 2:

NOGRR180 – Exemption of Governor Dead-Band and Droop Setting Requirements for Steam Turbines of Combined Cycle Generation Resources

This Nodal Operating Guide Revision Request (NOGRR) removes Governor Dead-Band and Governor droop settings requirements for steam turbines of Combined Cycle Generation Resources.

Revised Subsection:  2.2.7

- Section 4:

NOGRR181 – Transmission Operator (TO) Black Start Plan Submittals

This Nodal Operating Guide Revision Request (NOGRR) harmonizes the Transmission Operator (TO) Black Start plan submittals with the North American Electric Reliability Corporation (NERC) Standard EOP-006-2, System Restoration Coordination.

Revised Subsection:  4.6.4