## Slide 1: PROJECT DATA NEEDED FOR FULL INTERCONNECTION STUDY KICKOFF MEETING FROM TSP PERSPECTIVE
Resource Integration Workshop
September 28, 2018
Michael Juricek

## Slide 2: PROJECT INFORMATION IN RARF
Project Location
  Latitude and Longitude for Project Station Including + and – Sign for Decimal Form
  Map for Project Showing Project Station
  Proposed Generation Project
  Detailed Data for Generating Units
  Equivalent Model for Collector System
  Dynamic Model Customized for the Proposed Project
  Information on Reactive Resources to Maintain +/-0.95 PF at the Point of Interconnection (POI)
  Main Power Transformer (MPT) Data and Tap Settings
  Voltage Operating Limits for Low Voltage Side of MPT and Generating Unit Terminal
  Station One-Line Diagram
  Data for the Line between MPT and the POI
  Commercial Operating Date
  In-Service Data for Point of Interconnection
  Proposed Location of Point of Interconnection Including Voltage
  RARF Data Elements for FIS

## Slide 3: Questions