## Slide 1: PLWG Report to ROS
(October 11th, 2018)
PLWG Chair: Brad Myers, AEPSC
PLWG Vice Chair: Jennifer Rochelle, CES-LTD

## Slide 2: PGRR-066 (GINR Cancellation and Inactive Status)
Referred to PLWG in July
Taken Up By PLWG: July, August, September
Status: PLWG Consensus
  Consensus on 9/18 PLWG Meeting Edits
  Based on ERCOT’s 9/12 Comments
PLWG Requests That ROS Consider Vote

## Slide 3: NPRR-882 / PGRR-067 (Re-Power Procedures)
Referred to PLWG in July
Taken Up By PLWG: July, August, September
  “Re-power” Definition Strategy:
    Focus Primarily on Wind Re-powers
    Define Characteristics of “Re-power” in Section 5.1.1, Applicability
    (See Next Slide)
    Point Applicable Study Processes, Including QSA, to Section 5.1.1
Status: PLWG Consensus
  PGRR067: On 9/18 PLWG Meeting Edits of ERCOT’s 9/13 Comments
  NPRR882: On ERCOT’s 9/13 Comments (Strike “Re-Power” Defn.)
PLWG Requests That ROS Consider Vote

## Slide 4: NPRR-882 / PGRR-067 (Section 5.1.1)
5.1.1 Applicability
(1) The requirements in this Section 5, Generation Resource Interconnection or Change Request, are applicable, to the following:
(a) Any Entity proposing a new All-Inclusive Generation Resource, including a storage device, with an aggregate power output (gross Generation Resource output minus auxiliary Load directly related to the Generation Resource) of ten MW or greater, planning to interconnect to transmission in the ERCOT System; or
(b) Resource Entities that are seeking to:
(i) Upgrade the summer or winter Net Dependable Capability of an All-Inclusive Generation Resource by ten MW or greater within a single year;
(ii) Excluding in-kind replacement, change the inverter, wind turbine generator, or power converter associated with an All-Inclusive Generation Resource of ten MW or greater; or
(iii) Change or add a Point of Interconnection (POI) of an All-Inclusive Generation Resource of ten MW or greater.