DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, September 6, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | E.ON |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread |  |
| Coleman, Diana | OPUC |  |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hall, Tim | Southern Power Co. |  |
| Hampton, Brenda | Luminant |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power and Light |  |
| Moore, John | STEC |  |
| Palen, John | Reliant Energy Retail Services | Alt. Rep. for R. Bailey |
| Reed, Cyrus | Sierra Club |  |
| Shaw, Marka | Exelon |  |
| Vasquez, Paul | Austin Energy | Alt. Rep. for D. Ee |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |
| Woodruff, Taylor | Oncor |  |

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Checkley, Jim | CTT |  |
| Cochran, Seth | DC Energy | Via Teleconference |
| Cook, Tim | CTT | Via Teleconference |
| Cortez, Sarai | Sharyland |  |
| Daigneault, Ralph | Potomac Economics | Via Teleconference |
| Deid, Michael | Air Liquide |  |
| Detelich, David | CPS Energy | Via Teleconference |
| DeWitt, Charles | LCRA | Via Teleconference |
| Elliot, Christopher | BAML | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gross, Blake | AEPSC |  |
| Gurrala, Sharmila | CPS Energy | Via Teleconference |
| Henson, Martha | Oncor |  |
| Jablonski, Ward | CenterPoint Energy | Via Teleconference |
| Jones, Randy | Mountaineer | Via Teleconference |
| Kee, David | CPS Energy |  |
| Li, Jun | CenterPoint Energy | Via Teleconference |
| McGinnis, Tim | E.ON | Via Teleconference |
| Myers, Brad | AEPSC |  |
| Naik, Harsh | Oncor | Via Teleconference |
| Oberski, Nicholas | LCRA | Via Teleconference |
| Powell, Christian | Pedernales Electric Cooperative |  |
| Reid, Walter | Wind Coalition |  |
| Ross, Richard | AEPSC |  |
| Sams, Bryan | Reliant |  |
| Santos, Juan | Garland Power and Light | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Stanfield, Leonard | Invenergy |  |
| Turner, Mina | AEPSC | Via Teleconference |
| White, Lauri | AEPSC |  |
| Williams, Scot | Oncor | Via Teleconference |
| Wittmeyer, Bob | DME |  |
| Woods, Brad | Texas RE | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Bernecker, John |  |  |
| Billo, Jeff |  |  |
| Borkar, Sandeep |  | Via Teleconference |
| Bracy, Phil |  |  |
| Clifton, Suzy |  |  |
| Garcia, Freddy |  |  |
| Huang, Fred |  | Via Teleconference |
| Hughes, Lindsey |  | Via Teleconference |
| Kane, Erika |  | Via Teleconference |
| Manning, Brian |  | Via Teleconference |
| Mereness, Matt |  |  |
| Opheim, Calvin |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Soto-Reyes, Leticia |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2018 ROS Chair Tom Burke called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Burke reviewed the ERCOT Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Burke reviewed items scheduled for a vote and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

August 9, 2018

Taylor Woodruff moved to approve the August 9, 2018 ROS Minutes as submitted.  Brenda Hampton seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update

Mr. Burke reminded Market Participants that TAC had not met since the last ROS meeting.

ERCOT Updates (see Key Documents)

Operations Report

Freddy Garcia reviewed the July 2018 Operations Report.

System Planning Report

Jeff Billo presented the July 2018 System Planning Report.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

ROS took no action on this item.

NPRR871, Customer or Resource Entity Funded Transmission Projects Review Process

Eric Goff moved to recommend approval of NPRR871 as amended by the 9/5/18 Sharyland comments.  Clayton Greer seconded the motion.  The motion carried unanimously.

NPRR882, Related to PGRR067, Re-powering Procedures

Brad Myers summarized the Planning Working Group (PLWG) and ROS discussions regarding NPRR882 and Planning Guide Revision Request (PGRR) 067, Re-Powering Procedures.  Participants debated the usefulness of defining re-power and the associated potential compliance issues with defining re-power, particularly as it pertains to Wind-powered Generation Resources (WGRs), as well as Distributed Generation and non-modeled Resources.  ERCOT Staff reminded participants that the undefined term re-power is already used in the Planning Guide, reiterated concerns for operational issues, and reviewed timelines for approval and implementation of the Revision Requests.  Market Participants requested PLWG give further review to NPRR882 and PGRR067 and work to narrow a definition for re-power.

John Palen moved to table NPRR882 and refer the issue to the PLWG.  Mr. Greer seconded the motion.  The motion carried unanimously.

Review of Revision Request Language & Impact Analyses

Resource Registration Glossary Revision Request (RRGRR) 018, Related to NPRR889, RTF-1 Replace Non-Modeled Generator with Settlement Only Generator

Mr. Woodruff moved to recommend approval of RRGRR018 as submitted.  Mr. Greer seconded the motion.  The motion carried unanimously.

NOGRR180, Exemption of Governor Dead-Band and Droop Setting Requirements for Steam Turbines of Combined Cycle Generation Resources

Mr. Woodruff moved to endorse and forward to TAC the 8/9/18 ROS Report and Impact Analysis for Nodal Operating Guide Revision Request (NOGRR) 180.  Ms. Hampton seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

PGRR066, Interconnection Request Cancellation and Creation of Inactive Status

ROS took no action on this item.

NOGRR178, Clarification of Automatic Under-Frequency Load Shed Requirement

Wes Woitt moved to recommend approval of NOGRR178 as amended by the 7/31/18 ERCOT comments.  Cyrus Reed seconded the motion.  The motion carried unanimously.

PGRR065, Transmission Project Information and Tracking (TPIT) Reform

Mr. Myers summarized PLWG discussions regarding PGRR065, and presented for ROS consideration PLWG-proposed revisions to the 7/18/18 Reliant Energy Retail Services and 8/13/18 Oncor comments. Market Participants debated the potential solutions and offered additional clarifications.

Mr. Woodruff moved to recommend approval of PGRR065 as amended by the 8/13/18 Oncor comments as revised by ROS.   Dennis Kunkel seconded the motion.  Proponents of the 7/18/18 Reliant Energy Retail Services comments stated that the detailed cost information would provide additional transparency of project information in a competitive market and that by reducing required reporting to three times yearly verses quarterly it would not be burdensome.

Mr. Goff moved to substitute the motion to recommend approval of PGRR065 as amended by the 7/18/18 Reliant Energy Retail Services comments as revised by ROS.   The motion to amend failed via roll call, with 13 objections from the Cooperative (4) (LCRA, GSEC, BEPC, STEC), Independent Generator (Southern Power), Investor Owned Utility (IOU) (4) (Oncor, TNMP, AEP, CenterPoint), and Municipal (4) (Brownsville PUB, Austin Energy, Garland Power and Light, CPS Energy) Market Segments and three abstentions from the Independent Generator (3) (Luminant, Exelon, E.On) Market Segment.  (Please see ballot posted with Key Documents.)

The original motion carried via roll call, with three objections from the Independent Power Marketer (IPM) (2) (Citigroup, EDF) and the Independent Retail Electric Provider (IREP) (Reliant) Market Segments, and five abstentions from the Consumer (2) (Air Liquide, Sierra Club), Independent Generator (Exelon), IPM (Morgan Stanley), and IREP (Electranet) Market Segments.

PGRR067, Re-powering Procedures

Mr. Palen moved to table PGRR067.  Mr. Greer seconded the motion.  The motion carried unanimously.

PGRR068, Addition of a Proposed DC Tie to the Planning Models

Mr. Kunkel moved to recommend approval of PGRR068 as submitted.  Kris Koellner seconded the motion.  The motion carried unanimously.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed recent OWG activities and summarized discussions regarding NPRR849 and NOGRR178.

PLWG (see Key Documents)

Mr. Myers reviewed recent PLWG activities.

Outage Coordination Working Group (OCWG) (see Key Documents)

High Impact Transmission Elements List

Martha Henson reviewed recent OCWG activities, presented the High Impact Transmission Elements (HITE) list, and stated that the issue of creating placeholder Outages to be included in the Congestion Revenue Right (CRR) model would be considered at the September Congestion Management Working Group (CMWG) meeting.

Mr. Woodruff moved to endorse the 2018 HITE list as presented.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Percy Galliguez reviewed recent PDCWG activities.

Dynamics Working Group (DWG) (see Key Documents)

Mr. Burke noted the DWG report was posted to the website.

Voltage Profile Working Group (VPWG) (see Key Documents)

VPWG Scope Update

Mr. Greer moved to waive notice to consider the VPWG scope.  Marty Downey seconded the motion.  The motion carried unanimously.

Sharmila Gurrala reviewed recent VPWG activities and presented proposed revisions to the VPWG scope.  Market Participants offered clarifications.

Mr. Greer moved to approve the VPWG scope as revised by ROS.  David DeTullio seconded the motion.  The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents)

Ward Jablonski reviewed recent SSWG activities.

Working Group Enhancements (TAC/Subcommittee Structural and Procedural Review) (see Key Documents)

Mr. Burke presented the ROS Annual Subcommittee Review document and requested that working group and task force leadership provide responses prior to the September 13, 2018 TAC and Subcommittee Structural and Procedural Review.

Other Business (see Key Documents)

Review of Open Action Items

Market Participants reviewed the Open Action Items list.  Mr. Burke directed the Distributed Energy Resources (DER) Mapping item be removed as NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model, was approved at the August 7, 2018 ERCOT Board meeting.

No Report

- Black Start Working Group (BSWG)

- Network Data Support Working Group (NDSWG)

- Operations Training Working Group (OTWG)

- Planning Geomagnetic Disturbance Task Force (PGDTF)

- System Protection Working Group (SPWG)

Outgoing Chair Report

Mr. Burke announced his resignation of the ROS chair.  Market Participants and ERCOT Staff thanked Mr. Burke for his leadership and efforts throughout the years.

Adjournment

Mr. Burke adjourned the August 9, 2018 ROS meeting at 11:35 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/9/6/139280-ROS