## Slide 1: Operations Working Group
Chair- Rick Gillean
Vice-Chair- Rickey Floyd
10/11/2018

## Slide 2: NPRR 849, Clarification of the range of Voltage Set Points at a Generation Resources' Point of Interconnection (POI)
This Nodal Protocol Revision Request (NPRR) clarifies the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet and clarifies the ability of ERCOT and the TSP or its designated agent (e.g. Transmission Operator (TO)) to issue an instruction for any available reactive capability at voltages outside of the reactive capability requirements.
OWG held a work shop on 09/27/18. Language was tentatively agreed to and will be presented at the next OWG meeting on 10/17/18 for consideration.

## Slide 3: NOGRR182, Transmission Operator (TO) Emergency Operations Plan Submittals
This Nodal Operating Guide Revision Request (NOGRR) harmonizes the Transmission Operator (TO) emergency operations plan submittals with the North American Electric Reliability Corporation (NERC) Reliability Standard EOP-011-1, Emergency Operations. Currently there is a timing issue with TO emergency operations plans being submitted days and weeks leading up to ERCOT’s annual review, which begins on February 15. Since ERCOT has to review each TO’s plan within 30 days of receipt, ERCOT is clarifying that receipt is deemed to be on February 15 for the annual effort to review the plans collectively within the 30 days.
OWG endorsed. (Possible Vote)